Equipment Energy Effi ciency Committee

Regulatory Impact Statement

Consultation Draft

Proposal to Phase-Out Ineffi cient

Incandescent Light Bulbs

Discussion draft for stakeholder comment issued under the auspices of the Ministerial Council on Energy

Report No 2008/08

SEPTEMBER 2008

Prepared by Syneca Consulting for DEWHA

Consultation RIS: MEPS for certain lamps and low voltage converters

i

This Regulatory Impact Statement was prepared with the assistance of Syneca Consulting

and Beletich Associates. This Committee reports to the Ministerial Council on Energy,

comprising the energy ministers of the Australian federal, state and territory governments,

and of the New Zealand government.

The Committee invites written comments on the proposal and will accept submissions until

the close of business on 10 October 2008.

Comment is invited on any relevant matter. But please refer to the section immediately

following the Executive Summary for a consolidated list of the particular issues on which

E3 requests stakeholder comment. Please be specific about any concerns that you have

and, where appropriate, provide supporting argument and information.

Please address written submissions to:

Mr David Boughey

Lighting and Equipment Energy Efficiency

Department of the Environment, Water,

Heritage and the Arts

GPO Box 787, Canberra ACT 2601

Or via email to:

energyrating@environment.gov.au

Your faithfully,

Melanie Slade

Chair, Equipment Energy Efficiency Committee

Department of the Environment, Water, Heritage and the Arts

11 September 2008

Consultation RIS: MEPS for certain lamps and low voltage converters

ii

Contents

Glossary...................................................................................................................... v

Executive summary.................................................................................................. vii

Request for stakeholder comment ......................................................................... xii

1. The Problem......................................................................................................... 1

1.1 Energy efficiency policy 1

1.2 Product profile 3

1.3 Projections of energy use and greenhouse emissions 8

1.4 Impediments to energy efficiency in the market for lamps 9

1.5 Role of energy efficiency programs after CPRS is introduced 21

2 Objectives of government action ..................................................................... 23

2.1 Objective 23

2.2 Assessment criteria 23

3 The policy options............................................................................................. 24

3.1 Proposed regulation 24

3.1.1 Scope of the MEPS.............................................................................................24

3.1.2 Level of MEPS ...................................................................................................25

3.1.3 Timing of MEPS.................................................................................................27

3.1.4 Labelling and communications measures...........................................................28

3.2 Alternative policy options 31

3.2.1 Subsidies for efficient lamps ..............................................................................32

3.2.2 Taxes on inefficient lamps..................................................................................33

3.2.3 Disendorsement label .........................................................................................34

3.2.4 Comparative energy labelling.............................................................................35

3.2.5 Information campaigns .......................................................................................41

3.2.6 Complete phasing out of incandescent lamps ....................................................43

4 Impact analysis .................................................................................................. 48

4.1 Cost to the taxpayer 48

4.2 Business compliance costs 48

4.3 Impacts on competition and trade 50

4.3.1 Are like-for-like replacements generally available?...........................................50

4.3.2 Does the regulation infringe international free trade obligations? .....................51

4.3.3 Does the regulation otherwise reduce or distort competition? ...........................52

4.3.4 Does the regulation impose excessive costs of search and learning?.................52

4.3.5 Does the regulation distort technology development? .......................................53

4.4 Direct financial impact on residential, commercial and industrial users 53

4.4.1 Annualised life cycle cost...................................................................................53

4.4.2 Premature scrapping of non-lamp assets ............................................................54

4.4.3 Mains voltage (MV) non-reflector lamps...........................................................55

Consultation RIS: MEPS for certain lamps and low voltage converters

iii

4.4.4 Extra low voltage (ELV) non-reflector lamps....................................................58

4.4.5 MV reflector lamps.............................................................................................58

4.4.6 ELV reflector lamps ...........................................................................................59

4.4.7 Compact fluorescent lamps ................................................................................65

4.4.8 ELV converters...................................................................................................65

4.4.9 Summary of financial impacts............................................................................68

4.5 Impacts on health, safety and the environment 69

4.5.1 Mercury in CFLs ................................................................................................69

4.5.2 Electrical safety of halogen downlights, CFLs and dimmers.............................71

4.5.3 Greenhouse emissions during lamp production and distribution .......................72

4.6 Nationwide impacts 73

4.6.1 How nationwide impacts were calculated ..........................................................73

4.6.2 Greenhouse abatement........................................................................................75

4.6.3 Cost-effectiveness of abatement.........................................................................75

4.7 Sensitivity and distributional analysis 76

4.7.1 Sensitivity analysis of financial impacts on users ..............................................76

4.7.2 Distributional analysis ........................................................................................76

4.7.3 Sensitivity analysis of nationwide impacts.........................................................78

5 Statement of compliance with national competition policy........................... 79

6 Consultation....................................................................................................... 80

7 Conclusion and recommended option ............................................................ 85

7.1 Assessment 85

7.2 Conclusions 85

7.3 Recommendations 85

8 Implementation and review............................................................................... 86

References................................................................................................................ 88

Appendices

APPENDIX A: SUPPLEMENTARY INFORMATION ON THE PROPOSED REGULATION ................................................. 91

APPENDIX B: DEVELOPMENT OF AUSTRALIAN ENERGY EFFICIENCY POLICY ...................................................... 105

APPENDIX C: IEA REVIEW OF POLICIES FOR ENERGY EFFICIENT LIGHTING......................................................... 107

APPENDIX D: MODELLING OF LAMP STOCKS, ENERGY USE AND GREENHOUSE EMISSIONS................................ 109

APPENDIX E: TRIAL STATEMENT OF ABATEMENT VALUATIONS THAT WILL BE INCLUDED IN FUTURE IMPACT

ASSESSMENTS ............................................................................................................................... 121

APPENDIX F: BREAKDOWN OF IMPACTS BY JURISDICTION .................................................................................. 122

Tables

TABLE 1.1 LAMP IMPORTS BY TYPE OF LAMP: AUSTRALIA, 2003-06 (%)........................................................... 7

TABLE 1.2 TYPES OF LAMP IMPORTER................................................................................................................. 7

TABLE 1.3 PENETRATION OF FLUORESCENT LIGHTS: % OF AUSTRALIAN HOUSEHOLDS, 2005....................... 18

TABLE 3.1 PROPOSED MEPS – COMPACT FLUORESCENT LAMPS.................................................................... 26

TABLE 3.2 PROPOSED MEPS – EXTRA LOW VOLTAGE CONVERTERS .............................................................. 27

TABLE 3.3 SCHEDULE FOR MEPS IMPLEMENTATION........................................................................................ 28

TABLE 4.1 COST TO TAXPAYERS OF INCLUDING INCANDESCENT LAMPS IN THE E3 PROGRAM ($A) ............... 48

TABLE 4.2 BUSINESS COMPLIANCE COSTS........................................................................................................ 50

Consultation RIS: MEPS for certain lamps and low voltage converters

iv

TABLE 4.3 CHANGE IN ANNUALISED LCC: MV NON-REFLECTOR LAMPS, RESIDENTIAL ($/LAMP).................... 57

TABLE 4.4 CHANGE IN ANNUALISED LCC: MV REFLECTOR LAMPS, RESIDENTIAL ($/LAMP) ............................ 60

TABLE 4.5 CHANGE IN ANNUALISED LCC: ELV TUNGSTEN HALOGEN LAMPS, REFLECTOR TYPE,

RESIDENTIAL ($/LAMP)...................................................................................................................... 64

TABLE 4.6 CHANGE IN ANNUALISED LCC: ELV CONVERTER, RESIDENTIAL ($/CONVERTER) .......................... 68

TABLE 4.7 CHANGE IN ANNUALISED LCC: SECTORAL AVERAGES* ................................................................... 69

TABLE 4.8 SUMMARY STATEMENT OF NATIONWIDE IMPACTS: AUSTRALIA, 2008 TO 2020.............................. 76

TABLE 4.9 CHANGE IN ANNUALISED LCC: SECTORAL AVERAGES, BY JURISDICTION ....................................... 77

TABLE 4.10 SENSITIVITY ANALYSIS OF NATIONWIDE IMPACTS: AUSTRALIA, 2008 TO 2020 .............................. 78

TABLE 6.1 E3 RESPONSES TO COMMENTS ON THE DRAFT TECHNICAL REPORT............................................... 81

TABLE 7.1 ASSESSMENT SUMMARY................................................................................................................... 85

Figures

FIGURE 1.1 EFFICACY OF RELEVANT LIGHTING TECHNOLOGIES ........................................................................... 4

FIGURE 1.2 FULL LOAD* EFFICIENCY OF ELV CONVERTERS................................................................................. 6

FIGURE 1.3 SCENARIOS FOR LIGHTING ELECTRICITY CONSUMPTION AND GREENHOUSE GAS EMISSIONS .......... 9

FIGURE 1.4 PROPORTION OF AUSTRALIANS AT SKILL LEVELS 1 OR 2*, BY AGE ................................................. 13

FIGURE 1.5 IMPORTS OF ELV TUNGSTEN HALOGEN LAMPS (MILLION LAMPS).................................................... 20

FIGURE 3.1 PROPOSED MEPS – INCANDESCENT LAMPS................................................................................... 25

FIGURE 3.2 EFFICIENCY OF ELVCS AND PROPOSED MEPS.............................................................................. 27

FIGURE 3.3 ENERGY LABELS IN AUSTRALIA AND EUROPE.................................................................................. 30

FIGURE 3.4 EXAMPLES OF CATEGORICAL AND CONTINUOUS LABELLING............................................................ 38

FIGURE 4.1 PRICE AND EFFICACY OF 50 WATT ELV TUNGSTEN HALOGEN LAMPS, REFLECTOR TYPE (E3

TEST SAMPLE) .................................................................................................................................. 63

FIGURE 4.2 PRICE AND EFFICIENCY OF 50 WATT ELV CONVERTERS (E3 SAMPLE,2005)................................. 67

FIGURE 4.3 PROJECTED ENERGY CONSUMPTION FOR LIGHTING, WITH AND WITHOUT SPECIFIC MEASURES:

AUSTRALIA ....................................................................................................................................... 74

FIGURE 4.4 REPLACEMENT OF NON-COMPLYING LAMPS AND ELVCS: % OF NON-COMPLYING STOCK, BY

YEAR................................................................................................................................................. 74

FIGURE 4.5 PROJECTED GREENHOUSE EMISSIONS FOR LIGHTING, WITH AND WITHOUT SPECIFIC

MEASURES: AUSTRALIA .................................................................................................................... 75

Consultation RIS: MEPS for certain lamps and low voltage converters

v

Glossary

AGO Australian Greenhouse Office

AS/NZS Australian Standard/New Zealand Standard

BAU business as usual

CaSServ Conformance and Standards Services Pty Ltd

CfAF Council for the Australian Federation

CFL Compact Fluorescent Lamps

CoAG Council of Australian Governments

CO2-e carbon dioxide equivalent

CCT colour correlated temperature

CPRS Carbon Pollution Reduction Scheme (formally known as the Emissions

Trading Scheme)

CRI colour rendering index

DPMC Department of the Prime Minister and Cabinet

EES Energy Efficient Strategies Pty Ltd

ECEEE European Council for an Energy Efficient Economy

ELVC extra low voltage converter

EPHC Environment Protection and Heritage Council

ERAC Electrical Regulatory Authorities Council

E2WG Energy Efficiency Working Group

E3 Equipment Energy Efficiency Program

FTC Federal Trade Commission (US)

GHG greenhouse gas

GLh gigalumen-hours (1,000,000,000 lumen-hours)

GLS General Lighting Service lamps

GWA George Wilkenfeld and Associates

GWh gigawatt-hours

IEC The International Electrotechnical Commission (global organisation that

prepares and publishes international standards for electrical, electronic and

related technologies)

kHz kilohertz

kWh kilowatt-hours

LCA Lighting Council of Australia

LCC Life cycle cost

LED light emitting diode

Consultation RIS: MEPS for certain lamps and low voltage converters

vi

LRC Lighting Research Centre

MCE Ministerial Council on Energy

MEA Mark Ellis & Associates

MEPS minimum energy performance standard

MLh Mega lumen-hours (1,000,000 lumen-hours)

MMA McLennan Magasanik Associates Pty Ltd

MoU Memorandum of Understanding

NAEEEC National Appliance and Equipment Energy Efficiency Committee

NETT National Emissions Trading Taskforce

NFEE National Framework for Energy Efficiency

NGACs NSW Greenhouse Abatement Certificates

NHMRC National Health and Medical Research Council

NIEIR National Institute of Economic and Industry Research

OBPR Office of Best Practice Regulation

PC Productivity Commission

PNNL Pacific Northwest National Laboratory

MJ megajoules – 106 joules

Mt megatonnes – 106 tonnes

NGS National Greenhouse Strategy

REC renewable energy certificate

SEAV Sustainable Energy Authority Victoria (now Sustainability Victoria)

TJ terajoules – 1012 joules

UNCCC United Nations Framework Convention on Climate Change

VA Volt-Amps

W Watts

WSM with specific measures

WoSM without specific measures

Consultation RIS: MEPS for certain lamps and low voltage converters

vii

Executive summary

This regulatory impact statement (RIS) details a proposal to introduce minimum energy

performance standards (MEPS) for incandescent lamps, compact fluorescent lamps (CFLs)

and the extra low voltage converters (ELVCs) used to provide power to low voltage

halogen lighting systems.

The proposal is part of the work plan of the Equipment Energy Efficiency Program (known

as E3), which is an element of Australia’s response to climate change. The program is

jointly managed and administrated by the Australian Commonwealth, state and territory

governments and the New Zealand government.

The problem

General Lighting Service (GLS) lamps are the common pear-shaped incandescent lamps

with tungsten filaments. They are the most inefficient yet widely used lamp in the

residential sector. They continue to sell remarkably well because, if their energy costs are

ignored, they appear cheap. More efficient lamps such as CFLs and halogen types are

facing a number of problems breaking into the market. Currently a CFL sells for up to five

times more than a regular GLS lamp.

There are significant information failures and split incentive problems in the market for

energy efficient lamps. Energy bills are aggregated and periodic and therefore do not

provide immediate feedback on the effectiveness of individual energy saving investments.

Consumers must therefore gather information and perform a reasonably sophisticated

calculation to compare the life-cycle costs of tungsten filament lamps and CFLs. But many

lack the skills. For others, the amounts saved are too small to justify the effort or they do

not remain at the same address long enough to benefit fully from a long lived energy

saving lamp. According to the 2006 census, 17% of people in private dwellings were at a

different address 12 months earlier.

Both CFLs and lamp labelling have also had unfortunate histories. Early disappointments

with aspects of the performance of CFLs – including problems with start up times, colour

and durability – have created uncertainties in the minds of users. Lamp labelling has

evolved in way that identifies the lighting power of a lamp with its energy use, inhibiting

awareness of energy efficiency lighting options.

The business as usual (BAU) scenario is for Australia’s greenhouse emissions from

lighting to increase by 150% from 1990 to 2010. Emissions will be approximately 32.4 Mt

CO2-e in 2010 or 5.4% of Australia’s the projected total of 603 Mt CO2-e in 2010. By

addressing market failures the proposed measures will reduce greenhouse emissions by

28.5 Mt CO2-e over the period 2009 to 2020.

Proposal

Initially, E3 proposed to phase out all incandescent lamps, albeit with long delays for

certain types of lamp, to 2015. However, this raised serious problems regarding the

availability of replacement products, particularly for lighting systems that use dimmers,

sensors, timers and other forms of electronic control. The proposal was revised to avoid

potentially large costs of prematurely scrapping lighting assets.

The revised MEPS proposal would:

o Remove the least efficient incandescent lamps from the market, including the

familiar pear-shaped tungsten filament lamps, otherwise known as general lighting

service (GLS) lamps of less than 150 watts;

Consultation RIS: MEPS for certain lamps and low voltage converters

viii

o Set standards for the efficiency and quality of CFLs; and,

o Remove the least efficient ELVCs from the market.

The proposed MEPS will not ban incandescent lamps and will not mandate wholesale

replacement with CFLs. Users will still be able to buy incandescent lamps of the tungsten

halogen type. These are generally more efficient than the familiar tungsten filament lamps

and, to comply with the proposed MEPS, will need to be the more efficient models of

those currently available.

The proposed regulations will result in an increase in demand for CFLs and E3 is acutely

aware that inexperienced users could be disappointed with the quality of lighting provided

by CFLs of low quality. The purpose of the proposed MEPS for CFLs is to ensure that

does not happen. Inferior CFLs have been the bane of past attempts in many countries to

expand the market for CFLs. Australia is participating in international efforts to harmonise

the various CFL standards that have emerged internationally in response to quality issues.

In regards to issues of quality, CFLs have improved steadily since the technology was

commercialised 30 years ago. But CFLs of highly variable quality are still manufactured

and sold internationally. The CFLs that are now marketed in Australia are already of

superior quality and suppliers say their products already substantially comply with the

proposed MEPS for CFLs. The MEPS for CFLs will raise the bar a little but, most

importantly, will prevent a decline in product quality as large numbers of inexperience

users enter the market for the first time.

The least efficient of the magnetic type of ELVC will not comply with the MEPS that are

proposed, and it is expected that most will be replaced with electronic converters.

However, the more efficient type of magnetic converter will comply and will be available

for use in situations where electronic converters are unsuitable.

E3 proposes a firm date of November 2009 for the retail implementation of MEPS for GLS

lamps, extra low voltage (ELV) halogen lamps and CFLs of the non-reflector type, and

November 2010 for ELVCs. All other lamp types will have temporary exemptions that will

be terminated when, with up-to-date market and product information, E3 determines that

suitable replacement products are available. At this stage, it is considered feasible to

terminate all exemptions by October 2012, apart from pilot lamps of 25w and below.

It is also proposed to prohibit non-complying imports in the year before the MEPS take

effect at the point of sale. This means that MEPS proposed for November 2009 will apply

to imports from November 2008. The two-stage arrangement does not extend to ELVCs

and is subject to further development in consultation with the Australian Customs Service.

The objective

The objective of the proposed MEPS is to contribute to cost-effective greenhouse gas

abatement in Australia. Abatement measures that do not increase the life-cycle cost of

appliances are considered to be cost-effective. This means that the value of energy savings

is not less than the incremental purchase price of a more efficient appliance.

The measures also need to be efficiently designed to:

o minimise adverse impacts on suppliers and on product quality and function; and

o be clear and comprehensive, minimising potential for confusion or ambiguity for

users and suppliers.

Impact assessment

The cost to the taxpayer and business compliance costs are modest compared to the value

of energy savings and the contribution to abatement. This is largely because the regulation

employs administrative machinery that is well developed and familiar to industry,

Consultation RIS: MEPS for certain lamps and low voltage converters

ix

specifically, Australian standards and the product registration and reporting procedures

have been developed by E3. The measures have been developed over a period of time and

in consultation with industry.

The continued use of the more efficient types of incandescent lamps deals with a range of

issues affecting the competitive supply of lamps and the availability of like-for-like

replacements. E3 is committed to continue working with safety and fire authorities to

address concerns that have been raised about the electrical safety of CFLs and tungsten

halogen lamps in certain situations, including fire hazards. At this stage, however, E3 has

no evidence that the lamp substitutions induced by the measures will increase the risk of

fire. E3 encourages members of the public to come forward with relevant experience of

damage or fire associated with the use of CFLs and tungsten halogen lamps.

A wide range of plausible combinations of lamp type, lamp size, duty hours of the lamp,

and type of electricity tariff (residential, commercial and industrial) have been assessed

and in general net savings exist. However, there are three exceptions:

o For technical reasons associated with the type of ELVC used with ELV halogen

downlights, it is sometimes not possible to re-lamp with a more efficient lamp that

draws less power. The new lamp would still be more efficient but, instead of using

less energy, it simply generates more light. Most residential users can still save

energy by dimming the lamp back to the preferred lighting level. However, a

minority of residential users and a majority of commercial users do not employ this

feature. They are obliged to take the improved performance as more light but still

pay the incremental cost of the improved lamp.

o Lighting costs increase for combinations of small lamps (40 watts or less) or low

duty (less than two hours per day) in non-residential applications. These are

unlikely combinations, firstly because the smaller lamps are not generally used in

commercial and industrial applications, and secondly because such lamps may be

on for up to 8 hours per day.

o For technical reasons it is not always feasible to replace a conventional magnetic

ELVC with the more efficient electronic type. In such situations the MEPS will

require the use of an efficient magnetic ELVC that is significantly more expensive

than both the conventional magnetic and electronic types. The energy savings

generally don’t provide adequate compensation and the cost of the lighting service

increases. Suppliers say that the requirement for magnetic ELVCs is small, less

than 5% of ELVC sales.

These small cost increases are outweighed by much larger cost reductions in the majority

of lighting applications that are affected by the MEPS, to the point where there are

weighted average cost reductions in all sectors – residential, commercial and industrial.

Table 1 reports the estimated sectoral averages. Note the cost increases for ELV halogen

downlights in commercial applications.

TABLE 1 CHANGE IN LIGHTING COSTS: $ PER YEAR

Lamp type Residential

(per dwelling)

Commercial

(per million sqm of

floorspace)

Industrial

(per million sqm of

floorspace)

Mains voltage nonreflector

lamps -$25.86 -$250,986 -$14,407

Mains voltage

reflector lamps -$3.73 -$130,160 -$37,780

Extra low voltage

reflector lamps -$0.33 +$1,312 -

Total -$30 -$379,834 -$52,187

Consultation RIS: MEPS for certain lamps and low voltage converters

x

The relatively short operating life of incandescent lamps means that re-lamping and the

associated cost reductions will happen relatively quickly, with most gains delivered within

several years of implementation. The impact of MEPS for ELVCs will be delayed because

the stock of ELVCs can only be renewed as lighting systems are refurbished and new

buildings are constructed. The annual cost savings are also more modest, of the order of

$1.60/dwelling and $25,000/million square metres of commercial floorspace.

Table 2 provides a summary statement of the nationwide impacts for the period to 2020.

On this figuring, the proposed MEPS clearly satisfies the no regrets criterion, that is,

delivering abatement at no financial cost to users. The proposals would deliver abatement

of 28.5 Mt CO2-e and simultaneously provide savings of $2,167 million. The cost of

abatement is negative, -$135/tonne CO2-e.

Sensitivity analysis indicates that this positive assessment is not altered by any plausible

changes to underlying parameters. Given the wide range of circumstances that have been

examined, we are confident that there will be no adverse distributional consequences.

The estimates presented in table 2 allow for a significant contribution from the energy

saving incentives created by an emissions trading scheme. Specifically, we calculated the

impact of the proposed measures relative to a baseline scenario that assumes no change in

per capita demand for lighting services or the mix of technologies used to provide those

services, and assumed that 25% of the gains observed in 2020 would be achieved without

specific lighting measures. That fraction would be delivered by the enhanced incentives to

save energy under an emissions trading scheme. The total amount of lighting-related

abatement, including the contribution from an emissions trading scheme, is 36.2 Mt CO2-e.

These abatement contributions are a fraction of the total abatement that is planned for the

period to 2020. In 2006, for example, the Australian Greenhouse Office (AGO) estimated

that abatement measures will deliver about 1,330 Mt CO2-e of abatement in the period

2008 to 2020. The proposed lighting measures would contribute about 2.1% of that total.

TABLE 2 SUMMARY STATEMENT OF NATIONWIDE IMPACTS: 2008 TO 2020

Electricity consumption(GWh) -30,305

Greenhouse emissions (Mt CO2-e) -28.5

Financial impacts - undiscounted dollar amounts ($M)

cost to the taxpayer +7.70

business compliance costs +4.44

lamp operating costs (lamps & energy) -3,883

Financial impacts - present values ($M), discount rate = 7.5%

cost to the taxpayer +6.52

business compliance costs +2.87

lamp operating costs (lamps & energy) -2,177

Investment analysis ($M)

total costs no capital costs*

total benefits +2,167

net present value +2,167

Note:

* Both lamps and energy are treated as operating costs of lighting services, which is consistent

with normal practice in facilities management. It is analytically cumbersome to treat lamps as

capital items, given their low unit cost and their short, variable lives. Hence, we have not calculated

a benefit cost ratio.

Consultation RIS: MEPS for certain lamps and low voltage converters

xi

Policy alternatives

Although a combination of mandatory MEPS, labelling and a communications strategy is

recommended as the most effective response, alternative policy options were considered

including:

o subsidies for efficient lamps;

o taxes on inefficient lamps;

o disendorsement labelling;

o comparative energy labelling; and

o information campaigns.

The RIS invites comment on the feasibility of these options.

Consultation

E3 developed the MEPS proposals in consultation with suppliers and with industry and

lighting professional associations. In December 2007 a technical report was released,

setting out the detailed proposal. Submissions on the technical report were received from a

total of 25 organisations and individuals. Chapter 6 of this RIS provides a summary of the

submissions, however E3 considers that none of the issues raised require the proposal to be

altered.

This consultation RIS will provide a further opportunity for stakeholders to provide

feedback. E3 has identified particular issues for comment and has consolidated these in the

next section of this RIS.

Recommendations

E3 will determine its final recommendation in the light of responses to the consultation

RIS.

Consultation RIS: MEPS for certain lamps and low voltage converters

xii

Request for stakeholder comment

Comment is invited on any relevant matter. However, specific comment and supporting

arguments are encouraged on the following matters.

Product profile – section 1.2, pages 3-8

o Does this RIS accurately describe the supply arrangements for relevant lighting

technologies?

o Are there any other suppliers or groups of suppliers that should have been

identified?

Impediments to energy efficiency – section 1.4, pages 9-21

This section gives an account of barriers to the take-up of energy efficient lighting

technologies.

o Does this material overstate the problems?

o Can you provide any other information that would inform the assessment of

impediments to energy efficiency?

Role of standards and labelling measures after the carbon reduction scheme is

introduced – section 1.5, pages 21-22

The proposed regulation is a measure designed specifically for lighting technologies, and is

in addition to other greenhouse abatement measures that are not specific to particular types

of energy-using appliances and equipment. The proposed carbon pollution reduction

scheme is the major non-specific intervention, imposing a financial penalty on a large

proportion of greenhouse emissions, regardless of the specific appliances and equipment

involved. This part of the document explains why E3 considers that specific measures are

also required.

o Does this section help you to understand the argument for specific measures? Why

or why not?

o Do you agree with the rationale? Why or why not?

o Do you have any comment on the criterion that is used, which is to implement

measures that provide a real after-tax return of 7.5% per year? Implicitly, E3 asserts

that energy users would not regret mandatory investments in energy efficiency that

return at least 7.5% per year.

Proposed regulation – section 3.1, pages 24-31 & appendix A

o Does this part of the document adequately and accurately explain the proposed

regulation?

o Two elements of the proposal need to be further developed. These are the reform of

labelling arrangements and the arrangements for deciding when to terminate

exemptions. Do you have any comments or suggestions on those matters?

o E3 has more work to do on the content and channels for a communications

campaign. Please review E3’s current thinking and offer your suggestions.

o Do you need any other information about the proposal? Please ask.

Alternatives to the proposed regulation – section 3.2, pages 31-47

o Please comment on our assessment of the alternatives to the proposed regulation.

Consultation RIS: MEPS for certain lamps and low voltage converters

xiii

o The proposed regulation does not completely ban incandescent lamps: it allows the

continued use of the more efficient incandescent lamps. Do you agree with our

assessment of the problems associated with a complete phase-out of incandescent

lamps (section 3.2.6)? Please be specific.

Shortlist of policy options – section 3.2, page 31

E3 has shortlisted a number of policy options other than the proposed regulations. These

include a range of regulatory and non-regulatory measures. However, E3 has not

developed implementation details for these measures and this RIS does not provide a full

assessment of each option.

o Is it feasible to achieve the objectives by other means, without the imposition of

mandatory minimum energy performance standards?

o Should these alternative policy options be fully developed and assessed, and what

further delay would be acceptable in this case?

Business compliance costs – section 4.2, pages 48-50

E3 invites suppliers to comment on the assessment of the ‘red tape’ costs associated with

the proposal. The outstanding matter is the cost of labelling reforms and it would be

particularly useful for suppliers to explain the cost factors associated with labelling

initiatives.

Continued competition in supply of lighting products – section 4.3, pages 50-53

There is strong competition for the supply of lighting products and it would be a concern if

the proposed regulation weakened the competitive process.

o Do you have any concerns that the regulations unfairly favour particular products

or suppliers, other than on the basis of energy efficiency?

o Should we be more concerned about potentially adverse side effects that are

explained in section 4.3.1 – interference with network operations, loss of free

heating, and excess light?

o Users will need to adjust their lamp selection and purchasing routines and, to a

degree, will learn by trial and error. Is it fair to say that this will seldom be more

than a minor nuisance? What are the implications for E3’s communications

campaign?

o Would implementation of any of the policy options have the potential to reduce

incentives for manufacturers to innovate, improve product quality and reduce

prices?

Direct financial impact on residential, commercial and industrial users – section 4.4,

pages 53-69

This section reports the substantive modelling of the impact of the proposal on the cost of

lighting services. The assessment is overwhelmingly positive. The reader needs to

understand (a) the concept of ‘annualised life cycle cost’ (sections 4.4.1 for Australia), (b)

that beneficial impacts are reported as reductions in annualised life cycle cost, with a

negative sign, (c) that exemptions will not be terminated until it becomes apparent that

effective and affordable replacements will be available, and (d) in some cases it has been

necessary to make a ‘best guess’ at the incremental cost of replacement lamps.

o Do you understand the concept of annualised life cycle cost, or does it need to be

better explained?

o The intention of the regulation is to improve the energy efficiency of general

purpose lighting without affecting activities that have special lighting needs, such

as operating theatres, stage productions and movie-making. Do you have any

concerns about activities that may be adversely affected by the measures? Please be

specific.

Consultation RIS: MEPS for certain lamps and low voltage converters

xiv

o Do you accept that, given the level of MEPS and the implementation schedule

proposed; like-for-like replacements will be available and users will therefore not

be required to prematurely scrap lighting assets such as switches, dimmers, sensors,

wiring and luminaires?

o How do you rate the product qualities of CFLs relative to incandescent lamps? Are

CFLs superior to incandescent lamps, adequate replacements for incandescent

lamps, or decidedly inferior products?

o To what extent are any concerns about CFLs moderated by the continued

availability of the more efficient types of incandescent lamps, that is, tungsten

halogen lamps in both mains voltage and low voltage configurations?

o Have we made unrealistic assumptions about the price of lamps or energy?

o Do you accept that the proposed measures can deliver outcomes that are

overwhelming positive, and that adverse outcomes are minimal?

o Is there a need for more detailed analysis or more detailed reporting? Please be

specific.

Impacts on health, safety and the environment – section 4.5, pages 69-72

This section explains the issues that have been raised in the media and otherwise put to E3,

relating to the mercury content of CFLs and the electrical safety of CFLs and tungsten

halogen lamps. These are issues that are primarily the concern of other agencies or other

processes, and E3 decided to proceed with the consultation RIS before those matters are

fully resolved.

o Is this reasonable?

o Do you have any information that would inform the assessment of impacts on

heath, safety and the environment?

We have not assessed whether the emissions associated with the production and

distribution of CFLs exceeds the emissions associated with the manufacture of an

equivalent number of tungsten filament lamps. Implicitly, it is assumed that the operating

energy dominates the environmental impacts of lighting services.

o Is this reasonable?

Nationwide impacts – section 4.6, pages 73-76

This section reports estimates of the aggregate contribution to greenhouse abatement and

the associated financial savings. The measures are assessed as highly cost effective.

o Does the nationwide assessment seem plausible?

o The measures have been assessed as highly cost effective, delivering abatement at

negative cost, -$135/tonne CO2-e for Australia. Does that seem reasonable?

Sensitivity and distributional analysis –section 4.7, pages 76-78

o Is there a need for additional sensitivity analysis?

o Based on the assessment of direct financial impacts and the sensitivity analysis, we

make a strong statement that there are no adverse distributional effects. Is that a

reasonable interpretation of the analysis?

Consultation RIS: MEPS for certain lamps and low voltage converters

xv

Closing date and address for submissions

Written submissions will be accepted until the close of business on 10 October 2008.

Please address all written submissions to:

Mr David Boughey

Lighting and Equipment Energy Efficiency

Department of the Environment, Water,

Heritage and the Arts

GPO Box 787, Canberra ACT 2601

Or via email to:

energyrating@environment.gov.au

Consultation RIS: MEPS for certain lamps and low voltage converters

1

1. The Problem

This regulatory impact statement (RIS) assesses a proposal by the Equipment Energy

Efficiency (E3) Committee to mandate minimum energy performance standards (MEPS)

for incandescent lamps, for compact fluorescent lamps (CFLs) and for extra low voltage

converters (ELVCs) used for extra low voltage halogen lighting systems, and to impose

certain other standards and labelling measures in support of the main proposal.

All Australian jurisdictions have agreed to regulate products where the benefits exceed the

costs.

1.1 Energy efficiency policy

Australia’s greenhouse abatement and climate change policies have evolved consistently

for more than 15 years, since the release of the National Greenhouse Response Strategy in

1997. The paper received overall bi-partisan support, including for national energy

efficiency measures. Appendix B records some of the more important stages in that

development.

In May 2007, the Prime Minister's Task Group released its report on the introduction of an

Australian emissions trading system, which endorsed the support of complementary

measures as a means to address market failures where an Emissions Trading Scheme was

not effective:

Beyond information-based policies, energy efficiency policies could target areas

where market barriers are likely to be more fundamental and enduring. This is likely

to be in areas where consumers make infrequent decisions and where it is difficult to

judge the energy and emissions implications. There is a good case for continuing the

development of well-designed and consistent regulated minimum energy standards

for buildings and households appliances. Purchase of energy-efficient products can

have a large impact on aggregate emissions over time, and reduce the impact on

household budgets of any rise in carbon prices. (DPMC 2007 pp135)

Similarly in July 2007, the Prime Minister released Australia’s Climate Change Policy –

our economy, our environment, our future. The policy reasserted that energy efficiency

regulation remains a key element of cost effective greenhouse abatement:

Energy efficiency is an important way to reduce greenhouse gas emissions cheaply.

Demand for electricity in Australia is expected to more than double by 2050.

Improvements in energy efficiency have the potential to lower that projected growth,

and avoid greenhouse gas emissions. They can also deliver a net financial gain for

firms and consumers. … The MEPS programme is one of the main success stories

of the National Framework for Energy Efficiency (NFEE). The NFEE was developed

cooperatively across jurisdictions and covers a range of policy measures, designed

to overcome market barriers to energy efficiency. (pp 16-17)

Most recently, on 11 March 2008, Australia’s ratification of the Kyoto Protocol was

officially recognised by the United Nations Framework Convention on Climate Change

(UNCCC). Under Kyoto, Australia is obliged to limit its greenhouse gas emissions in

2008-2012 to 108 per cent of 1990 emission levels. The Australian Government has also

released a report demonstrating how Australia intends to measure the reductions in

emissions required under Kyoto titled Australia’s Initial Report under the Kyoto Protocol.

Consultation RIS: MEPS for certain lamps and low voltage converters

2

The MCE moves beyond “No Regrets” energy efficiency measures

In October 2006, the Ministerial Council on Energy (MCE, comprised of Australian

federal, state and territory and New Zealand government energy ministers) agreed to new

criteria for assessing new energy efficiency measures. The MCE replaced its previous “no

regrets” test (that a measure have private benefits excluding environmental benefits which

are greater than its costs) with the criteria that the MCE would consider …new energy

efficiency measures which deliver net public benefits, including low cost greenhouse

abatement measures that do not exceed the cost of alternate measures being undertaken

across the economy.

This means the MCE will consider regulatory measures that may have net up-front costs

but have greater private economic and greenhouse benefits over the long term, recognising

that prudent investment now may avoid more costly intervention later.

International Energy Agency (IEA) sees improving energy efficiency as top priority

Australian policy is in accord with international endeavours in this field.

The IEA estimates that under current policies, global emissions will increase 50% by

2030 and more than double by 2050. However, if we act now, this unsustainable and

dangerous pattern can be curbed. IEA findings show that emissions could be

returned to current levels by 2050 and even reduced thereafter, while an evergrowing

demand for energy services, notably in developing countries, can be fully

satisfied. Improving energy efficiency in the major consuming sectors – buildings

and appliances, transport and industry – must be the top priority. While alleviating

the threat of climate change this would also improve energy security and have

benefits for economic growth. – Claude Mandil, Executive Director, IEA, Paris,

February 2007.

Australia is at the forefront of international initiatives to improve the energy efficiency of

globally traded products.

Equipment Energy Efficiency Program

In Australia, regulatory intervention in the market for energy-using products was first

introduced with mandatory appliance energy labelling by the NSW and Victorian

Governments in 1986. Between 1986 and 1999 most state and territory governments

introduced legislation to make energy labelling mandatory, and agreed to co-ordinate

labelling and minimum energy performance standards (MEPS) decision making through

the MCE.

The proposed regulation is an element of the Equipment Energy Efficiency Program (E3).

E3 embraces a wide range of measures aimed at increasing the energy efficiency of

products used in the residential, commercial and manufacturing sectors. E3 is an initiative

of the MCE comprising ministers responsible for energy from all jurisdictions, and is an

element of Australia’s National Framework for Energy Efficiency (NFEE). It is organised

as follows:

o Implementation of the program is the direct responsibility of the Equipment Energy

Efficiency Committee, which comprises officials from Australian federal, state and

territory government agencies and representatives from New Zealand. They are

responsible for implementing product energy efficiency initiatives in the various

jurisdictions.

o The E3 Committee reports through the Energy Efficiency Working Group (E2WG)

to the MCE and is ultimately responsible to the MCE.

o The MCE has charged E2WG to manage the overall policy and budget of the

national program.

Consultation RIS: MEPS for certain lamps and low voltage converters

3

o Members of the E3 Committee work to develop mutually acceptable labelling

requirements and MEPS. New requirements are incorporated in Australian

standards and developed within the consultative machinery of Standards Australia.

o The program relies on State and Territory legislation for legal effect in Australia,

enforcing relevant Australian Standards for the specific product type.

The appliances and equipment that are included in the E3 program must satisfy criteria of

feasible and cost effective intervention. These include potential for energy and greenhouse

gas emissions savings, environmental impact of the fuel type, opportunity to influence

purchase, the existence of market barriers, access to testing facilities, and considerations of

administrative complexity. Policy measures are subject to a cost-benefit analysis and

consideration of whether the measures are generally acceptable to the community.

E3 provides stakeholders with opportunities to comment on specific measures as they are

developed by issuing reports (including fact sheets, technical reports, cost-benefit analyses

and regulatory impact statements) and by holding meetings.

1.2 Product profile

Product technologies - lamps

The proposal affects two broad types of lamp technology – incandescent and fluorescent.

Incandescence refers to the state of a body caused by approximately white heat and is

produced in incandescent lamps by passing an electric current through a tungsten filament.

Fluorescence is the property of emitting light on exposure to radiation. The tubes of

fluorescent lamps are coated with a fluorescent substance that is bombarded with radiation

when a current passes through the argon and mercury gas that fills the tube.

Two other technologies – high intensity discharge (HID) and solid state lighting (SSL) –

are not directly affected by the measures1.

We use figure 1.1 to briefly describe the energy efficiency characteristics of the various

lamp technologies. Note the following:

o Light output is measured along the horizontal axis in lumens, which is a measure of

the amount of visually useful radiation that is emitted by a lamp. For example, a

common 60 watt globe emits approximately 750 lumens.

o Lighting professionals use the term ‘efficacy’ for the ratio of the rate of light

production (lumens) to the rate of energy input (watts). Efficacy is measured along

the vertical axis in lumens/watt.

o In 1998 the European Union introduced a lamp labelling scheme with 7 classes,

labelled A to G. The thresholds increase with lamp output because it is easier to

efficiently produce large amounts of light and more difficult to efficiently produce

small amounts of light. The incremental class thresholds are extremely non-linear,

with relatively small differences between classes D and G in the lower regions but a

larger gap between classes A and C in the upper regions – see figure 1.1.

o Incandescent lamps convert less than 10% of the radiation emitted by a white hot

body into light, and inhabit the lower regions of figure 1.1. Suppliers seldom place

incandescent lamps higher than class C.

1 HID lamps are used where high levels of light are required over large areas, such as for street-lighting and

large public areas. SSL is a promising lighting technology lamps are not expected to be commercially viable

before 2015.

Consultation RIS: MEPS for certain lamps and low voltage converters

4

FIGURE 1.1 EFFICACY OF RELEVANT LIGHTING TECHNOLOGIES

0

20

40

60

80

100

0 2,000 4,000 6,000 8,000 10,000

Light output (lumens)

Class A

Class B

Class C

Classes

D, E & F

Class G

Europe's

A-G label

tungsten filament

tungsten halogen

fluorescent

Lamp efficacy - (lumens per watt)

o There are several broad types of incandescent technology:

• ‘Tungsten filament’ lamps are the cheapest and most widely used type of

incandescent lamp and are predominately graded to class E or class F.

• ‘Tungsten halogen’ lamps also have a tungsten filament. The difference is

that they contain small quantities of a halogen gas as well as the inert gases

(typically argon and nitrogen) that are contained in the conventional

tungsten filament lamp. The halogen allows higher filament temperatures

that increase efficacy and generate a whiter light, lifting tungsten halogen

lamps into classes C and D. It also extends lamp life by setting up a

“halogen cycle” that redeposits evaporated tungsten onto the hot surface of

the filament.

• A further refinement of tungsten halogen technology is to use coatings that

reflect infra red radiation back into the bulb, further increasing temperature

and efficacy.

o Both linear2 fluorescent lamps and CFLs of reasonable quality inhabit the upper

regions of figure 1.1 – either the Grade A or upper Grade B parts of figure 1.1. This

report is concerned mainly with the compact type since CFLs would be directly

2 Confusingly, the ‘linear’ description refers to all non-compact fluorescent lamps, including the circular type

as well as those that are actually linear.

Consultation RIS: MEPS for certain lamps and low voltage converters

5

subject to MEPS. Linear fluorescent lamps will have a very minor role in replacing

incandescent lamps and are already subject to MEPS.

o The data in figure 1.1 overstates efficacy in several ways.

• It reports the initial efficacy of lamps, whereas efficacy declines over the

life of most lamps.

• It excludes the energy consumed by the external ballasts that maintain the

correct voltage and current to fluorescent lamps. Some types of fluorescent

lamps are self ballasted, including most CFLs.

• It excludes the energy consumed by the ELVCs in low voltage lighting

systems.

• It excludes the reduction in efficacy when lamps on dimmer circuits are

operated at less than full power.

• It excludes the energy consumed internally by dimmers and sensors.

The energy used by dimmers and sensors is small enough to be entirely ignored. The

reduction in efficacy over the life of lamps can also be ignored, since it is experienced as a

reduction in light intensity, not a reduction in energy use. Our estimates of energy use and

energy savings make appropriate allowances for the remaining factors.

Lighting technologies can be further disaggregated according to a number of lamp design

and performance characteristics. For example, most lamps of interest are produced in

reflector and non-reflector versions: the former have built-in reflector that shines the light

in the desired direction. There are also differences in lamp life, light quality, lumen

maintenance over the life of the lamp, and sensitivity of lamp life to switching.

Product technologies - ELVCs

Voltage converters for extra low voltage (ELV) electricity are used to reduce the voltage of

mains electricity supply to a lower voltage, typically 12 volts, for operating ELV halogen

lamps. (Hereafter, we refer to converters as ELV converters or ELVCs. They are also

commonly called transformers. The lower voltage allows the use of a much smaller

filament, creating a dot shaped point of light that can be easily focused and directed by a

small light capsule.) ELVCs are supplied with screw terminals, flying leads or in some

cases a mains plug. They are typically installed in a ceiling or wall cavity, close to the

ELV lamp, since the transmission of power at low voltage requires thicker wires and incurs

higher line losses.

ELVCs can either be magnetic or electronic type. Magnetic converters consist of a ferrous

metal core wrapped with primary and secondary electrical windings. Electric current in

the primary (mains) winding induces a magnetic flux in the core, which in turn induces a

low voltage current in the secondary winding. The ratio of voltage reduction from the

primary to secondary terminals is approximately proportional to the ratio of the number of

coils in the primary and secondary windings. The output voltage of magnetic converters is

typically not regulated but may incorporate varying forms of simple overload protection.

Electronic converters do the same job electronically, first converting mains frequency

alternating current (50 or 60 Hz) into high frequency alternating current (typically 10-

100kHz), and then passing it through a small magnetic transformer to reduce the output

voltage to 12 volts of alternating current at 10-100 kHz. Units providing direct current

output are also available and are used to reduce radio frequency interference and cable

self-inductance over long circuits. Electronic converters are smaller and lighter than

magnetic converters, and often include output voltage regulation with sophisticated

protection circuitry and soft lamp starting characteristics.

Some energy is lost as current is converted to low voltage and the efficiency of ELVCs is

therefore reported as the ratio of output power to input power. More efficient ELVCs lose

less energy in the conversion process, which means that they use less input electricity to

Consultation RIS: MEPS for certain lamps and low voltage converters

6

produce the same amount of output electricity. For example, an ELVC that consumes 10%

of the input energy is said to be 90% efficient.

Electronic ELVCs are typically more efficient than magnetic units – see figure 1.2. This

data indicates that the losses vary from 3% (efficiency = 97%) to about 27% (efficiency =

73%). We understand that there has been little change in the efficiency of either the

magnetic or electronic types over the past 10 years, but the market share of the magnetic

type has fallen.

It is apparent from figure 1.2 that most of the variation in efficiency occurs amongst

magnetic converters with lower power ratings, in the range up to 100 VA. Note the group

of ‘more efficient’ magnetic designs with rating less than 100 VA but efficiencies in

excess of 85%. We understand that this group includes the ‘toroidal’ type of magnetic

converters with windings around a donut-shaped core. This arrangement improves

efficiency but winding these converters is a more involved process that adds to cost. We

have conflicting advice on whether conventional magnetic designs can achieve the higher

levels of efficiency.

FIGURE 1.2 FULL LOAD* EFFICIENCY OF ELV CONVERTERS

71%

73%

75%

77%

79%

81%

83%

85%

87%

89%

91%

93%

95%

97%

0 50 100 150 200 250 300 350 400 450 500

Max Power Rating (VA)

Efficiency at Full Load

Magnetic ELVCs

Electronic ELVCs

"Typical" Magnetic ELVCs

"More Efficient" Magnetic ELVCs

Source:

Manufacturer catalogues and laboratory testing in 2004. IEA has reported a similar range of

efficiencies, saying that …losses range from 5% to 25% at full load (IEA 2006: page 507)

Note:

Full load mode occurs when a converter is switched on, the maximum load is connected (that is, an

appropriately sized lamp), and the lamps is undimmed. In this mode the converter loses power

according to its full load loss rating. The losses at part load – that is, when dimmed – are not fully

understood but it is known that the percentage losses can be higher under part loads (IEA 2006:

page 507).

Product supply chain - lamps

All lamps are now imported, the last Australian factory having closed in April 2002.

Therefore, the import data since that closure provides good estimates of the total number

and mix of lamps purchased. Basic facts include:

o Average annual imports were 130 million for the period 2003-06.

Consultation RIS: MEPS for certain lamps and low voltage converters

7

o A breakdown of imports by exporting country indicates that China and Indonesia

are the major suppliers in terms of the number of lamps, with a combined share of

60%. Two other Asian countries (Thailand and Taiwan) and three European

countries (Germany, Italy and Hungary) have market shares of 4-8%.

o Asian countries, particularly China, have increased market share.

o Table 1.1 provides the breakdown of imports by lamp type. Incandescent lamps

account for 73% of Australian imports (tungsten filament 58%, tungsten halogen

15%). Fluorescent lamps account for most of the remainder (linear fluorescent

14%, compact fluorescent 10%).

Several types of organisation are involved in the importation and distribution of lamps.

o Multi-national companies: There are several international brands – GE, Megaman,

Osram and Philips – that are imported or distributed through subsidiaries or agents.

These are listed in table 1.2. Multinationals own some factories but also contract

with generic manufacturers for the supply of ‘commodity’ lamps.

o Local importer/wholesalers: Several companies have established local brands –

Crompton, Nelson, Mirabella and Sylvania. They do not own factories but enter

into partnerships or contractual arrangements with generic manufacturers.

o Local importer/retailer: Supermarkets and other large retailers have the capacity to

enter directly into supply arrangements with manufacturers, and may have a house

brand.

TABLE 1.1 LAMP IMPORTS BY TYPE OF LAMP: AUSTRALIA, 2003-06 (%)

Type of lamp Non-reflector type Reflector

type Total

Incandescent 56.5% 16.4% 73.0%

Tungsten filament 52.5% 5.9% 58.4%

Tungsten halogen 4.0% 10.5% 14.6%

Mains voltage 1.3% 2.1% 3.4%

Low voltage 2.7% 8.4% 11.2%

Fluorescent 23.8%

Linear 14.2%

Compact 9.6%

High intensity discharge 3.2%

TOTAL 100.0%

TABLE 1.2 TYPES OF LAMP IMPORTER

Brand Company Parent domicile

Subsidiaries of multi-national manufacturer/importer/wholesaler

GE GE Lighting Australia Ltd United States

Osram Osram Australia Pty Ltd Germany

Philips Philips Lighting Pty Ltd Netherlands

Agents for multinational manufacturer/importer/wholesaler

Megaman Cosmoluce Pty Ltd Local

Sylvania Lighting Corporation Ltd Local

Local importer/wholesalers

Crompton Lighting Corporation Ltd Local

Nelson HPM Group Local

Mirabella Mirabella International Pty Ltd Local

Local importer/retailers

House

brands

Coles, Woolworths, Mitre10 Local

Consultation RIS: MEPS for certain lamps and low voltage converters

8

o Suppliers & installers: Lamps are provided as part of lighting installations. The

Australian Yellow pages list 790 wholesalers and manufacturers of lighting and

lighting accessories, and 1,253 retailers of lighting and lighting accessories. A

further 193 companies that appear to be lamp maintenance and replacement

specialists.

o Generalist retailers: Households obtain most replacement lamps from

supermarkets, homeware and hardware stores.

Product supply chain - ELVCs

Electronic converters are certainly imported to Australia, mainly from Asian countries, and

it is expected that magnetic converters are also imported from the same sources. The more

efficient types of magnetic converter are manufactured overseas and can be imported to

Australia. Unfortunately, import data cannot be disaggregated to the level needed to

identify quantities and sources of converter imports.

Regarding domestic production, we understand the situation as follows:

o TridonicAtco is the major Australian manufacturer of magnetic and electronic

converters of the type that will be subject to the MEPS. It is a wholly owned

subsidiary of its Austrian parent, TridonicAtco GmbH & Co KG. Its current range

of magnetic converters does not comply with the proposed MEPS.

o Torema Australia Pty Ltd manufactures the more efficient type of magnetic

converter, including for ELV halogen lamps. There other Australian manufactures

but none, so far as we are aware, that manufacture the more efficient type of

converter for lighting applications.

National standards and labelling measures

At present the only standards and labelling measures in Australia are MEPS for linear

fluorescent lamps and the respective ballast. However, the recently published Greenlight

Australia strategy (NAEEEC 2004b) proposes a package of measures:

o High priority MEPS: for ELVCs, CFLs, public amenity lighting, luminaires,

tungsten halogen lamps, high pressure sodium lamps, and ballasts for high intensity

discharge lamps.

o Future MEPS: second round of MEPS for linear fluorescent lamps and ballasts,

plus MEPS for traffic signals, emergency and exit lighting, photoelectric cells and

tungsten filament lamps.

o Energy labelling: priorities not decided but consideration given to ELVCs,

luminaires, CFLs and fluorescent ballasts

o Market transformation initiatives: high efficiency products database plus education

and training for specifiers.

1.3 Projections of energy use and greenhouse emissions

Figure 1.3 shows the projections that were developed for the purposes of the Greenlight

Australia strategy, but re-based to conform to the model of the lighting task that has been

developed for this RIS.

o No new policies: Greenlight Australia projected growth of 3.2% per year in the

absence of any new lighting policies, implying growth of about 50% in the period

from 2002 to 2015.

o Current policies: Greenlight Australia set targets to restrict further growth to 20%

in lighting energy consumption over the period 2002 to 2015 and reduce the rate of

growth to zero by 2015.

Consultation RIS: MEPS for certain lamps and low voltage converters

9

The remaining projection is based on the assumption that the lighting configuration

observed in 2005 remains ‘frozen’, which means that lighting energy consumption grows

in line with the building stock. Average annual growth in the period 2005 to 2020 is 1.4%.

FIGURE 1.3 SCENARIOS FOR LIGHTING ELECTRICITY CONSUMPTION AND GREENHOUSE

GAS EMISSIONS

0

10,000

20,000

30,000

40,000

50,000

2000 2002 2004 2006 2008 2010 2012 2014 2016 2018 2020

No new policies

Frozen at 2005

Current policies - Greenlight Australia strategy

Electricity consumption - GWh

0

10

20

30

40

2000 2002 2004 2006 2008 2010 2012 2014 2016 2018 2020

No new policies

Frozen at 2005

Current policies - Greenlight Australia strategy

Greenhouse emissions - Mt CO2-e

1.4 Impediments to energy efficiency in the market for lamps

This section explains why lamp users may not minimise the lifecycle cost of lighting

services, due to imperfect information and split incentives. The following section (1.5)

discusses whether these market failures would still be a policy concern in the presence of a

CPRS.

Imperfect information

It is assumed that users prefer to reduce the cost of lighting services where possible and

therefore have an incentive to acquire the information about the cost of alternative

technologies, including energy costs. However, the assessment task is not trivial.

o The user must first identify the alternative lamps that are capable of performing a

particular lighting task. This is a reasonably complex matter involving, at a

minimum, the amount of light produced, the colour appearance of surfaces that are

illuminated and the colour appearance of the light itself. These lighting qualities are

Consultation RIS: MEPS for certain lamps and low voltage converters

10

quantified, respectively, as the lumens, the colour rendering index3 (CRI) and the

colour correlated temperature4 (CCT) of the lamps.

o Further, the user needs to compare the price of the alternative lamps and make

appropriate adjustments for differences in lamp life. This is a significant factor. For

example, CFLs may be four to five times more expensive than tungsten filament

lamps but last six to eight times longer. In terms of purchase cost per hour of

operation, a CFL is often cheaper than a tungsten filament lamp.

o The user needs to calculate or otherwise identify the amount of energy consumed

by the alternative lamps and, using their marginal electricity tariff, calculate the

energy costs of the alternative lamps.

o The user needs to allow for any differences in the time profile of the costs of

alternative lamps, which requires information about the duty hours of the lamp and

the application of an appropriate discount rate.

o Finally, the user requires a good basis for either trusting the sources of such

information or verifying the promised performance, and the ability to do the

arithmetic.

The question is the extent to which households are able to ‘do the sums’ in this way. We

have considered the following matters.

Imperfect feedback from energy bills

Lack of information is not critical where users have opportunities to learn quickly and

cheaply from experience and experimentation. For example, users can get rapid feedback

on their choice of coffee: each purchase is relatively cheap and feedback on the product,

via tasting, is immediate.

In contrast, feedback on the energy performance of energy saving lamps is impeded by the

fact that (a) users are not billed separately for the energy used by each appliance, (b) the

energy bill is also periodic, at intervals of 2 or 3 months, and (c) the interpretation of

energy bills is complicated by seasonal variation in energy consumption and the payment

of varying marginal tariffs under block tariff arrangements. Electrical appliances are

therefore at the more difficult end of the spectrum of purchasing decisions. They are best

regarded as ‘credence goods’ or ‘experience goods’, as opposed to ‘search goods’5.

o The attributes of a search good can be fully determined prior to use, for example, a

greeting card.

o The attributes of an experience good can be determined only with use, for example,

motor vehicles and other durables that users value for their whole-of-life

performance, including ongoing reliability and costs of operation and maintenance.

o The attributes of credence goods may never be discovered – for example, a medical

procedure – or may be determined only after a very long delay.

It seems highly significant that users do not have immediate feedback on the full costs of

lighting services: electricity accounts for about 90% of the lifecycle costs of a 60 watt

tungsten filament lamp6.

3 Objects look ‘natural’ in the light of an incandescent lamp, as though illuminated by sunlight, but can look

odd under fluorescent lighting, depending on the quality of the lamp. The CRI measures this quality on a

scale of 1 to 100, with sunlight at 100 and most incandescent lamps close to 100. Recent generations of

fluorescent technologies are in the range 70-95 and compact fluorescent lamps are in the range 82-85.

4 The correlated colour temperature (CCT) is reported in degrees Kelvin and relates to the chromaticity of a

black body heated to that temperature. (IEA 2006: page 106)

5 This distinction originated with an article by Philip Nelson (Nelson 1970).

6 A 60 watt tungsten filament lamp consumes 60 kWh over its life of 1,000 hours, with a value of about $9 (=

60 * 15 cents/kWh). The lamp itself typically costs less than $1.

Consultation RIS: MEPS for certain lamps and low voltage converters

11

Sizeable minority without strong pre-purchase assessment skills

A proportion of the population appear to lack the literacy, numeracy and problem-solving

skills that may be required to ‘do the sums’. While E3 has not directly tested the skill set of

the general population with regard to the ability to ‘do the sums’, results of the ABS survey

of adult literacy and life skills (ABS Cat 4428.0) indicate that a significant minority would

have difficulty. Specifically, on tests of literacy and numeracy, the ABS estimated that the

following proportions of the adult population in private dwellings are at Level 1 or Level

2, where Level 1 is the lowest level of literacy and numeracy on a scale from Level 1 to

Level 5.

o document literacy – 46.8%

o prose literacy – 46.4%

o numeracy – 52.5%

To understand what these numbers mean, it is necessary to review the Level 3 tasks: these

are the ‘next most difficult’ tasks that could not be performed by survey respondents on

Levels 1 and 2. Examples of the Level 3 tasks are provided in a report jointly published by

Statistics Canada and the OECD – Learning a Living: First Results of the Adult Literacy

and Life Skills Survey7 – and the interested reader should refer to that publication for a

detailed explanation. For the purposes of this RIS, however, the following indicate the

difficulty of Level 3 tasks.

o Document literacy: A document literacy task from the middle of Level 3 required

the reader to look at the following charts involving fireworks from the Netherlands

and to write a brief description of the relationship between sales and injuries based

on the information shown.

o Prose literacy: One of the prose literacy tasks at the lower end of Level 3 refers to

the following page from a bicycle’s owner’s manual and requires the respondent to

determine how to ensure the seat of a bicycle is in the proper position. The

respondent needs to identify, in writing, that the seat is in the proper position when

the sole of the rider’s foot is on the pedal in its lowest position and the rider’s knee

is slightly bent.

7 http://www.oecd.org/LongAbstract/0,3425,en_2649_37455_34867439_1_1_1_37455,00.html

The International Adult Literacy Survey (IALS) was a large-scale co-operative effort by governments,

national statistical agencies, research institutions and the Organisation for Economic Co-operation and

Development (OECD). The development and management of the survey were co-ordinated by Statistics

Canada and the Educational Testing Service of Princeton, New Jersey.

Consultation RIS: MEPS for certain lamps and low voltage converters

12

o Numeracy: One of the numeracy tasks at the lower end of Level 3 referred to the

following graph and accompanying text on the levels of dioxin in breast milk.

Respondents were not required to calculate the amount of change over each of the

periods, just describe in their own words the change in the levels of dioxin (e.g.,

decreased, increased, stayed the same).

These Level 3 tasks seem commensurate with the task of absorbing general information

about the qualities of energy saving and long life lamps, indicating that a significant

Consultation RIS: MEPS for certain lamps and low voltage converters

13

minority of the population would not be confident about making such assessments. We

also note that a numeracy task involving compound interest was assigned to Level 5.

The ABS survey also tested problem solving ability but, unfortunately, the source

documentation (Statistics Canada et al: 2005) does not report the degree of problem

solving that characterises Level 1 and Level 2. However, one of the scenarios used to

assess problem solving was the planning of a family reunion, which involved the

completion of a set of tasks that seems no more demanding than making an informed

assessment of lamps. The specific tasks for the respondent were to:

o set the date for the reunion allowing for the prior commitments of six relatives

o consider relatives’ suggestions for a specific outing (a hike) and decide on a

convenient location for the outing

o plan what needs to be done before booking your flight

o answer relative’s questions about travelling by plane

o book your flight

o make sure your ticket is correct

o plan your own trip to the airport

The ABS found many could not complete all of these planning tasks – 34.9% of

Australians were at Level 1 on problem solving and 70.1% were at Level 1 or Level 2, but

now on a scale of Level 1 to Level 4.

Other general findings are that skill levels are positively related to education and labour

force participation, and negatively related to age beyond 30 years. Figure 1.4 reports the

latter finding.

Skill deficiencies relate to the concept of ‘bounded rationality’: decision makers with finite

computational resources cannot make perfectly rational purchasing decisions. They use

imperfect algorithms and heuristics instead, and learn by ‘trial and error’. Several of the

FIGURE 1.4 PROPORTION OF AUSTRALIANS AT SKILL LEVELS 1 OR 2*, BY AGE

0%

10%

20%

30%

40%

50%

60%

70%

80%

90%

15–19 20–24 25–29 30–34 35–39 40–44 45–49 50–54 55–59 60–64 65–74

Prose literacy

Document literacy

Numeracy

Age group

Source: ABS Cat 4882.0 Adult skill and life skills survey

Note:

* For each literacy domain, proficiency is measured on a scale ranging from 0 to 500 points. To facilitate

analysis, these continuous scores have been grouped into 5 skill levels with Level 1 being the lowest

measured level of literacy.

Consultation RIS: MEPS for certain lamps and low voltage converters

14

attributes of the lamp market – such as low unit cost, relatively infrequent purchases and

unspectacular technology change – discourage buyers from thinking hard about their

purchasing habits.

Small financial benefits

We calculate that the phasing out of tungsten incandescent lamps will save the average

Australian household $30-60 per year. Some people would regard such amounts as trivial

and would not bother to make the required assessments, or would give so little attention to

the matter that there are few opportunities to educate and inform. This is a reasonable

explanation for the apparent lack of interest in labelling information, documented in

section 3.2.4, dealing with the policy option of lamp labelling. The IEA puts this issue in

terms of competing demands on the decision-making resources of individuals and

considers that:

An analysis of this factor can favour measures that remove the work from the

consumer by ensuring that efficient solutions are widely available in the market

place through retailer and industry incentives or mandatory regulations. (IEA

2006: page 287)

Attitudes to small individual savings may change over time, as the price of emissions

permits is factored into electricity prices and as people become more concerned to play

their part in responding to the challenge of climate change.

History and evolution of lamp labelling

The practice of classifying lamps by wattage (40 watts, 60 watts, etc.), which is a measure

of energy use rather than light output, is an anachronism based on familiarity with the

operation and performance of tungsten filament lamps. Suppliers have responded to the

need for users to understand that equivalent CFLs have lower wattage and longer life and

may have different colour characteristics.

o Same light but less energy: Using text and images, it is common for CFL packaging

to provide a direct comparison with a tungsten filament lamp that provides the

same light. For example, a 14 watt CFL may be shown as equal to a 60 watt

tungsten filament and saving 80% of the energy at the same time.

o Operating life: The CFL’s operating life is often stated in hours and a graphic is

used to show the CFL as equivalent to a number of tungsten filament lamps. For

example, the graphic would show the CFL as equivalent to six pear shaped bulbs if

the CFL has an operating life of 6,000 hours. Or long life may be indicated by

stating that the lamp will last for a certain number of years, say, 3 years.

o Colour appearance: The issue of colour is typically reduced to a choice between

‘cool white’ and ‘warm white’, sometimes accompanied by an explanation that the

cool look is a clear light that is appropriate to laundries and bathrooms and the

warm look is cosy light that is appropriate to living areas and bedrooms.

Importantly, the user still has more work to fully understand the financial effects of using

CFLs, in particular, to use their marginal energy tariff to calculate total energy costs and

make adjustments for differences in the life of lamps.

In general, suppliers have not taken the further step of providing information about energy

costs and savings on lamp packets – that is, doing the financial sums on behalf of users and

providing them with dollar estimates. It is difficult to know exactly why suppliers do not

employ these tactics; however the following points provide some indication.

o Information about operating expenses would need to be differentiated to a certain

degree, at least for countries and regions with different currencies, energy costs and

lighting requirements.

Consultation RIS: MEPS for certain lamps and low voltage converters

15

Further, packaging design and production costs associated with inventories and

distribution management has been a constant issue with suppliers. In general,

interchangeable products are valued highly by suppliers to global markets.

o Promised savings must then be further qualified, or discounted, to allow for interuser

variation in lamp configurations, duty hours and marginal electricity tariffs,

and inter-regional variation in electricity tariffs. For example, there are non-trivial

differences in commercial and residential duty hours and tariffs, and considerable

potential for mixed messages and misunderstanding.

o The value of energy savings varies enormously with light output, for example,

depending on whether the target is a 25 watt, 40 watt or 60 watt tungsten filament

lamp. This may complicate the message to the point where users decide that the

claims don’t make sense and should be ignored.

o There is considerable evidence that consumers generally pay little attention to

packaging information, which therefore increases packaging costs unnecessarily.

This is reviewed in chapter 3, in relation to our assessment of a ‘labelling only’

option for government intervention in the market for lamps.

Whatever the mix of reasons, it is apparent that suppliers have broadly formed a view that

information about the dollar value of energy savings does not generally earn, in marketing

terms, a place on lamp packaging. Users who want to fully understand the financial

implications need to do their own financial calculations.

Reputation of CFLs and adverse selection

CFLs were first commercialised in the early 1980s and, until very recently, diffusion of the

technology has been constrained by a number of quality issues. IEA has described the

situation as follows.

The first CFLs had limited CCT ranges and tended to be available in only the

higher CCT cooler-light values. Current generations are available in a wider

range of CCT levels than incandescent lamps, including the same warm hues

provided by incandescent lamps. CFLs using magnetic ballasts were prone to

delayed starts and long warm-up times and could suffer from flicker. With the

introduction of higher quality lamps using electronic ballasts these problems have

been overcome, and further production scaling up and cost reductions have now

made CFL lamps a good alternative for standard incandescent lamps. As with

other fluorescent lamps, the CRI of CFLs is not as high as for incandescent lamps.

Typical values range from 82 to 86 which is good enough for most applications but

may be a barrier in some situations. The highest quality CFLs now have CRIs up to

90. … Another more serious obstacle that constrained residential sales until

recently was their suitability for use in existing fixtures. Early CFLs were only

available in a limited range of sizes and were not small enough to fit into many

standard incandescent fixtures. In the last few years, however, numerous designs

have now become available, allowing them to be used in almost any standard

incandescent lamp fitting. In some markets CFLs are now also available in

decorative forms such as flame shapes for candelabra fittings. (IEA 2006: pages

122-123)

Given this history of quality issues, it seems likely that take-up of CFLs has been affected

by the problem of adverse selection. Adverse selection occurs where users cannot assess

product quality prior to purchase and cannot systematically reward the better products with

an appropriate price premium. Without that premium it is more profitable to produce

products of poor quality (‘lemons’) and the bad products ultimately drive out better

products. The market is consequently confined to the relatively few dedicated users who

acquire knowledge through a repeated process of trial and error. For the remainder,

however, IEA (2006: pages 285-290) characterised ongoing user concerns as uncertainty

about:

Consultation RIS: MEPS for certain lamps and low voltage converters

16

o avoiding use with incompatible dimmers or luminaires;

o how to choose a fluorescent lamp with appropriate light qualities;

o whether suppliers’ claims about lamp life and light quality are truthful;

o whether reports of disappointing results are representative of general experience;

o how product performance has improved over time and whether the time is right to

experiment again with technologies that have disappointed in the past.

IEA considers that the product history of CFLs has created doubts and reservations about

CFLs that no longer have a strong basis in terms of the actual performance of the better

quality CFLs that are now available. It is certainly true that CFLs of generally

unacceptable quality are still manufactured and sold internationally, but we are concerned

here with documenting the improvements in the best available CFLs. This is the basis for

E3’s expectation that users are satisfied with the performance of the CFLs that have come

onto the market over recent years. Consider that:

o IEA (2006: pages 122-123) documented a series of technological innovations, in

particular, the ability of the latest CFLs to provide the warm coloured light that is

associated with incandescent lamps, the use of electronic ballasts to reduce start up

times and lamp flickering, and the production of smaller sized CFLs, required by

some fittings.

o Many overseas governments responded to the problem of adverse selection by

implementing quality standards. These were designed to build trust in CFLs and

reward quality improvements. A recent review (Jeffcott et al 2006) identified nine

existing CFL standards and another four in preparation8. Two certification

standards have been progressively tightened as suppliers improved their products.

􀂃 The UK Energy Trust has certified CFLs since 2001 and, after a series of

amendments, implemented Version 6 from February 2008. Versions 4, 5 and 6

progressively included more types of CFL lamps and amended the requirements

to impose maximum start and run-up times, longer operational life and

minimum lumen maintenance over the operational life, maximum premature

failure rates, improved colour appearance and maximum mercury content.

􀂃 The US ENERGY STAR program has certified CFLs since August 1999 and

has a similar history of progressively higher standards. Version 3 was

introduced in January 2004 and Version 4 will be implemented from December

2008.

o E3 now proposes that Australia follow the international lead, by introducing MEPS

that define minimum standards for the efficiency, lighting quality and durability of

CFLs. This proposal includes recognition of certain overseas certifications and, by

definition, is designed to ensure that the Australian market is supplied with superior

products that will generally be accepted as like-for-like replacements for

incandescent lamps.

o It is apparent from E3’s consultations that suppliers are comfortable with the

minimum standards that are proposed for CFLs in the Australian market. Products

that are certified by the UK Energy Trust are already well-represented in the

Australian market.

o The quality of the lighting service provided by CFLs has reached the point where

many countries are taking measures that they characterise as ‘phasing-out

incandescent lamps’. A stock-take in February 20089 indentified the following:

8 The multiplicity of quality standards has itself become a problem. The regulation of CFLs is currently the

focus of the International CFL Harmonisation Initiative, focusing on international harmonisation of CFL test

and performance standards and aiming to reduce compliance and manufacturing costs and ultimately reduce

the price of high quality CFLs. E3 is actively participating in that initiative.

9 Reported on the website of the Collaborative Labelling and Appliance Standards Program

http://www.clasponline.org/clasp.online.whatnew.php?no=517, referenced on 4 September 2008.

Consultation RIS: MEPS for certain lamps and low voltage converters

17

􀂃 phase-out targets announced: Canada - 2012, Ireland – 2009, US – 2010 to

2012, UK – 2010

􀂃 phase-out plans proposed: Europe – 2011 to 2015, with 60+ watts phased out in

2013, Ghana, Japan, Switzerland

􀂃 accelerated CFL change-over programs in Argentina, Belgium, Egypt, France,

Indonesia, Portugal, South Africa and Vietnam.

E3 recognises that there will still be concerns about replacing the familiar pear-shaped

globe with CFLs and has modified the proposed measures to deal directly with such

concerns. In particular, high efficiency incandescent lamps will still be available and broad

classes of lamp will be exempted until product availability and performance improves to

the point where lamps can be replaced on a like-for-like basis. Some exemptions may be

retained until 2012 or later.

Chapter 3 provides a full account of the proposed measures and appendix A provides

supplementary information, including fact sheets to address what E3 considers to be

unfounded fears about the safety and convenience of lamp options.

Section 3.2.6 explains E3’s reasons for not proceeding with an original proposal to

completely phase-out incandescent lamps, including identification and assessment of a

range of product quality issues.

Split incentives

There are circumstances where appliance selections are delegated to people who do not

pay the energy bills and may avoid the consequences of a poor decision, creating a

problem of split incentives. In a recent report on ‘principal-agent’ problems in energy

efficiency decisions, the International Energy Agency (IEA 2007) explained the problem

as follows.

Split incentives occur when participants in an economic exchange have different

goals or incentives. This can lead to less investments in energy efficiency than

could be achieved if the participants had the same goals. A classical example in

energy efficiency literature is the ‘landlord-tenant problem’, where the landlord

provides the tenant with appliances, but the tenant is responsible for paying the

energy bills. In this case, landlords and tenants face different goals: the landlord

typically wants to minimise the capital cost of the appliance (with little regard to

energy efficiency), and the tenant wants to maximise the energy efficiency of the

appliance to save on energy costs.

Split incentives occur in the property ownership market, where many homeowners

and businesses have limited incentive to invest in efficiency measures because they

do not expect to stay in their building long enough to realise the payback from

investments in energy efficiency. Split incentives also occur in the hotel industry,

where the occupant seeks to maximise comfort and does not directly pay for the

room’s energy use. The hotel owner, on the other hand, does face the energy costs

– which is why many hotels typically install compact fluorescent lamps and keys

that deactivate a room’s energy use when removed from their slots. (IEA 2007:

page 25)

The IEA report is an innovative attempt to quantify the split incentive problem in energy

efficiency and includes a case study of residential lighting in the US (IEA 2007: chapter 9).

IEA reported that split incentives have a negligible effect on residential lamping decisions,

since most residential tenants pay their own energy bills and therefore bear the

consequences for their re-lamping decisions.

We don’t find the IEA assessment entirely convincing. The problem is that (a) CFLs have

long operating lives of 6,000 to 10,000 hours and would often last for 5 years or more, and

(b) Australians are highly mobile. According to the 2006 census, 17% of individuals were

Consultation RIS: MEPS for certain lamps and low voltage converters

18

not at the same address as 12 months previously and a significant 43% of individuals had

moved within a 5 year period. This suggests that in order to get full value from their

investment in CFLs, many users would need to take their lamps with them when they

move house. This may be economically rational behaviour, but somewhat tedious and time

consuming, likely to result in breakages and raise suspicions in the mind of the real estate

agent, and certainly inconsiderate towards subsequent residents. People without a taste for

this level of rationality would leave lamps in the vacated premises.

It seems reasonable to classify this problem as one of split incentives, that is, involving the

making of lamping decisions that will be inherited by subsequent residents of the dwelling.

In addition to the many renters in this situation (28% of households), similar disincentives

affect owner-occupiers who intend to sell or rent the property within a year or two.

It may also be more difficult to negotiate energy saving measures in group households that

share energy and re-lamping bills. At the 2006 census, 3% of people lived in group

households.

Trends in the Australian market

The main trends in residential lamp usage are in respect of fluorescent lamps and ELV

tungsten halogen lamps.

Fluorescent lamps

Regarding fluorescent lamps, table 1.3 reports ABS estimates that 30% of Australian

households did not have either linear or compact fluorescent lights in 2005. Almost 40% of

households used fluorescent lights as the main form of lighting in one or two rooms, and

another 25% used them in three or four rooms. Only 7% of households used fluorescent

lights as the main form of lighting in the whole house. A rough calculation10 suggests that

the average dwelling has 2 rooms that are mainly lit with fluorescent lamps.

The trend is positive in Australia. Forty per cent of households reported no fluorescent

lamps at the 2002 ABS survey and only 4% of households reported fluorescent lighting in

the whole house. The average dwelling had about 1.5 rooms mainly lit with fluorescent

lamps. Comparison with the 2002 and 1999 surveys suggests that there has been little

change in the use of linear fluorescent lamps (about one room per house), which means

TABLE 1.3 PENETRATION OF FLUORESCENT LIGHTS: % OF AUSTRALIAN

HOUSEHOLDS, 2005

Number of rooms

mainly lit by

fluorescent lamps

Detached

house

Semidetached,

row, terrace

or town

house

Flat/unit/

apartment

Other

dwelling

Total

households

Households WITHOUT linear or compact fluorescent lights

Sub-total 26.9% 37.0% 45.9% 26.6% 30.1%

Households WITH linear or compact fluorescent lights

One 20.0% 23.1% 22.0% 22.7% 20.5%

Two 18.0% 15.3% 15.9% 20.2% 17.5%

Three 12.6% 8.4% 6.3% 9.9% 11.4%

Four or more 15.3% 9.6% 4.4% 8.3% 13.5%

Whole house 7.2% 6.5% 5.5% 12.2% 7.0%

Sub-total 73.1% 63.0% 54.1% 73.4% 69.9%

Total 100.0% 100.0% 100.0% 100.0% 100.0%

Source: ABS 4602.0, 2005 edition (special tabulation because of errors in the published document)

10 It was assumed that the average number of rooms in the ‘four or more’ group was 5, and the average

number of rooms in the ‘whole of house’ group was 7.

Consultation RIS: MEPS for certain lamps and low voltage converters

19

that compact fluorescent lamps have delivered the apparent increases in penetration. That

said, there is a suspicion that the question asked by the ABS, which is about fluorescent

and ‘energy saving’ lights, elicits misleading responses from those who believe that extra

low voltage tungsten halogen lamps are an efficient form of lighting. They are not.

The ABS surveys suggest two other generalisations for Australia. As shown in table 1.3,

fluorescent lamps are most likely in detached dwellings and least likely in flats and

apartments. They are also more likely in the northern jurisdictions, with Queensland and

the Northern Territory returning average room counts of 2.3 rooms and 2.9 rooms,

respectively, in 2002. Tasmania had the lowest count – 1.1 rooms on average. A likely

explanation is that, historically, fluorescent lamps have provided a ‘cool white’ look that is

more acceptable closer to the equator and incandescent lamps have provided a’ warm’ look

that is more acceptable closer to the poles (IEA 2006: page 106). Fluorescent lamps are

now available in the ‘warm’ look.

The Australian Greenhouse Office commissioned research on user attitudes to CFLs at

about the same time as the 2005 ABS survey (Artcraft 2005). Based on a combination of

phone surveys and in-depth interviews11, Artcraft found that:

o About half of respondents had never purchased a CFL and about a quarter had not

heard of CFLs, even after prompting.

o Most CFLs had been purchased fairly recently from supermarkets and discount

stores. Only 5.7% were from lighting stores where there was some prospect of

specialist advice.

o Users are sceptical about supplier claims regarding globe life and energy savings,

but also don’t know how to interpret claims expressed in operating hours and don’t

understand that claimed lives are averages and that a proportion of globes must fail

at less than the average life.

The import data seems to indicate that there have been significant developments since the

2005 surveys. Australian imports of CFLs increased by 28% in 2006 and then doubled in

2007 – see figure 1.5. However, imports returned to more normal levels in the later months

of 2007 and the early months of 2008. This strongly suggests that the 2007 surge in

imports was a response to the announcement, in February 2007, that Australia would phase

out incandescent lamps by 2010. The surge started two months after the announcement and

lasted for about 6 months. Possibly, the announcement was interpreted as a strong positive

endorsement of CFLs, reassuring users that CFLs are safe and reliable. Another

contributing factor may have been a belated restocking after strong sales in 2006, in that

case due to generous subsidies provided by the NSW Greenhouse Abatement Scheme. The

rules have since been amended and the number of CFL ‘give-aways’ under that scheme

has fallen significantly.

Overall, the import data indicates that CFLs have been gaining market share. However, the

extent of government intervention is such that it difficult to determine how much has been

the result of autonomous market forces, and the degree to which it would be sustained in

the absence of government intervention.

ELV tungsten halogen lamps

The import data tell us that there has been strong growth in the use of ELV tungsten

halogen lamps – see figure 1.5. The trend rate of growth was 8.6%/year over the period

1996 to 2007). There are some indications that the rate of growth has moderated more

recently.

11 The study involved a series of three focus group discussions, fifteen in-depth interviews and telephone

interviews with a representative sample of 600 people 18yrs+ in Sydney and Melbourne during mid to late

April 2005.

Consultation RIS: MEPS for certain lamps and low voltage converters

20

FIGURE 1.5 IMPORTS OF ELV TUNGSTEN HALOGEN LAMPS (MILLION LAMPS)

0.0

5.0

10.0

15.0

20.0

25.0

30.0

35.0

40.0

1990 1992 1994 1996 1998 2000 2002 2004 2006 2008

ELV tungsten halogen - Australia

CFLs - Australia

o Imports have been flat over recent years.

o TridonicAtco told us that they manufacture 450,000 ELVCs per month at the peak

of the market several years ago, using two production lines. Production has since

fallen to about 80,000 per month, using one production line. Note that these figures

exclude sales of electronic converters, which have increased their market share.

As noted earlier, low voltage means that the lamp can have a much smaller filament,

creating a dot shaped point of light that can be easily focused and directed by a small light

capsule. The resulting beam of light is narrow, making these lamps ideal for their original

applications, which were to spotlight artworks and retail displays. However large numbers

of these lamps are needed when used to illuminate larger areas, such as living areas and

retail floorspace. On the evidence of display homes, twenty or more ELV tungsten halogen

lamps may be used to illuminate living rooms.

ELV converters

The factors contributing to the continued use of magnetic converters have not been

specifically researched. However, we speculate that:

o Buyers may be reassured by the familiar look and feel of magnetic converters. They

are solid, chunky and weighty, and the smaller and lighter electronic types may

appear inferior in comparison.

o While electronic converters can be adequately substituted for magnetic converters

in at least 95% of cases (suppliers say 99%), magnetic converters should be used

where durability is important and where the converter cannot be installed within

two metres12 of the lamp. The stories resulting from inappropriate use of electronic

converters may create doubts in the mind of the buyer.

Conclusion on market failure

The figuring reported in chapters 4 and 5 indicates that the lighting service provided by

incandescent lamps and ELVCs is unnecessarily expensive. For example:

12 We understand that the 2 meter rule is to protect against interference created by electromagnetic radiation

that is emitted from the wires on the output side of the ELVC, carrying the low voltage current provided by

an electronic converter. Some sites don’t have the ceiling or wall cavities that are needed to install converters

close to lamps.

Consultation RIS: MEPS for certain lamps and low voltage converters

21

o In the case of a lamp that is used one hour per day, conversion from tungsten

filament to CFL would save 85 cents of electricity per year, cost an additional 20

cents per year in lamps, and reduce the re-lamping task by a factor of 6.

o Electronic converters are now generally cheaper than the less efficient magnetic

type, which means their use can save on both the installation and running costs of

ELV tungsten halogen lamps.

E3 considers that this unnecessary expense is caused by market failure, given the evidence

of information failure and split incentives. The IEA came to the same conclusion in a

recent review of policies for energy efficient lighting, introducing its discussion of barriers

to energy efficient lighting with the following remarks.

Acknowledging cost-effective potential and realising all of it are quite different

matters. Undoubtedly, some part of the potential will be realised through normal

market forces, but an important share will be hampered by factors that make the

market function less effectively; in turn, this presents a rationale for policy

intervention. (IEA 2006: page 285)

1.5 Role of energy efficiency programs after CPRS is introduced

In 2007, the Australian Government formally announced its intention to introduce a

Carbon Pollution Reduction Scheme (CPRS) (previously known as the Emissions Trading

Scheme) by 2010. Economic literature suggests such a scheme can be used as an effective

policy tool for internalising the costs associated with greenhouse gas emissions. However,

even under a CPRS, there may still be a role for complementary policies.

Energy efficiency measures have been proven in some circumstances as a cost-effective

method for households and businesses to reduce energy consumption while delivering

greenhouse gas abatement. All other things being equal, the increase in costs of energy

resulting from a CPRS should encourage households and businesses to improve the

efficiency of their energy use. However, in some instances, market failures and/or other

factors may act to mitigate some of the impacts of a CPRS, and therefore complementary

energy efficiency measures may be appropriate.

For example, the presence of split incentives (such as between building owners and

tenants) may lessen the effectiveness of a CPRS in delivering an ‘optimal’ investment in

energy efficiency in tenanted dwellings.

In other instances, the transactions costs of investing in energy efficiency may outweigh

the marginal benefits of such investments, even in a CPRS environment. For example, the

potential energy savings to consumers may be small, relative to the time and effort

required to calculate the associated life cycle costs when purchasing a product. In this

circumstance, it is possible that a CPRS will not deliver an optimal investment in energy

efficiency. A similar situation can arise if there is imperfect information, such as a lack of

comparative energy consumption data on energy bills.

Taking into account the above factors, in some situations it is possible that the increase in

electricity prices induced by a CPRS may result in a relatively small rise in demand for

energy efficient products. Therefore it is possible that the carbon abatement costs induced

by complementary energy efficiency measures may be lower than those induced solely

under a CPRS. In such cases, it may be beneficial to consider energy efficiency policies,

including MEPS and energy labelling, in conjunction with a CPRS.

CPRS can fix the problem of excessive emissions however, a CPRS does not:

o align the interests of a series of relatively temporary residents at an address, nor

deal with the issue of split incentives;

Consultation RIS: MEPS for certain lamps and low voltage converters

22

o improve the literacy and numeracy skills of people who need to adjust their carbon

budgets; or

o put information on the energy bill that tells the user whether investments in energy

efficient lamps delivered the expected savings.

In short, the CPRS does not deal with the problems that people face in adjusting to the

scheme.

Consultation RIS: MEPS for certain lamps and low voltage converters

23

2 Objectives of government action

2.1 Objective

The objective of government action is to contribute to cost-effective greenhouse abatement

in Australia. The assessment of cost effectiveness includes consideration of both the direct

financial impact and any effects on health, safety and the environment.

2.2 Assessment criteria

Abatement measures that do not increase the life-cycle cost of appliances are considered to

be cost-effective. This means that the value of the energy savings to the user is not less

than the incremental purchase price of a more efficient appliance and the ‘no regrets’

criterion is satisfied. The contribution to abatement is implicitly valued at zero.

MCE has determined that it will also consider greenhouse abatement measures that have a

net financial cost to Australians, provided the net cost (per tonne of CO2-e) is not higher

than the cost of abatement achieved by other programs. This recognises that regulatory

proposals can deliver a net benefit to the community despite an increase in financial costs,

and implicitly puts a positive value on the contribution to abatement.

While MCE has not defined the maximum price that it is willing to pay for greenhouse

abatement, Appendix E some supplementary figuring that assumes a value of $10-

20/tonne.

Several secondary assessment criteria are also applied:

1. Does the option address market failures?

2. Does the option minimise negative impacts on product quality and function?

3. Does the option minimise negative impacts on manufacturers and suppliers? For

example, the measures need to be clear and comprehensive, minimising the

potential for confusion or ambiguity for users and suppliers.

Consultation RIS: MEPS for certain lamps and low voltage converters

24

3 The policy options

This chapter outlines the specific measures proposed for incandescent lamps and CFLs

(section 3.1) and provides a shortlist of alternative policy options (3.2).

3.1 Proposed regulation

3.1.1 Scope of the MEPS

MEPS are proposed for certain incandescent lamps, for CFLs and for the ELVCs used with

ELV lighting. The exact scope of the regulation is defined by the following standards. All

have been published except for those for ELVCs, which are currently in draft form.

Suppliers should refer to the technical specifications in these standards to understand the

exact scope of the regulations.

o AS 4934.1: Incandescent lamps for general lighting purposes -Test methods -

energy performance

o AS 4934.2: Incandescent lamps for general lighting purposes - minimum energy

performance standards (MEPS) requirements

o AS 4847.1: Self-ballasted lamps for general lighting services -Test methods -

energy performance

o AS 4847.2: Self-ballasted lamps for general lighting services - minimum energy

performance standards (MEPS) requirements

o AS ... :Performance of electrical lighting equipment - Transformers and electronic

step-down converters for ELV lamps - Part 1: Test method-Energy performance.

o AS ... :Performance of electrical lighting equipment - Transformers and electronic

step-down converters for ELV lamps - Part 2: Energy labelling and minimum

energy performance standards requirements.

In layman’s terms, the incandescent lamps that fall within scope of the regulation are

defined mainly by the physical shape of the lamp and the type of ‘cap’, such as the

conventional pear-shaped globe with a bayonet cap. These characteristics effectively limit

the regulation to the types of lamp used predominantly in dwellings and to a lesser extent

in commercial and industrial buildings. See appendix A for a list of the types of

incandescent lamps that are commonly used in residential applications. However, suppliers

should not rely on Appendix A to define the scope of the regulation. It simply illustrates

the most common types of incandescent lamp that are in scope and other types that are not

in scope.

The measures will not affect the following activities with intensive or special lighting

requirements:

o traffic management

o operating theatres

o stage productions

o photography and movie-making

o activities requiring enhanced spectrum lamps, such as speciality horticulture and

aquaculture

Consultation RIS: MEPS for certain lamps and low voltage converters

25

3.1.2 Level of MEPS

Incandescent lamps

The proposed MEPS is based around a minimum efficacy level of 15 lumens/watt for an

incandescent lamp generating 900 lumens. (900 lumens is the amount of light emitted by a

60 watt lamp that would just meet MEPS.) But there is a sliding scale that is defined

mathematically. Figure 3.1 shows how the MEPS requirement increases with the lumen

output of the lamp.

We understand that tungsten filament lamps cannot meet this standard and will be phased

out. However, MEPS will not require the phasing out of incandescent lamps of the

tungsten halogen type, since this technology can comply with the standard. Some

compliant lamps are already available in the market.

It is also proposed that only lamps that significantly exceed the MEPS can be designated as

‘high efficiency’, possibly 75% more efficient. The current generation of tungsten halogen

lamps would not qualify as high efficiency lamps.

FIGURE 3.1 PROPOSED MEPS – INCANDESCENT LAMPS

The MEPS for a reference lamp generating 900 lumens is at 15 lm/w. (900 lumens is

approximately the amount of light emitted by the common 60 watt globe.) There is a sliding scale

for other lamp sizes, with progressively lower MEPS for lamps providing less than 900 lumens and

progressively higher MEPS for lamps providing more than 900 lumens. The requirements are

defined by the following formula.

Initial efficacy ≥ 2.8 * ln(initial lumens) – 4.0

Compact fluorescent lamps

Table 3.1 defines the proposed requirements for CFLs. These are the local or default

requirements that will apply if the CFL attribute is not certified to one of two overseas

schemes, which are the certification schemes of the Efficient Lighting Initiative (ELI) or

the UK Energy Savings Trust (EST). See appendix A for details of these schemes.

There are three broad groups of issues in addition to the energy efficiency specifications.

o There are light quality requirements, relating to the appearance of illuminated

objects and the immediacy of the response to lighting controls.

o There are durability requirements, relating to the effective life and longer term

performance of the lamp.

0

10

20

30

40

0 500 1000 1500 2000 2500

Proposed MEPS High efficiency MEPS (indicative only)

Lumens

Lumens/watt

Consultation RIS: MEPS for certain lamps and low voltage converters

26

TABLE 3.1 PROPOSED MEPS – COMPACT FLUORESCENT LAMPS

Attribute

Local or ‘default’ requirements, if CFL attribute is not

certified under the certification schemes of either the

Efficient Lighting Initiative (ELI) or the UK Energy

Savings Trust (EST)*

Energy efficiency requirements - minimum efficacy in lm/w

Bare lamp efficiency

1

0.24 0.0103

F

+

Where F = initial luminous flux in lumens

Covered lamp efficiency

0.85

0.24 0.0103

F

+

Where F = initial luminous flux in lumens

Reflector lamp efficiency

0.6

0.24 0.0103

F

+

Where F = initial luminous flux in lumens

Light quality requirements

Colour appearance IEC 60081 Graph D-16 for CCT 2700. Other temps to be

approved but following same diagram

Minimum CRI (colour rendering index) 80

Maximum starting time (seconds) 2.0

Maximum run-up time (min) 1.0

Durability requirements

Minimum lumen maintenance 2,000 hrs = 0.88 / 5,000 hrs = 0.80 / 10,000 hrs = 0.75

Maximum premature lamp failure rate 10% at 30% of rated life

Minimum switching withstand 1,000 Cycles

Minimum lifetime (hours) 6,000

Requirements relating to external impacts

Minimum power factor 0.55 (0.9 for lamps claiming high PF)

Maximum mercury content (mg) 5**

Harmonics AS/NZS 61000.3.2

Note:

* See appendix A for details of the alternative certification schemes. If the lamp is certified to ELI

or EST, for which starting time, run-up time and mercury content may not be specified, then the

lamp shall comply with the local criteria.

** To be measured in accordance with AS/NZS 4782.3

o There are also external impact requirements to ensure that CFLs do not impact

adversely on the operation of electricity networks and the environment.

The light quality requirements and, to a lesser extent the durability requirements, address

issues of concern to users in previous generations of CFL products. Other countries have

regulated the lighting performance of CFLs, not just their energy efficiency, aiming to

protect inexperienced customers from inferior products that unfairly damage the reputation

of CFLs. They have developed a range of standards in the process and E3 has identified the

ELI and EST certification schemes as compatible with the standards proposed for

Australia.

Consultation RIS: MEPS for certain lamps and low voltage converters

27

The option of certification against the existing ELI and EST schemes would ensure that a

good range of compliant product is available when the MEPS is first implemented and

reduce regulatory barriers to the competitive supply of CFLs. Appendix A provides the

details of these alternative certification arrangements. More information is available from

their websites www.efficientlighting.net and www.energysavingtrust.org.uk.

Extra low voltage converters

Table 3.2 defines the proposed MEPS for ELVCs. Figure 3.2 shows how these relate to the

observed range of converter efficiencies. Formally, the MEPS vary with the rated power of

the converter, measured in volt-amps (VA). For our purposes, volt-amps are equivalent to

wattage (W). A stepped arrangement is proposed, with lower MEPS for ELVCs up to 200

VA. This ensures that the option of a magnetic converter is always available. Electronic

converters are not suitable for applications where a more robust unit is required and where

the converter cannot be located within two metres of the lamp.

TABLE 3.2 PROPOSED MEPS – EXTRA LOW VOLTAGE CONVERTERS

Rated converter power

(VA*)

MEPS level

(% efficiency at full load)

≤ 200 VA ≥ 86%

> 200 VA ≥ 91%

Note:

* VA = volt-amps, a measure of the converter capacity. For our purposes, it is

equivalent to wattage.

FIGURE 3.2 EFFICIENCY OF ELVCS AND PROPOSED MEPS

71%

73%

75%

77%

79%

81%

83%

85%

87%

89%

91%

93%

95%

97%

0 50 100 150 200 250 300 350 400 450 500

Max Power Rating (VA)

Efficiency at Full Load

Magnetic Transformers

Electronic Converters

MEPS Line

"Typical" Magnetic ELVCs

"More Efficient" Magnetic ELVCs

3.1.3 Timing of MEPS

The MEPS apply to the sale of lamps and ELVCs. Implementation will commence in

November 2009 but with exemptions that will be terminated over the period to 2012.

Table 3.3 provides a schedule of terminations. The schedule for post-2009 implementation

is indicative at this stage, based on the expected availability of effective and affordable

replacements. Actual terminations will be implemented with the benefit of up-to-date

market and product analysis, and in consultation with suppliers. The only firm post-2009

Consultation RIS: MEPS for certain lamps and low voltage converters

28

implementation dates are those for ELVCs (November 2010) and reflector CFLs

(November 2011).

Table 3.3 also refers to related import restrictions that will be implemented 12 months

earlier than the MEPS on sales, if that proves feasible. This arrangement would apply only

to Australia and only to lamps, not ELVCs. The 2-stage process allows lamp stocks to be

run down over 12 months. Hereafter, we refer to the date of application to sales (the later

date) as the date of implementation.

Each year, the lamp types excluded from the scope of MEPS will be reviewed by a

committee consisting of lighting industry and Government representatives. Exempt lamp

types will only be included as viable, efficient and affordable alternatives become

available.

E3 plans to implement a second round of MEPS from 2013, at 20 lumens/watt for a

reference lamp of 900 lumens. Government representatives will work with the lighting

industry to review the second round options in 2011, focusing on the feasibility of the 2013

timing and target. Again, a second round of MEPS will only be implemented as viable,

efficient and affordable alternatives become available.

TABLE 3.3 SCHEDULE FOR MEPS IMPLEMENTATION

Implementation date

for MEPS at point of

sale

Implementation

date for import

restriction* (Lamps

only, Australia only)

Products required to comply (exemptions terminated)

November 2009 November 2008

– GLS** (f)

– extra low voltage (ELV) halogen, non-reflector (f)

– CFL, non-reflector (f)

November 2010,

subject to annual

review

November 2009,

subject to annual

review

– >40w candle, fancy round & decorative lamps (i)

– Mains voltage halogen non-reflector (i)

– ELV halogen reflector (i)

– ELVC*** (f)

November 2011 November 2010 – CFL, reflector (f)

November 2012,

subject to annual

review

November 2011,

subject to annual

review

– Mains voltage reflector lamps, inc. halogen (i)

– >25w Candle fancy round & decorative lamps (i)

To be determined dependent on availability

of efficient replacement product – Pilot lamps and other lamps 25w and below (i)

Beyond 2015 – All incandescent lamps

Note:

(f) firm dates

(i) indicative dates. The schedule for terminating exemptions is indicative, based on current

information about when affordable and practical replacements will become available. Actual timing

will be reviewed on an annual basis with the benefit of up-to-date market and product analysis, and

in consultation with suppliers.

* The feasibility of import restrictions is the subject of ongoing investigations.

** General lighting service (GLS) lamps are the familiar non-reflector incandescent globes that

have been traditionally supplied to Australian markets with tungsten filaments and bayonet caps.

Table A.1 in appendix A describes the main types of lamp.

*** ELVCs will not be subject to an import restriction 12 months earlier.

3.1.4 Labelling and communications measures

Users would need to come to grips with new lighting technologies in the event that

conventional tungsten filament lamps are phased out. E3 proposes to assist users by

reforming labelling practices and conducting a communications campaign. E3 is currently

Consultation RIS: MEPS for certain lamps and low voltage converters

29

discussing labelling options with lamp suppliers and has more work to do on a proposed

communications campaign. But the broad elements, described here, are already clear.

Lamp labelling

As noted in section 1.4, suppliers have anticipated the needs of CFL buyers and provide

packaging information in terms of equivalence with tungsten filament lamps, for example,

that a 14 watt CFL provides the same light as a 60 watt tungsten filament lamp and lasts 6

times as long. While there is presentational variation between suppliers, the common

element is that tungsten filament lamps are used as ‘reference lamps’. Suppliers assume

familiarity with such lamps.

The transitional advantages of this approach are obvious: information is provided with

reference to familiar measures and technologies. But there are several problems.

o The reference point is variable, since the light output from a tungsten filament lamp

varies with the efficacy of the lamp.

o Comparative labelling with reference to tungsten filament lamps will become

increasingly irrelevant as tungsten filament lamps recede into history.

o A new convention may emerge, using CFL wattage to indicate light output.

Confusingly, it may coexist with the old convention.

o The diffusion and commercialisation of LEDs and other new lighting technologies

will confuse the situation even further.

E3 considers that, sooner or later, users will need technologically neutral information that

allows them to directly compare the light output from different lamps, rather than refer to a

growing list of equivalence scales for energy input. Specifically, they will need to

understand light output in terms of lumens and recognise wattage as a measure of energy

input that has a highly variable relationship with light output. This learning process will be

variously welcomed and resented in the short term but seems to be a necessary investment

if lamp labelling is not to become confused and dysfunctional in the longer term. North

American regulators have already adopted a technologically neutral approach and EU

regulators propose to do the same. Common elements of the US, Canadian and (proposed)

European schemes are that lamp packaging will include statements of:

o light output in lumens;

o energy used in wattage; and

o lamp life in hours.

A related issue is whether energy efficiency should also be indicated by means of a

comparative label. E3 has no preferred options at this stage. It would be preferable to adapt

the energy rating system that is well-established in Australia, and which is now widely

understood as ‘the more stars the better’. But, due to the costs associated with this label,

suppliers have strongly resisted the implementation of a comparative label that is not

identical to the European label, which grades lamps from G to A – see figure 3.3 below.

E3 considers that adoption of the European label would be confusing and costly, and has

not pursued this option.

Another option is to follow the North American lead and require the following further

statement.

To save energy costs, find the bulbs with the light output you need, then choose the

one with the lowest watts.

This is the next best option to providing comparative information on each package,

showing how the lamp compares with the best and worst in its class.

Consultation RIS: MEPS for certain lamps and low voltage converters

30

FIGURE 3.3 ENERGY LABELS IN AUSTRALIA AND EUROPE

Australian

energy label

European Union

energy label

E3 invites comment on the need to distinguish between light output and energy input on

lamp packaging and how best to provide standardised energy efficiency information.

E3 is also consulting with suppliers on the need to mandate the provision of other

information on lamp packaging, for example:

o whether the lamp is dimmable and the extent of compatibility with existing

luminaires (the light fitting)

o colour characteristics and performance characteristics like starting time, warm-up

time and lumen maintenance

o power factor and disposal methods

This more extensive information has been proposed for Europe, either on or with each

package. E3 invites comment on more extensive labelling requirements, but taking account

of the following matters:

o There is relatively limited space on lamp packaging.

o Suppliers are motivated to provide information that reduces the incidence of

customer dissatisfaction and product returns, for example, to warn that the product

is not dimmable or is incompatible with certain luminaires.

o Some types of information are technically complex and may need to be presented

in non-technical language, for example, colour characteristics reported as ‘soft

white’ or ‘cosy white’ rather than the colour correlation temperature.

o Variations in some performance characteristics would be reduced by the proposal

to regulate the performance of CFLs (table 3.1)

o E3 can also deal with these issues in its communications campaign.

Looking to the longer term, E3 also invites comment on whether the labelling scheme

should address the needs of a lighting market that may become more technologically active

and diverse, including LEDs with lighting qualities that are quite different to those now

available.

Restricted use of comparative ‘energy savings’ claims

The option of a ‘high efficiency’ MEPS for incandescent lamps has already been noted,

indicatively at 75% above the proposed MEPS. This would ensure that complying

Consultation RIS: MEPS for certain lamps and low voltage converters

31

incandescent lamps that remain in the market, which will be much less efficient than CFLs,

are not marketed as ‘energy savers’.

Communications campaign

E3 invites comment on the key messages and channels for the communications campaign.

Key messages

E3 is preparing fact sheets on a number of health and environmental issues that may cause

unwarranted concern for a minority of users. These are reproduced in draft form at

appendix A, and provide the following assurances:

o CFLs are not more likely to be a risk to people with photosensitive epilepsy than

other light bulbs.

o CFLs are unlikely to exacerbate a Lupus condition if general lighting has not

previously done so. The use of standard acrylic light covers or diffusers effectively

eliminates any risk.

o CFLs ‘flicker’ at a rate well above that detectable by the human brain and so should

not affect sufferers of Meniere’s disease or migraine headaches.

o Scientific investigation indicates that poisoning is almost impossible from exposure

to the very small amounts of mercury released by CFL breakages.

o Less mercury is released into the environment from the use of CFLs than

incandescent lamps.

Other tasks for the communications campaign include the provision of information about:

o how tungsten filament lamps and CFLs differ, particularly their performance with

dimmers, and any issues of comparative performance that users may need to be

aware of

o the continued availability of halogen incandescent lamps to users with particular

needs or preferences

o circumstances where the increase in energy efficiency is delivered as more light

rather than reduced electricity consumption

o the objectives and methods of the proposed regulations

Channels

A variety of communication channels are being considered, including information leaflets,

a 1300 phone service, point of sale displays and the use of intermediaries like lighting

designers, retailers and installers.

3.2 Alternative policy options

E3 has shortlisted the following options:

1. BAU Scenario including CPRS and other forms of non-specific greenhouse

abatement policy.

2. Option 1 plus MEPS, labelling and information measures that are specific to

incandescent lamps, CFLs and ELVCs.

3. Option 1 plus a subsidy for more efficient lamps and ELVCs.

4. Option 1 plus a tax on less efficient types of lamps and ELVCs.

5. Option 1 plus comparative energy labelling for lamps and ELVCs.

6. Option 1 plus an information campaign promoting more efficient lamps and

ELVCs.

Consultation RIS: MEPS for certain lamps and low voltage converters

32

E3 takes option 1 as the base case and is only concerned (a) whether options 2 to 6 deliver

net benefits relative to the base case, and (b) to identify which of options 2 to 6 provide the

greatest net benefits.

E3 has not developed measures to implement options 3 to 6 and this document does not

provide impact assessments for options 3 to 6. A basic question for stakeholders is whether

measures to implement options 3 to 6 should be fully developed and assessed before a

decision is made on whether to proceed with option 2. Please refer to the following

discussion of each option for a list of questions for stakeholders.

Stakeholders should note that labelling and information measures are included in option 2,

complementing MEPS. Options 5 and 6 are different in that they rely exclusively on

information and labelling measures and would not implement MEPS.

3.2.1 Subsidies for efficient lamps

Use of subsidies to promote energy efficient lighting

Other countries have subsidised the purchase of CFLs but such measures have been used

sparingly and for limited periods (IEA 2003: page 55). Similarly, subsidies in Australia

have been used as a one-off financial incentive to encourage people to try CFLs and create

a demonstration effect. Electricity retailers in Victoria, NSW and the ACT can earn credits

towards emissions and efficiency targets by installing CFLs.

Advantages and disadvantages

The main advantage of a financial subsidy is that it allows users with a particular

preference for an inefficient lamp to refuse the subsidy and retain their preferred lamp.

Reasons for refusing the subsidy could include infrequent use, costs of changeover or

aesthetic reasons. In contrast, MEPS reduce choice, denying particular product options

regardless of individual circumstances and preferences.

A subsidy program has the following disadvantages.

o It is desirable but administratively cumbersome and intrusive to limit payments to

those who would not otherwise have purchased the efficient lamps. Inevitably,

significant payments go to those who would have purchased efficient lamps

without the subsidy.

o Subsidies are regressive, that is, made disproportionately to those who have bigger

houses and more lights.

o Subsidies reduce the cost of lighting services and encourage people to install more

lamps.

o Subsidies would encourage unintended and possibly undesirable lamp substitutions,

for example, the substitution of compact for linear fluorescent lamps, creating a

demand to extend the subsidy to other energy-efficient technologies that are already

well-established in residential, commercial and industrial applications.

o Regardless of the merits of a particular subsidy program it is easy for others to

misrepresent its rationale and create demands for ‘me too’ policy measures that are

less sound. It is prudent to confine subsidies to situations where recipients need to

be compensated for some harm that has been done, or where the community needs

to encourage activities that provide a benefit to the community. Paying people to do

things that benefit themselves is not a good precedent.

o There is a risk of tacit collusion between suppliers to not pass on the full value of

the subsidy. Even the perception of such collusion would create demands for price

monitoring and cost reviews, which are not necessarily effective or conclusive.

o A subsidy program does not deal permanently with significant underlying issues,

such as the lack of feedback from electricity bills. A subsidy can also send an

unintended message that the subsidised product is not ‘value for money’. This

Consultation RIS: MEPS for certain lamps and low voltage converters

33

suggests that there would be significant backsliding if the subsidy is withdrawn, or

that it needs to be maintained indefinitely.

E3’s assessment of the subsidy option

It would be possible to subsidise the purchase of efficient lamps and set the rate of subsidy

at the level required to achieve any desired take-up of efficient lamps. An amount of $2.00-

$4.00/lamp would be enough to eliminate the price difference between tungsten filament

lamps and CFLs. The total cost of the subsidy would be of the order of $40-$80 million per

year, assuming that the subsidy would be paid on about 20 million units per year. There

may be significant consumer response to a smaller subsidy, for example, reducing the price

differential by half. The cost would be in the range $20-40 million per year.

E3 has short listed subsidies as a policy option but has not developed measures in this RIS

to implement the option, and has not consulted with suppliers about the scope and design

of such a program. E3 considers that the decision is sound but invites stakeholders to argue

a contrary point of view. They should address the following points in particular.

1. Although subsidies would cost taxpayers hundreds of millions of dollars over a

period of years, there would be uncertainty about the effectiveness over the longer

term. There is more certainty about the impact of MEPS.

2. The prudential requirements of an ongoing program that dispensed large amounts

of money would be administratively demanding, for example, in respect of auditing

and monitoring requirements.

3. The challenges of climate change will create significant new demands for financial

compensation and incentives, including compensation for genuine hardship. The

taxpayer’s willingness and capacity to provide subsidies is a scarce resource and

should be conserved.

4. The promotion of energy efficiency is plagued by international variation in

labelling and standards. Coordination of subsidy arrangements would be even more

difficult and, if adopted internationally, subsidies may create more confusion for

suppliers.

5. Suppliers regard subsidies as reversible and unreliable and would factor the

additional uncertainty into their product development plans.

6. The work needed to develop a subsidy program would significantly delay

implementation.

3.2.2 Taxes on inefficient lamps

Use of taxes to promote energy efficient lighting

There are no overseas examples of taxes or similar arrangements being applied for radical

energy efficiency objectives such as the phasing out of a particular technology. The use of

revenue-raising measures has generally been limited to schemes that hypothecate the

revenue to fund capital subsidies. For example, energy retailers may be obliged to

subsidise energy efficient appliances and recover the cost by increasing electricity charges.

Advantages and disadvantages

The main advantage of a tax is that it allows users with a particular preference for an

inefficient lamp to pay the required tax and retain their preferred lamp (i.e. purchasing the

usual GLS lamp). Reasons for refusal could include infrequent use, costs of changeover or

for aesthetic reasons. In contrast, MEPS reduce choice, denying particular product options

regardless of individual circumstances and preferences.

The disadvantage of the tax option is that, depending on the rate of tax, some users would

make ill-informed decisions to continue using inefficient lamps, not because they have a

particular preference but because they do not understand the value of the energy savings.

Consultation RIS: MEPS for certain lamps and low voltage converters

34

Otherwise, the taxation option has no significant disadvantages as an instrument of

economic policy.

E3’s assessment of the tax option

It would be possible to tax the purchase of inefficient lamps and set the rate of tax at the

level required to achieve any desired take-up of efficient lamps. A tax of $2.00-$4.00/lamp

would be enough to eliminate the price difference between tungsten filament lamps and

CFLs. Potentially, there would be significant consumer response to a smaller tax, for

example, reducing the price differential by half.

E3 has short listed taxes as a policy option but has not developed measures that would

implement the option, and has not consulted with suppliers about the scope and design of

such a program. E3 considers that the decision is sound but invites stakeholders to argue a

contrary point of view. They should address the following points in particular.

1. Suppliers regard tax measures as reversible and unreliable and would factor the

additional uncertainty into their product development plans.

2. The work needed to develop taxation measures would significantly delay

implementation.

3. There is more certainty about the impact of MEPS.

4. The use of product-specific taxes to promote energy efficiency raises the prospect

of multiple new taxes being introduced over a period of time. Proponents should

consider whether it is politically feasible.

3.2.3 Disendorsement label

Use of disendorsement labels to promote energy efficiency

A disendorsement label would be used to warn users that the lamp does not meet a

minimum standard of energy efficiency.

E3 are aware of two labelling schemes that include disendorsement measures, both in the

form of warning labels where products do not meet a minimum standard. Australia’s water

efficiency rating scheme requires products with less than zero stars to carry a warning that

they do not meet the minimum standard. Similarly, labelling used in Korea requires

selected appliances to carry a warning label if they do not satisfy the standby power

criteria.

Advantages and disadvantages

The main advantage of a disendorsement label is that it allows users with a particular

preference for an inefficient lamp to refuse the subsidy and retain their preferred lamp.

Reasons for refusing the subsidy could include infrequent use, costs of changeover or for

aesthetic reasons. In contrast, MEPS reduce choice, denying particular product options

regardless of individual circumstances and preferences.

However, disendorsement labelling is not a complete solution. It does not deal with split

incentives and, although it warns the user that there is a problem with a product, it also

requires them to gather more information and make further calculations to fully understand

the costs and benefits associated. As discussed in section 1.4, the information and

assessment requirements are reasonably demanding and beyond the problem-solving

capacities of many people. Some would select an inefficient product when a fully-informed

assessment favours the efficient product, while others would select the efficient product

when a fully-informed assessment favours the inefficient product. We cannot anticipate the

scale and mix of misjudgements.

On this last point, we note the findings derived from market research commissioned by the

AGO (Artcraft 2003). Artcraft found that although a majority of users would respond to a

disendorsement label, they differed about the degree of inefficiency that warrants a

Consultation RIS: MEPS for certain lamps and low voltage converters

35

warning label. However while most preferred stronger warning messages, some were then

puzzled as to why strongly disendorsed products were not simply banned. This suggests

considerable scope for variation in user interpretation of disendorsement labels.

The Productivity Commission interpreted the same research more favourably.

Many participants in that consumer research considered the tested warning labels

to be extreme, and questioned why such appliances would be allowed to be sold

(Artcraft 2003). This suggests that disendorsement labels would discourage most

consumers from buying the least energy-efficient appliances, and so have a similar

effect to a mandatory standard that removed those appliances from the market.

However, a key difference is that disendorsement labels would not prevent a

consumer from buying a less efficient appliance when that is the most cost-effective

option for them, or they have a strong preference to buy such an appliance.

Therefore, disendorsement labels are less likely to force individuals to forgo

product features they value more highly than energy efficiency, remove products

from the market that are more cost effective for some individuals, and to have

regressive distributional impacts. (PC 2005: page 203)

The other main concern for E3 is that major suppliers have strongly resisted

disendorsement labelling, indicating they would not supply products associated with a

warning label because it could damage their reputation and reduce the value of goodwill.

The reputation of suppliers has a significant impact on the efficient operation of markets,

providing the informal equivalent of a bond or warranty for product quality. Users rely on

brand names for reassurance about product quality that cannot be confidently assessed at

the time of purchase, for example, that a durable product will provide reliable service over

many years and maintenance costs will not be excessive. It follows from this consideration

that users with a preference for energy inefficient products cannot have both the

performance and reduced cost characteristics that are associated with low energy efficiency

plus the quality assurances that are associated with premium branded products. It is

reasonable to be concerned that the effective exclusion of major brands from the supply of

less efficient products will further reduce the quality of products in this market,

particularly operating life and energy efficiency.

E3’s assessment of disendorsement labels

Taking into account the above, disendorsement labelling has not been short listed as a

policy option that should be developed and assessed in detail. E3 invites stakeholders to

argue a contrary point of view but asks that the following concerns be addressed.

1. There is not a sufficient basis to proceed with confidence, particularly if reputable

brands withdraw from the market for disendorsed products. There is more certainty

about the impact of MEPS.

2. The work needed to develop disendorsement options would significantly delay

implementation.

3.2.4 Comparative energy labelling

Use of labels to promote energy efficient lighting

IEA (2006 page 310) reports that some form of energy labelling for lamps is mandatory in

Canada, China, EU, Japan, Korea, Norway, Switzerland and USA. A number of these

countries now propose to introduce MEPS.

Advantages and disadvantages

The main advantage of a comparative label is that it allows users to make informed

assessments of the relative costs and benefits of different lamps and select an inefficient

lamp if, on balance, it is the preferred option. In contrast, MEPS reduce choice, denying

particular product options regardless of individual circumstances and preferences.

Consultation RIS: MEPS for certain lamps and low voltage converters

36

Labelling is not a complete solution. Although it alerts the user to the energy consumption

of different products, it also requires the user to gather more information and make further

calculations to fully understand the pros and cons. As discussed in section 1.4, the

information and assessment requirements are reasonably demanding and are beyond the

problem-solving capacities of many people. Importantly, the user needs to confidently

make calculations that justify payment of a significant price premium.

Comparative labelling does not deal with the problem of split incentives.

Evidence on the effectiveness of labelling

United States

Energy labelling of major household appliances has been mandatory in the US since 1979

and a modified form of labelling was extended to household lamps in 199413. Consumer

surveys have found that 70% of Americans know about the appliance label but that only

half can describe a pertinent aspect of the label (Opinion Dynamics 2000). The empirical

evidence on the impact of this program has been reviewed recently (Banerjee et al 2003,

Gillingham et al 2006), with the following results.

o There is little published analysis of labelling effectiveness in the US.

o There is evidence that, in the presence of labelling, energy-saving innovation is

more responsive to higher energy prices. This evidence is for two appliances with

significant energy costs, air-conditioners and gas water heaters (Newell et al 1999).

o Various aspects of the program have been criticised, including that (a) the label is

unattractive and the information is poorly organised, (b) it uses technical language,

(c) it does not use a star rating or similar indicator of broad product categories, and

(d) there is widespread non-compliance with the labelling requirements.

On the basis of extended work with focus groups regarding the purchase of CFLs that

qualified for the ENERGY STAR label, the Lighting Research Centre (LRC 2003) found

that users give little attention to lamp labelling information.

Though many of the participants noted that energy savings and environmental

concerns are important factors in their purchases, they do not consider these

effects when purchasing lamps for their homes. They believe that switching off

lights will have a greater effect than choice of lamp. Most shoppers don’t spend

time comparing lamp products and studying the packaging details other than to

look for the wattage and colour … Although the package contains valuable

information, consumers do not read the packaging or note the listed benefits. (LRC

2003: page 20)

Europe

In 1992, the European Union initiated energy labelling and steadily expanded its appliance

coverage over the subsequent decade, including the labelling of household lamps from

1998. The European Commission is currently reviewing these arrangements and, as part of

the process, commissioned an impact study that included a review of evidence on the

impact of the existing energy labelling schemes and the collation of stakeholder feedback

via interviews, meetings and an on-line facility (Europe Economics et al 2007). The main

findings are:

o There is general agreement that labelling is a positive policy tool, including

agreement by manufacturers and retailers.

o There has been a noticeable and well-documented improvement in the efficiency of

whitegoods since labelling was first implemented in 1992. Additional categories

were added to the rating scale (A+ and A++) as more efficient appliances emerged.

13 As discussed in section 3.1.4, lamp packages must list light output (lumens), energy input (watts) and lamp

life (hours), and make the statement “To save energy costs, find the bulbs with the light output that you need

and, then choose the one with the lowest watts”.

Consultation RIS: MEPS for certain lamps and low voltage converters

37

o There has been much less improvement in the efficiency of household lamps.

Stakeholders said that the lamp label is less effective because the label is smaller

and different to the appliance label, and energy-conscious users already know that

the CFL is an energy saver. Whereas they need to examine the labels on fridges and

washing machines, they immediately associate CFLs with saving energy and can

ignore the lamp label.

A recent UK survey tested household understanding of a range of energy efficiency

measures, including CFLs (Oxera 2006). The researchers found that respondents had a

reasonably good grasp of the cost of CFLs but were less certain about their durability and

the money saved. Purchasing decisions were mainly influenced by price, attitude to

labelling and lamp life. ‘Receipt of advice’ was rated as a minor influence and ‘cost

savings’ were rated as a very minor influence. Importantly, lamps in the UK have been

subject to the EU energy labelling requirements since 1998.

Australia

Appliance labelling was introduced progressively through the 1980s and an early review

(GWA 1991) reported contemporaneous developments in the energy efficiency of

refrigerators and freezers, air conditioners, dishwashers, clothes washers, gas water heaters

and gas heaters. GWA documents the following response to labelling:

o a surge in measures of average energy efficiency, including disproportionate

response from suppliers that were more dependant on the Australian sales,

particularly domestic manufacturers

o disproportionate retirement of the least efficient models and introduction of high

efficiency models

o a series of marginal product improvements to qualify for the next level of star

rating

In a later review (Wilkenfeld 1997), the same author estimated that labelling had reduced

the energy consumption of labelled appliances by an average of 11%, with larger gains for

dishwashers (16%) and for refrigerator and freezers (12%)14.

It is also well-documented that a large majority of Australians recognise and understand

the label, and to various degrees factor energy ratings into their purchase decisions. The

most recent review commissioned by E3 found that:

... The energy rating label is almost universally recognised with 94% of consumers

Australia wide being able to recall it unaided, rising to 96% when prompted.

...Seventy five per cent ... of consumers regard the energy rating label as important

in the appliance purchasing process ... (Artcraft 2006: page 1).

There is no evidence suggesting that energy labelling of lamps would be any more

effective in Australia than overseas. Some lamps are sold in Australian with the European

label but there is no reason to expect that they have had an appreciable impact. The label

design is unfamiliar to Australians and, as noted, appears to have had little effect even in

Europe.

Can labelling be made more effective?

Regulators periodically review and modify labelling arrangements, asking basic questions

about the information that should be included on the label and how it should be presented.

This may include re-consideration of the choice between categorical and continuous

labelling. Figure 3.4 illustrates the difference. Categorical labelling involves the

assignment of appliances to energy efficiency categories that are ranked, for example, from

one star to six stars in the Australian scheme. A continuous label reports a measure of

14 Quoted by du Pont 1998: page 2-18.

Consultation RIS: MEPS for certain lamps and low voltage converters

38

energy use, such as annual energy use (kWh/year) or annual energy cost ($/year), and

locates that amount on a linear scale that ranges from the most efficient appliance of that

kind to the least efficient appliance of that kind.

FIGURE 3.4 EXAMPLES OF CATEGORICAL AND CONTINUOUS LABELLING

CATEGORICAL

Australian

energy label

CONTINUOUS

New US energy label

Labelling has recently been reviewed in the United States (US), Europe and Australia.

United States

The review conducted by the US Federal Trade Commission (FTC 2007) resulted in

retention of the continuous labelling approach but a redesigned label that gives more

prominence to energy cost and demotes information about energy use to secondary status –

see figure 3.4. However, the FTC decided that it was not always feasible to provide

information about energy cost, because of space limitations or where the variation in cost

conditions is such that an average figure for energy cost is misleading. Energy labelling

was therefore retained for some appliances, including household lamps.

Very recently, however, FTC reopened the issue of lamp labelling and will reconsider

options for providing information about energy costs. Consultations were in progress at the

time of writing and a decision is expected to be announced in 2009.

Europe

The work undertaken for the European Commission’s labelling review, which is also

incomplete, included asking stakeholders whether the label should provide more or

different information (Europe Economics et al 2007). The key findings were that15:

o The process elicited suggestions that the European label include information about

operating costs, greenhouse emissions and other aspects of environmental impact.

o These seems to have been no disagreement that information on operating costs is

desirable by general agreement that there was no practical options for dealing with

differences in fuels costs between countries and changes in fuel costs over time.

While the initial stakeholder interviews elicited support from almost 50% of

stakeholders, subsequent on-line submissions and the final consultation meeting

effectively rejected the suggestion.

15 The consultation documents are published at:

http://ec.europa.eu/energy/demand/legislation/domestic_en.htm

Operating cost

given prominence in

the new US label,

using a continuous

scale

Energy use

demoted to

secondary status

Consultation RIS: MEPS for certain lamps and low voltage converters

39

o There was also some initial support for information about emissions but, again,

recognition that there are practical difficulties in dealing with variation in the

emissions intensity of fuels. Again, subsequent on-line submissions and the final

consultation meeting effectively rejected the suggestion.

o There was also some concern that additional information, by making the label more

complex, would discourage use of the label.

o Of the broad types of reform that were considered, stakeholders assigned the lowest

priority to the provision of additional information.

Australia

The option of giving prominence to energy cost was discussed and rejected in early

debates about the design of the appliance label, about 20 years ago, and has not been given

serious consideration since. It was considered that a prominent categorical rating (energy

stars) would be effective and would avoid the complications associated with variation in

marginal tariffs and appliance usage.

E3 is aware of the need for information about operating cost. Specifically, the most recent

review reported that:

In response to a series of prompted questions, more than three in five people (62%)

say that they would like to have access to a tool or calculator which would help

them to compare the extent to which different types of appliances were contributing

to their overall household energy bills, and around half would like to have access

to a tool or calculator which would help you to compare the running costs (48%)

and/or the amount of energy used (52%) and/or the greenhouse emissions (52%) of

different appliance models. (Artcraft 2006: page 51)

These tools are currently provided on the E3 website for all labelled appliances16. Users

can obtain customised estimates of energy costs that are based on user-supplied settings for

marginal tariffs and annual operating hours.

E3’s assessment of labelling reform only

As in section 3.1.4, E3 proposes to reform the energy labelling arrangements for lamps,

including the provision of information that would allow users to identify lamps with the

same light output and compare their energy consumption. The issue here is whether

‘labelling reform only’ should be shortlisted as an alternative to the proposed combination

of MEPS and labelling reform.

E3 considers that, based on domestic and international experience with energy labelling, it

cannot confidently recommend any configuration of lamp labelling that will adequately

address the impediments to energy efficiency in lighting tasks, to the point where the

proposed MEPS should be delayed or abandoned. This view is based on the following

considerations.

1. Mandatory labelling requirements need to have a measured, sober and informative

tone, avoiding the loud or snappy ‘dollar dazzler’ approaches that are sometimes

adopted in commercial marketing. As they see fit, suppliers can and do use normal

commercial advertising practices to draw attention to favourable energy ratings.

2. There is no evidence that lamp labelling in the US and Europe has been a useful

policy tool.

3. The provision of energy cost information on labels is desirable in principal but

problematic in practice. It aims to provide users with ready-made cost comparisons

but inevitably averages across users who face different marginal tariffs, and have

different patterns of use. Users may be well advised to interpret the comparative

16 see http://www.energyrating.gov.au/appsearch/default.asp

Consultation RIS: MEPS for certain lamps and low voltage converters

40

energy cost as an indicator of relative efficiency rather than an estimate of actual

dollar savings, which is the job that the star rating already does well.

4. Much of what is ‘known’ about labelling is based on what people tell interviewers

about their appliance purchasing behaviour and the information that they use or

would like to have. This is not necessarily a reliable account of actual user

behaviour and it is debatable whether we know enough about user behaviour to

confidently reform labelling programs that are not obviously faulty. In particular:

o We do not know the extent to which users can and would use energy cost

information to calculate the lifecycle cost of appliances, rather than simply

reinterpret the information as a categorical indicator of energy efficiency.

o We do know that categorical rating is the most widely used form of

labelling and, compared with continuous rating, is less prone to

misinterpretation and elicits stronger responses from users (Egan et al

2005). A salutary research finding is that a large minority of users (32%)

interpreted the dollar value on the first US label as the value of energy

savings rather than the energy cost, reversing the intended message (du Pont

1998: page 7-6). du Pont documents a number of other idiosyncratic

interpretations of labelling information, including by well-educated

professionals.

o Users make errors when interpreting label information and the error rate

increases during the transition to a new label. Based on the US experience,

the old and new labels can co-exist for several years.

5. All of the problems associated with cost labelling are exacerbated when applied to

lamps. There is much less space on lamp packaging: they are largely distributed

through grocery stores without in-store assistance to interpret labelling information;

they are not major purchases of the kind that motivate inspection of labels; users

don’t need to look at the label to know that CFLs are energy savers.

6. For the immediate future there are competing information priorities on lamp

packaging, specifically, to familiarise users with lumens as a measure of lamp

output, re-establish wattage as a measure of energy input, and emphasise the very

large differences in operating life.

7. The work needed to develop labelling options would significantly delay

implementation. Relevant considerations are that:

o It is confusing for users to have energy rating information presented in

different formats on different appliances. Hence, giving prominence to

energy costs is a decision that needs to be made at the program level, not on

a product-by-product basis. E3 has reviewed labelling periodically, most

recently in 2003 and 2006, and may further examine options for cost

labelling at the next review.

o Suppliers have strong views about labelling measures and, based on past

experience, there is no prospect that energy labelling arrangements can be

quickly reformed.

8. There is every prospect that ‘labelling reform only’ would be judged ineffective

after a suitably lengthy trial, possibly five years, and the delayed implementation of

MEPS would be strongly regretted.

E3 has shortlisted ‘labelling reform only’ as a policy option but has neither developed such

an option nor consulted systematically with suppliers about such an option. Consequently,

this consultation RIS does not provide a detailed assessment of ‘labelling reform only’. E3

invites stakeholders to argue the case for fully developing this option but asks that

proponents address the apparent lack of evidence for effectiveness and the delays that

would result.

Consultation RIS: MEPS for certain lamps and low voltage converters

41

3.2.5 Information campaigns

Use of information campaigns to promote energy-efficient lighting

Information and awareness initiatives are the easiest and earliest policy responses to

address energy related issues and have a history that dates back to the energy crises of the

1970s. Internationally, there are numerous programs, addressing a range of market barriers

to the adoption of CFLs, for example:

o user awareness and knowledge of CFLs

o user fears and misperceptions about CFL performance,

o user scepticism about the amount and value of energy savings and the

environmental benefits

o lack of awareness and misinformation amongst retailers, lighting department

managers, builders and contractors

o lack of technical information and guidelines for designers and specifiers

IEA lists the following examples of straightforward information and awareness activities in

its review of policies for energy-efficient lighting (IEA 2006: chapter 5).

o Japan – provision of Energy Conservation Performance Catalogues through

retailers, including lists of energy-efficient lighting fixtures

o Japan – awards for the winners of design competitions, including for improved

fluorescent lamps

o Canada – information on lighting efficiency through the EnerGuide for Industry

website

The IEA list is far from exhaustive. In Australia, for example, DEWHA provides website

resources that promote energy efficient lighting in the context of comprehensive guidance

on how to achieve energy efficiency in homes and commercial buildings17. It is reasonable

to expect that these promotional activities are provided in a range of other countries that

have seriously responded to the challenges of climate change.

The definition of ‘information measures’ can be expanded to include (a) product

certification and endorsement schemes that aim to reassure users that unfamiliar products

meet minimum standards of energy efficiency or quality, (b) product initiation schemes

such as CFL give-aways and rebates, designed to encourage users to experiment with

unfamiliar lighting products and ‘acquire information’ about their performance first hand,

and (c) voluntary programs to establish awareness of energy-efficiency and initiate new

practices.

As noted in section 3.2.1, subsidy-like arrangements are used in Australia as once-off

inducements to encourage people to try CFLs. The proposed MEPS for CFLs mandate

certification.

Advantages and disadvantages

The main advantage of information-based measures is that they allow users with a

particular preference for an inefficient lamp – because of infrequent use, cost of

changeover or for aesthetic reasons – to consider the negative aspects of the lamp but still

buy the lamp if, on balance, it is the preferred option. In contrast, MEPS reduce choice,

denying particular product options regardless of individual circumstances and preferences.

The main disadvantages of information campaigns are the difficulty and uncertainty of

achieving a lasting effect. Consider that:

17 See http://www.environment.gov.au/settlements/energyefficiency/buildings/ &

http://www.environment.gov.au/settlements/energyefficiency/index.html

Consultation RIS: MEPS for certain lamps and low voltage converters

42

o For good reasons, people ignore most of the information that is directed at them

from numerous sources, leaving limited opportunities to get their attention.

Exploitation of those limited opportunities requires marketing and communications

expertise of a high order. It is generally necessary to co-opt organisations with

marketing skills, such as energy and appliance retailers.

o Awareness and promotional activities only have a limited effect to establish new

practices and norms, such as the adoption of industry guidelines or periodic

auditing routines, or a habit of using endorsed products only. The awareness and

promotional phase cannot be maintained indefinitely due to the large operational

costs involved.

Evidence on the effectiveness of information campaigns

It is normal for information programs to claim a degree of success, but often only in terms

of participation in the activity. It is difficult to find evidence of lasting effects. The

following examples are from the IEA review (IEA 2006: chapter 5) and limited follow-up

of those leads.

o The Top Ten program is popular with suppliers and attracted 15% of Switzerland’s

population to its website in 2005. But there is no quantitative assessment of

impacts.

o The claims made on behalf of the Change a Light, Change the World program are

trivial, possibly contributing about 15,000 tonnes CO2-e/year to abatement in the

US.

o The Green Lights programs in the US, Europe and China have been judged a

success. For example, it is credited with the phasing out of magnetic ballasts for

fluorescent lamps in commercial buildings.

o Denmark’s A-club has recruited 150 public housing associations and local

governments that represent 250,000 households.

o The combination of promotional activity with either CFL give-aways or rebates is

typically assessed as cost effective. However, these assessments relate only to the

initial impact and provide no information about enduring impacts on lamp

purchasing behaviour. It is reasonable to suspect that there is significant

backsliding after such programs are terminated.

A recent report by the Pacific Northwest National Laboratory (PNNL 2006) provides a

more detailed analysis of the US experience with promotional and awareness efforts to

increase the market acceptance of CFLs, which began in the late 1980s. A key finding is

that little has been achieved. Nationally, CFLs accounted for only 1.6% of the installed

stock in 2002. There was considerable variation between states, depending on their

exposure to high electricity prices and the promotional efforts of utilities. There are lessons

for the ‘promotion & rebate’ programs that are currently employed in Australia. In essence,

PNNL says that programs must work with organisational and market structures that

already exist and will endure, and avoid using artificial structures and creations that will

not endure (PNNL 2006: page iv-v). For example:

o Don’t rely on CFL give-aways that bypass normal distribution channels or

undermine retail sales.

o Avoid give-aways that obscure the retail price, leading to ‘sticker shock’ when the

user returns for a repeat purchase.

o Require some action on the part of the user, if only to mail in a request card.

o Involve, educate and motivate the retailers, since it is their marketing behaviour

that endures beyond the promotion and awareness phase.

o Invest in attractive point-of-sale displays that will endure beyond the promotion

and awareness phase.

Consultation RIS: MEPS for certain lamps and low voltage converters

43

It is apparent that the task is difficult and, unfortunately, there is no evidence that even the

best-designed programs have had more than limited success. PNNL says that the market

share of CFLs stabilised at 5-8% in even the most successful US region, the Pacific

Northwest.

E3’s assessment of information campaigns

The broad lesson that we draw from this evidence is that information-based programs have

enduring effects only when they succeed in grafting new practices and norms onto preexisting

structures. Larger organisations, including large commercial organisations, are

attractive targets precisely because they are highly structured. They devise rules and

procedures to govern their operations and have some organisational machinery to monitor

and enforce those rules. There is a sense in which they ‘self-MEPS’, that is, they have a

capacity for formulating their own performance standards, such as specifying the use of

electronic ballasts and endorsed light fittings and lamps.

We have found no evidence that activities promoting efficient lighting have lasting effects

on decision-making units that don’t have a significant degree of organisational structure,

including households and smaller businesses. Denmark’s A-club is not an exception to the

rule. Consider that the A-club piggy-backs on pre-existing structures (public housing

associations) that have an organisational capacity to maintain the procurement program.

Promotional and awareness activities may succeed where a small unit is contemplating a

major expense and is giving more than usual attention to value for money, such as a home

renovation or the design and purchase of a new house. Website resources may usefully

inform such large and infrequent transactions but it seems unreasonable to assume that

they would inform the day-to-day purchase of light bulbs.

These are generalisations and some proportion of households and businesses would be

exceptions to the rule.

E3 considers that, based on domestic and international experience with information

campaigns, it cannot confidently recommend any promotional or awareness activities that

will adequately address the impediments to energy efficiency in lighting tasks, to the point

where the proposed MEPS should be delayed or abandoned. The last 30 years of energy

saving effort provides no evidence that a well-designed information campaign would

deliver more than a fraction of the savings that can be achieved with MEPS.

E3 has shortlisted ‘information only’ as a policy option but has neither developed such an

option nor consulted systematically with suppliers about such an option. Consequently, this

consultation RIS does not provide a detailed assessment of information campaigns. E3

however, invites stakeholders to argue the case for fully developing this option but asks

that proponents address the apparent lack of evidence of effectiveness and the delays that

would result. E3 recognises that an information campaign will however be an important

supportive element for the proposed option.

3.2.6 Complete phasing out of incandescent lamps

E3 initially proposed more stringent MEPS for incandescent lamps that, after some delay,

would have the practical effect of phasing out most tungsten halogen lamps as well as all

tungsten filament lamps. This would have required wholesale replacement of incandescent

lamps with CFLs. E3 subsequently identified all of the product performance issues that

would arise and found that there were a number of matters that could only be resolved by

substantially revising the proposal.

Product performance issues that were dealt with by revising the proposal

We emphasise that the following discussion relates to the original proposal and should be

read with that in mind. E3’s revised proposal is to substantially neutralise these concerns

Consultation RIS: MEPS for certain lamps and low voltage converters

44

by setting the MEPS at a level that allows the continued use of the more efficient types of

incandescent lamps. E3 will also use labelling and communications measures to minimise

the potential for inconvenience, frustration and poor product selection.

1. Inherent issues relating to the quality of surface illumination

(a) Colour appearance of the illuminated surface: Objects look ‘natural’ in the

light of an incandescent lamp, as though illuminated by sunlight, but can

look odd under fluorescent lighting, depending on the quality of the lamp.

On a scale of 1 to 100, with sunlight at 100 and most incandescent lamps

close to 100, recent generations of fluorescent technologies are in the range

70-95 and compact fluorescent lamps are in the range 82-8518. We

understand that there is little evidence that people make fine distinctions

based on this score and that there are no strong preferences over scores

between 80 and 100 (IEA 2006: page 84). E3 proposes a minimum score of

80 for CFLs. This issue was rated as MINOR under the original proposal

and will be further reduced by the continued availability of incandescent

lamps under the revised proposal.

(b) Lumen depreciation: Both incandescent and fluorescent lamps suffer from

lumen depreciation, which is a reduction in lighting power over the life of

the lamp. The rate of depreciation is higher for fluorescent lamps, with

losses in the range 10-20% at average lamp life. E3 proposes a maximum of

20% lumen depreciation for CFLs at 5,000 hours. The issue was rated as

MINOR under the original proposal and will be further reduced by the

continued availability of incandescent lamps under the revised proposal.

(c) Spotlighting and downlighting of the illuminated surface: A light source is

more easily directed if it has been reduced to a point of light, and that is the

particular attraction of ELV tungsten halogen lamps. It is more difficult to

collect and control the light from the relatively large tubes of fluorescent

lamps. They are not generally used for spotlighting retail displays, artworks

and other ‘features’ of that kind. Putting aside legacy issues, there seem to

be three future options for more energy-efficiency spotlighting and

downlighting. None is entirely convincing at this stage and, under the

original proposal, there would have been MODERATE losses of lighting

quality in these applications.

i. Suppliers have developed a ELV tungsten halogen lamp that uses an

infra-red coating (IRC) to capture what would otherwise be waste

heat and reduce the amount of electricity needed to keep the lamp at

operating temperature. Some have claimed efficacy of

25lumens/watt. This is less than one third of the efficacy of CFLs

but about 67% higher than ELV tungsten halogen lamps without the

infra-red coating.

ii. Suppliers have introduced CFL lamps of super compact design for

downlighting, including products that directly replace ELV lamps.

While likely to become a suitable replacement for most domestic

downlights used for general lighting, they provide significantly less

control over the ‘spot’.

iii. Light emitting diode (LED) lamps will perform the task but it is

uncertain when they will be available at reasonable cost. They

operate on low voltage power and require an ELVC.

Concerns about the adequacy of these replacements are negated by the

continued availability of ELV lamps under the revised proposal.

18 The colour rendering index (CRI) is the metric used to measure this aspect of a lamp’s

performance. (IEA 2006: page 106)

Consultation RIS: MEPS for certain lamps and low voltage converters

45

(d) Flicker: Flickering is a problem associated with fluorescent lights on

magnetic ballasts. These problems have been overcome by high frequency

ballasts using electronics (IEA 2006: page 122). This issue is rated at NIL,

even under the original proposal.

(e) Effectiveness under extreme conditions: Fluorescent lamps are generally

less effective under extremes of heat and cold. HID lamps would fill the

gap under the original proposal: they have an efficacy comparable to

fluorescent lamps. This issue was rated as MINOR under the original

proposal and is negated by the continued availability of incandescent lamps

under the revised proposal.

(f) Dimmers: The legacy issues relating to dimmers are discussed at item 3(c)

in this list. Putting those issues aside, and given sufficient time, suppliers

are confident that dimmable CFLs will be available at reasonable cost.

There is some work to be done on standards for dimmers and CFL to ensure

that, in future, all dimmers are compatible with all dimmable CFLs.

Dimmable CFLs have the compensating feature of maintaining their

efficacy at less then full power, whereas the efficacy of incandescent lamps

falls significantly as the power is reduced. This issue was rated as NIL

under the original proposal, provided sufficient time for product

development is allowed. The problem is eliminated by the continued

availability of tungsten halogen lamps under the revised proposal.

(g) Start-up and warm-up times: Whereas incandescent lamps provide ‘service

on demand’, fluorescent lamps can take a noticeable amount of time to start

and may not reach full power for one or two minutes. E3 proposes a

maximum start-up time 2 seconds for CFLs and expects most CFLs to have

a start-up time of no more than 1 second. The maximum warm-up time is 1

minute. High quality CFLs with electronic ballasts will perform adequately

and these issues are rated as NIL, even under the original proposal.

2. Inherent issues relating to qualities of the lamp

(a) Colour appearance of the light: People also have preferences for the colour

appearance of the light from a lamp19, that is, what is seen when one looks

directly at the light source or experiences glare from the light source.

Lighting designers aim for the natural look of sunlight, which varies with

latitude, season and time of day. Historically, fluorescent lamps have

provided a ‘cool white’ look that is more acceptable closer to the equator

and incandescent lamps have provided a warm look that is more acceptable

closer to the poles (2006: page 106). This may be a factor in the higher

penetration of fluorescent lamps in Queensland and the Northern Territory.

More recently, fluorescent lamps have also become available in the ‘warm’

look. This issue was therefore rated as MINOR under the original proposal

and is further reduced by the continued availability of incandescent lamps

under the revised proposal.

(b) Lighting effects: Chandeliers sparkle when illuminated by tungsten filament

lamps but do not when replaced by a CFL. The same effect is exhibited

when viewing diamonds. This is caused by the size of the light source

which means future LED designs could give the same effect. This issue

was rated as MINOR under the original proposal and is eliminated by the

continued availability of incandescent lamps under the revised proposal.

(c) Reduced life when operated outdoors: Fluorescent lamps are susceptible to

humidity but linear fluorescent lamps have been used in street-lighting

applications for many years and CFLs are being introduced to the same

19 The correlated colour temperature (CCT) is the metric used to measure this aspect of a lamp’s

performance. It is reported in degrees Kelvin and is relates to the chromaticity of a black body heated to that

temperature. (IEA 2006: page 106)

Consultation RIS: MEPS for certain lamps and low voltage converters

46

market. Lamps suitable for outdoor operation would be available under the

original proposal but would require more careful selection. This issue was

therefore rated as MINOR under the original proposal and is further

reduced by the continued availability of incandescent lamps under the

revised proposal.

(d) Appearance of lamps: CFLs can look odd or ugly in comparison to the

traditional globe, particularly in situations where a decorative lamp (fancy

round or candle shape) is currently used. This is moderated somewhat by

products that hide the tubes in a globe with the traditional appearance. This

issue was rated as MINOR under the original proposal and is eliminated by

the continued availability of incandescent lamps under the revised proposal.

3. Legacy issues relating to the compatibility of new lamps with old fittings and

circuits

(a) Compatibility with existing luminaires and fittings: Users have sometimes

been unable to acquire CFLs that will fit into existing luminaires and

fittings, mostly because the base of a CFL contains a ballast that makes the

lamp somewhat bulkier. Suppliers now say that the range of CFL products

has improved greatly, to the point where the products required for the vast

majority of applications will be readily available in supermarkets. Any

residual inconvenience and frustration would have been MINOR under the

original proposal and is eliminated by the continued availability of

incandescent lamps under the revised proposal.

(b) Compatibility with existing lighting control sensors: A range of sensors are

used to control lights, turning them off and on in response to time, motion,

occupancy, daylight or touch. A wiring configuration that is commonly

used in Australia is such that the sensor only receives a partial power

supply, which means that power is available to the lamp when, notionally,

the sensor has turned the lamp off. Some CFLs are known to have flashed

intermittently under these circumstances and to fail quickly. Other CFLs

appear to interfere with the operation of the sensor. It appears that not all

CFLs suffer from these problems but further testing would be needed to

understand the full range of adverse outcomes. The possible solution is to

amend the CFL standard to ensure that CFLs are designed to protect

themselves from the ‘off current’ and to otherwise operate harmoniously

with sensors. Some legacy users may need to replace sensors or to partially

rewire to provide full supply to sensors. This issue is rated as a

MODERATE under the original proposal, but confined to a relatively small

number of users and eliminated by the continued availability of

incandescent lamps under the revised proposal.

(c) Compatibility with existing ELVCs and low voltage circuits: The options

for replacing ELV halogen downlights have improved somewhat. The

situation is that:

i. LEDs will operate on existing ELVCs but it is uncertain when they

will be available at reasonable cost.

ii. Suppliers may to develop an IRC lamp with a slightly higher voltage

– 14 volts rather than 12 volts – in order to operate effectively on

existing 50 watt ELVCs.

iii. Compact CFLs that operate with existing ELVC are now coming

into the market.

This issue presented a MODERATE difficulty under the original proposal

but is eliminated by the continued availability of incandescent lamps under

the revised proposal.

Consultation RIS: MEPS for certain lamps and low voltage converters

47

E3 considers that this long list is neutralised by setting the MEPS at a level that allows

continued use of the more efficient types of incandescent lamp. This avoids the potentially

large costs associated with the rewiring of lighting circuits and the premature replacement

of lighting controls, luminaires (lamp housing) and other lamp holders and fittings, and the

ELVCs used with ELV lamps.

Uncertainty about one remaining issue of product performance

There is uncertainty about one remaining issue of product performance. It is also a legacy

issue concerning dimmers and wiring configurations that put the dimmer control and the

lamp on the same circuit. We have been told that existing dimmers can be damaged when

the tungsten filament lamps are replaced either by CFLs or MV tungsten halogen lamps,

which are the only options that are certain to be available when tungsten filament lamps

are phased out.

Further discussion of this issue is deferred to the impact analysis – see section 4.5.

E3’s assessment of the MEPS that require complete phasing out of incandescent

lamps

E3 has not shortlisted the complete phasing out of incandescent lamps as a policy option

that should be developed and assessed in detail. E3 invites stakeholders to argue a contrary

point of view but asks that the following concerns be addressed.

1. A complete phase-out would require the premature scrapping of existing lighting

assets, especially dimmers and low voltage circuitry. This is a significant but

unknown cost.

2. There would be a demand for financial compensation and the work needed to

devise and assess such measures would significantly delay implementation.

Consultation RIS: MEPS for certain lamps and low voltage converters

48

4 Impact analysis

The measures are assumed to apply during the 12 year period from 2009 to 2020, but with

cumulative impacts as product exemptions are terminated and non-complying lamps are

replaced. This chapter reports impacts at each stage in the process by which abatement is

achieved.

4.1 Cost to the taxpayer

Table 4.1 provides estimates for the incremental cost of including incandescent lamps in

the E3 Program, which is taxpayer funded. The E3 Program estimates that, in the period to

imposition of MEPS at the point of sale, in November 2009, it will have spent almost $3.4

million to develop and assess the proposals. Total expenses to 2020 are $9.2 million and

have a present value of $7.8 million.

TABLE 4.1 COST TO TAXPAYERS OF INCLUDING INCANDESCENT LAMPS IN THE E3

PROGRAM ($A)

Cumulative

total to 2009

($)

Annually,

2010-2014

($/year)

Annually,

2015-2020

($/year)

Program administration $1,230,000 $300,000 $120,000

Government/industry steering committee $10,000 $10,000 $10,000

Standards development $500,000 $10,000 $0

Product testing $500,000 $200,000 $50,000

Product and market analysis $100,000 $50,000 $0

Publications & communications $1,000,000 $350,000 $2,000

Impact assessment $100,000 $10,000 $10,000

Total $3,440,000 $930,000 $192,000

4.2 Business compliance costs

The Council of Australian Government (COAG) requires that impact statements provide

estimates of the administrative and paperwork costs incurred by a business in meeting

regulatory requirements, defined as follows:

o Notification: costs of reporting transactions before or after the event

o Education: maintaining awareness of regulations and regulatory changes

o Permission: applying for and obtaining permission

o Purchases: materials and equipment required for compliance

o Record keeping: keeping statutory documents up-to-date

o Enforcement: facilitation of audits and inspections

o Publication and documentation: displays and labels

o Procedural: required compliance activities such as fire drills and safety inspections

COAG’s concern is to monitor the administrative and paperwork burden imposed by the

particular form of regulatory transaction between government and business. These

compliance costs are defined to exclude the costs of developing and testing new products,

Consultation RIS: MEPS for certain lamps and low voltage converters

49

except for the cost of certification tests that are required for regulatory purposes. Also

excluded are the costs to suppliers of working with government to develop regulations.

The compliance costs will be modest, for these reasons.

o The regulations are readily understood and all significant suppliers are involved in

the development of the regulations.

o The regulations use the technical language of all commercial transactions in the

manufacture and distribution of lighting products, which means that the regulatory

requirements translate directly as product specifications.

o Standard international tests will be used to measure performance. These are same

tests that govern commercial transactions and the delivery of product ‘to

specifications’. We understand that there will be minimal need for additional

product testing.

o Suppliers will need to register their products and declare their performance, using

the system for on-line registrations20 that has been developed for linear fluorescent

lamps. This is a simple transcription of production information and we understand

that experienced users can perform the task at the rate of 4 product groups per hour.

We refer to groups of products because a single registration can be used for related

products that have sufficiently similar performance characteristics.

o Compliance costs are reduced almost to zero where the practical effect of the

MEPS is to ban certain lamps. The trivial remaining cost is to maintain awareness

of the regulation.

The remaining compliance costs relate to possible labelling requirements, for example, a

statement of light power (lumens), electrical power (watts), and efficacy (lumens/watt) or

efficiency (for ELVCs). Suppliers of global brands have objected that this would disrupt

their practice of marketing uniform products in uniform packaging across all countries. A

special packaging design and production run would be required for the Australian market.

While we accept the labelling requirements may need to be costed on this basis, suppliers

would need to provide credible cost estimates. Relevant considerations are that:

o There in already fragmentation of packaging arrangements between countries, with

mandatory labelling requirements in Europe, Japan and Korea, and voluntary

arrangements in US, Thailand and Brazil (IEA 2006: chapter 5 & page 430-31).

This may provide a basis for costing the Australian requirement.

o Given global interest in the phasing out of incandescent lamps, it seems reasonable

to assume that there will be increasing global demand for comparative information.

o It may be less costly to provide the minimum required information to all users than

to do a special run for Australia.

o Suppliers have an opportunity to suggest a labelling regime that delivers against the

proposed requirements with minimal disruption to their global marketing

arrangements.

Given this uncertainty, the estimate presented in table 4.2 is best regarded as indicative.

This issue is included in the request for supplier feedback.

20 This facility is available from E3’s website - www.energyrating.gov.au

Consultation RIS: MEPS for certain lamps and low voltage converters

50

TABLE 4.2 BUSINESS COMPLIANCE COSTS

Task

Global

branded

suppliers

Other

branded

suppliers

Other nonbranded

suppliers

Total

Maintain awareness of regulations

Av. annual hours per supplier 10 10 10

Annual compliance cost $1,200 $2,800 $4,000

Present value $9,282 $21,659 $30,941 $61,882

Initial registration

Av. hours per registration 0.25 0.38 0.5

Once-only compliance cost $3,000 $5,250 $1,000

Present value $3,000 $5,250 $1,000 $9,250

Annual registrations

Av. hours per registration 0.25 0.375 0.5

Annual compliance cost $750 $1,313 $250

Present value $5,801 $10,153 $1,934 $17,888

Record keeping

Av. annual hours/product group 0.25 0.375 0.5

Annual compliance cost $3,000 $5,250 $1,000

Present value $23,206 $40,610 $7,735 $71,551

Labelling

Av. annual cost per product group $500 $500 $500

Annual compliance cost $150,000 $175,000 $25,000

Present value $1,160,292 $1,353,674 $193,382 $2,707,347

Total cost

Present value $2,867,919

Assumptions

Number of suppliers 3 7 10 20

Staff cost ($/hour) $40 $40 $40

Product groups per supplier 100 50 5

New product groups per year 25 12.5 1.25

4.3 Impacts on competition and trade

This section examines whether the proposed regulation may affect the quality of

competition in the market for lamps.

4.3.1 Are like-for-like replacements generally available?

As discussed in section 3.2.6, E3 compiled a list of concerns about the availability of likefor-

like replacements for incandescent lamps and determined that there were several

significant issues that could only be resolved at substantial cost. E3 now propose a MEPS

that allows continued use of the more efficient incandescent lamps. The remaining issues

are the following:

o Power quality: The installation of large numbers of CFLs can cause problems for

electricity network operators. The issues are highly technical, associated with the

power factor and harmonics of CFLs, but may require some networks to be

upgraded to prevent interference with load control systems for off-peak hot water.

We understand that these problems are not significant if CFLs are of high quality,

and that the proposed MEPS for power factor and harmonics will provide adequate

protection. E3 will use the consultation period to consult systematically with

network operators.

Consultation RIS: MEPS for certain lamps and low voltage converters

51

o Loss of ‘free heating’: Lamps create heat that contributes to space heating tasks and

some of this free heating is lost when more efficient lamps are used. Moderating

factors are that:

􀂃 Free heating is confined to the cooler parts of the year, whereas lighting

services are required in all seasons.

􀂃 More efficient lamps also reduce space cooling loads. These savings more than

compensate for the loss of free heating in most commercial and industrial

buildings, where the cooling task dominates. They also reduce the loss

associated with free residential heating in tropical regions and other regions

where the heating task is trivial or otherwise dominated by the cooling task.

􀂃 Tungsten halogen downlights operate at temperatures that require significant

measures to reduce the fire risk. Heat is dissipated by cutting a hole in the

ceiling insulation, reducing the amount of free heating that these lamps can

contribute.

􀂃 Lamps are both inefficient and emissions-intensive in their role as space

heaters. This is due to a number of factors including their location on walls and

ceilings, the use of recessed fittings, the energy conversion technology, and the

amount of electricity used. The free heating that is lost can be replaced by

heating services that are better located and are either more energy efficient (heat

pumps21) or use fuels that are less emissions intensive (gas).

􀂃 Tungsten filament lamps are installed disproportionately in rooms that are used

less intensively, such as bathrooms and bedrooms, and benefit less from free

heating.

E3 will consult further with building energy experts22 to assess whether these

judgments are reasonable and whether, in assessing the case for MEPS, it is

reasonable to ignore the issue of free heating.

o Excess light: Circumstances exist where users cannot take advantage of more

efficient lamps by reducing lamp wattage and therefore consuming less electricity.

Instead, the physical configuration of the lighting system is such that the

replacement lamp uses the same amount of electricity and the increase in efficacy is

delivered as more light. This problem is confined to ELV tungsten halogen lamps

with certain types of ELVC and no dimmer, and is factored into the assessment of

impacts on users (section 4.4).

These assessments are included in the request for feedback. We deal separately with

environmental health and safety issues in section 4.5.

4.3.2 Does the regulation infringe international free trade obligations?

The proposal needs to be consistent with Australia’s international obligations under the

Technical Barriers to Trade (GTBT) Agreement, which is part of the General Agreement

on Tariffs and Trade (GATT). Article 2 of the GTBT Agreement relates to the preparation,

adoption and application of technical regulations by central governments and provides for

matters such as the even-handed treatment of imports and domestically produced products,

the avoidance of unnecessary obstacles to international trade, the development and use of

international standards where possible, acceptance of the regulations of other countries

where possible, the adoption of performance-based regulation where possible.

Based on the following considerations, the proposed regulations are consistent with the

GTBT Agreement.

21 Lamps operate as resistive heaters, converting 100% of the electrical energy into radiation. Heat pumps

have a coefficient of performance of approximately 3.0, which means that the each kWh of free heating

provided by a lamp can be replaced by 0.33 kWh of electricity for a heat pump.

22 We have spoken to a leading Australian expert on building energy efficiency, Dr Paul Bannister of

Energex Australia Pty Ltd. He considers that the interaction between incandescent lamps and space

conditioning systems can be safely ignored for the purposes of assessing the proposed MEPS.

Consultation RIS: MEPS for certain lamps and low voltage converters

52

o All lamps are imported, which means there are no concerns about the even-handed

treatment of imports and domestically-manufactured goods.

o The proposed regulation is performance-based. It sets a threshold for minimum

performance and does not constrain the manner in which the minimum level of

performance is achieved. It follows that the regulation does not discriminate

between suppliers, other than in respect of the energy efficiency of their products.

o Standard international tests are used to determine compliance.

o E3 continues to monitor overseas lighting initiatives but Australia is the first

country to start phasing out incandescent lamps and necessarily pioneers the

regulatory approach. There is no comparable overseas requirement, either proposed

or existing, that the Australian regulations can be aligned with.

o Where possible, the proposed performance standards for CFL are in terms of

existing overseas and international standards.

4.3.3 Does the regulation otherwise reduce or distort competition?

Chapter 7 provides a statement of compliance with national competition policy.

Lamps

We are confident that the proposed measures will not reduce competition. We understand

that there is a competitive supply of complying products from overseas factories,

particularly in China. Australian suppliers can contract freely with manufactures to supply

the Australian market. No party has suggested to E3 that an existing supplier will withdraw

from the market in response to the proposed measures.

However, the market will be temporarily distorted in favour of the lamps that are exempted

during the transition period. Specifically, some users will replace their GLS lamps with

candle and fancy round23 tungsten filament lamps. The most popular size, 60 watts, will be

available in the candle and fancy round shapes for one year after November 2009. The

smaller sizes, 40 watts and 25 watts, will be available for three and seven years

respectively. They account for about 25% of tungsten filament sales. Candle and fancy

round lamps may look a bit odd as replacements for GLS lamps in some situations, but

otherwise there is no significant loss of lighting function.

Extra low voltage converters

To the extent that magnetic converters are replaced with electronic converters, we are

confident that supply arrangement will remain competitive. The Australian manufacturer,

TridonicAtco, plans to continue supplying electronic converters and there are competing

imports from a range of Asian manufacturers.

We also understand that at least one company, Torema Pty. Ltd., will continue to

manufacture the more efficient type of magnetic converter in Australia, and that there is

also a competitive supply of imported products from Asia. There may be other Australian

manufacturers that E3 has not identified.

E3 invites comment on possible threats to the competitive supply of complying ELVCs.

4.3.4 Does the regulation impose excessive costs of search and learning?

There are ‘hassle costs’ associated with the measure. Users will need to come to grips with

the new lighting technologies and develop new routines for describing and identifying the

lamps that meet their needs. This will involve some learning from experience, including

the purchase and return of lamps that don’t quite do the job. However, much of this is an

unavoidable investment in the labelling reforms that are needed to reform the practice of

23 See table A.1 in appendix A for lamp descriptions.

Consultation RIS: MEPS for certain lamps and low voltage converters

53

sizing lamps according to the input power of the lamp. As discussed in section 3.1.4, input

power no longer provides useful information about light output.

E3 considers that it is the task of the communications campaign to ensure that there is a

rapid and productive learning process as the community makes the required adjustments to

its routines, reducing hassle costs to a minimum. Users will need to give the issues some

attention for a period of time, but at a time when family and friends are also dealing with

the same issues and the communications campaign is providing materials to inform those

conversations.

E3 considers that, with an appropriate communications campaign, the adjustment need not

be more than a minor nuisance. Probably, many will value the opportunity to ‘do the right

thing’ environmentally. E3 invites stakeholders to identify any circumstances where the

adjustment would be more than a nuisance, or where communications activity would be

particularly productive.

4.3.5 Does the regulation distort technology development?

It seems that suppliers have responded to regulatory signals by rapidly expanding the range

of CFLs and HV tungsten halogen lamps on the market, to the point where there appear

that there are no issues of product availability that cannot be accommodated by the

proposed implementation schedule. A possible concern, however, is that this diverts

innovative effort from more promising prospects for product development, such as LED

lights and high efficiency incandescent lamps.

The alternative view is that standards and labelling measures send a strong signal that

innovative effort will be rewarded. Standards and labelling measures can strongly promote

the diffusion of new technologies once they become affordable and provide a range of likefor-

like replacements for existing products. But the intervention needs to be technological

neutral and periodic adjustments of the policy settings are necessary. MEPS can be revised

upwards from time to time, and comparative product labels need to be recalibrated to

reflect changes in the range of energy efficiencies on the market.

E3 invites comment on the whether the proposed measures are technological neutral, with

respect to both existing and prospective technologies.

4.4 Direct financial impact on residential, commercial and industrial

users

The assessment of financial impacts assumes that non-complying products will be replaced

by existing lighting technologies, albeit with significant improvement, and is inherently

conservative for that reason. Specifically, we ignore the prospects for light-emitting diode

(LED) technology, which the IEA identified as the ‘great white hope’ for large energy

savings in lighting (IEA 2006: chapter 7). IEA notes that the US Department of Energy

and US manufacturers have set a target of 160 lumens/watt by 2015, which is 10 times

more efficient than incandescent lamps and two and a half times more efficient than CFLs

(IEA 2006: page 434). It is not known when LED lamps will be price competitive but

suppliers say that costs are declining and quality is improving. We note that some

Australian suppliers recently introduced LED lamps for downlight applications.

This means that the analysis for lamps is entirely in terms of three lighting technologies,

tungsten filament, tungsten halogen and CFL.

4.4.1 Annualised life cycle cost

We first explain the cost concept used throughout – life cycle cost. The life cycle cost

(LCC) of a lighting service is the sum of five cost elements, (1) luminaires, (2) lighting

controls, wiring and ELVCs, (3) lighting system maintenance, (4) lamps, and (5)

Consultation RIS: MEPS for certain lamps and low voltage converters

54

electricity. LCC is usually expressed in present value terms, which is the amount of an upfront

payment that would cover all future costs of a lighting service, including energy, but

discounted to allow for the fact that present dollars are more valuable than future dollars.

LCC can also be expressed as the annualised equivalent of the present value amount. This

is the periodic payment that, if paid annually for the period of the lighting service, would

have same present value as the up-front payment. We use the annualised cost method

because it is a more convenient way to report the costs of an energy service that has a

number of components with different asset lives, or to compare the costs of lighting

services with different asset lives.

We report the cost impacts entirely in terms of the change in the annualised LCC. This

means that cost reductions (net benefits) are reported as negative numbers, being

reductions in the annualised LCC. Cost increases (net costs) are reported as positive

numbers, being increases in the annualised LCC.

Our calculations are entirely in terms of changes in the cost of lamps and energy, which are

operating costs. It is assumed that, at the MEPS levels now proposed, there will be no need

to change or prematurely scrap existing luminaires, wiring or lighting controls, and that

there will be no change in other costs of operation and maintenance.

A discount rate of 7.5% is used in the discounting and annualising calculations.

Effective life of lamps with very low duty hours

We have assumed that the effective life of all lamps, both complying and non-complying,

are not interrupted by breakages and premature scrapping. This is obviously unrealistic in

some situations. Consider that CFLs with an operating life of 6,000 hours but used for only

10 minutes per day must last for 100 years in order to deliver all the possible savings.

However, we calculate that it makes little difference if all CFLs are assumed to fail after 10

years, limiting the asset life at 10 years. This is because (a) by definition, lamps on low

duty contribute little to the re-lamping task, and (b) incremental lamp costs are small

relative to the energy savings. Other moderating factors are that:

o On average, lamps that are used less intensively will be replaced later and

sometimes very much later than those used more intensively, and will have the

advantage of more advanced and cheaper alternatives as the market for CFLs and

other energy-efficient lamps develops.

o A lamp may be used less intensively for a period of time but not indefinitely. For

example, an unused bedroom may be re-occupied when the house is sold or new

tenants move in. Surveys that take a snapshot of lamp use are misleading in that

respect.

o Failed lamps are sometimes replaced with less-used lamps from elsewhere in the

dwelling, and the less-used lamp is then replaced when convenient. This cycling

process reduces variation in the asset life of lamps.

4.4.2 Premature scrapping of non-lamp assets

As discussed in sections 3.1 and 3.2.6, the proposed measures are designed to ensure that

like-for-like replacements will be available for all existing lamps that do not comply with

the MEPS. Users will not need to prematurely scrap and replace their existing non-lamp

assets such as switches, dimmers, sensors, wiring and luminaires. This will be achieved by

exempting some categories of lamp from the regulation in the first instance and allowing

the continued use of certain incandescent lamps. E3 will review exemptions in consultation

with suppliers and terminate exemptions when suitable replacements are available.

As outlined in section 3.1.3 (table 3.3), E3 has proposed firm implementation dates for

only GLS lamps (conventional pear-shaped tungsten filament lamps), LV non-reflector

lamps, CFLs and ELVCs. With regard to LV reflector lamps specifically, the proposed

MEPS will only eliminate the least efficient models. E3 invites comment on whether likeConsultation

RIS: MEPS for certain lamps and low voltage converters

55

for-like replacements are available for all non-complying products in these categories,

remembering that MV tungsten halogen lamps can be used where CFLs are unsuitable.

4.4.3 Mains voltage (MV) non-reflector lamps

There are non-complying products of both the tungsten filament and tungsten halogen type

in this category. The GLS type of tungsten filament accounts for 67% of the installed stock

and will not be available after November 2009. Tungsten halogen lamps and the larger

candle and fancy round types of tungsten filament lamps are scheduled for November

2010, and account for another 10% of the installed stock. Most of the remainder are

scheduled for November 2012, leaving only the smallest (25 watt) candle and fancy round

types off the schedule at this stage.

Calculation of energy savings

Suppliers are confident that complying tungsten halogen products will be available for the

scheduled termination of the exemption, in November 2010. These will be ‘enhanced

technology’ products that use infra red coatings to increase the operating temperature and

efficiency of the lamp. E3 has purchased two of the early products, which are claimed to

be either borderline compliant or slightly above, but has yet to conduct independent tests.

By comparison, non-complying ‘current technology’ products are listed in catalogues with

a gap of 1-3 lumens/watt relative to the proposed MEPS. For modelling purposes we have

assumed that these lamps need to improve by 2 lumens/watt, or 17% on average.

Catalogue data indicates that none of the tungsten filament lamps now on the market

comply with the proposed MEPS, and suppliers say that this technology cannot bridge the

gap of about 3.5 lumens/watt and will be phased out.

We assume that non-complying lamps will be replaced with a 50:50 mix of complying

tungsten halogen and CFL lamps. This is a critical variable, since CFLs are three times

more efficient than tungsten halogens and deliver much more abatement. But we cannot

yet be confident about how users will respond. Relevant considerations are that:

1. Existing CFLs cannot replace incandescent lamps on dimmers and other types of

controls. However this problem affects less than 5% of replacements and the

constraint will be further relaxed as new CFL designs come on the market.

2. The tungsten halogens are somewhat cheaper than the CFLs, at $3 and $4-5

respectively, providing them with a first-cost advantage.

3. Tungsten halogen lamps resembling the conventional pear-shaped GLS are

available, but so are CFLs24.

4. Tungsten halogen lamps will be needed to replace tungsten filament lamps on

dimmers and other control circuits, and may become more readily available as

tungsten filaments are withdrawn from sale.

5. CFLs have an established reputation as energy and greenhouse savers. A key

program design issue for E3, which remains to be solved, is how to preserve that

distinction and ensure that tungsten halogen lamps are not marketed as energy

efficient, or otherwise assumed by users to be the equivalent of CFLs. This issue

will be prominent in E3 requests for stakeholder feedback.

Incremental cost of more efficient lamps

GLS lamps generally sell for less than $1/lamp and sometimes for less than 50 cents. We

assume a price of 75 cents for all tungsten filament lamps, including all candle and fancy

round types. CFLs sell for $4-5/lamp and we assume a price of $4.50/lamp.

24 The halogen capsule, or CFL coil, is fitted inside a conventionally shaped globe, which is fitted with the

bayonet or screw cap required by conventional light fittings.

Consultation RIS: MEPS for certain lamps and low voltage converters

56

Non-complying tungsten halogens are somewhat cheaper than CFLs, at $3. E3 has only a

small sample of the first complying products on the market – two lamps – and paid the

going price for existing lamps, which is $3/lamp. The ‘enhanced technology’ products

seem to be priced for high volume sales and without a detectable price premium for

increased efficiency. Nevertheless, we have assumed that a 10% increase in efficacy is

associated with a 10% increase in the retail price, or 30 cents. This means that users will

pay an extra 49 cents for complying tungsten halogens that provide a 16.5% increase in

efficiency (= 1.65 * 30 cents).

We made conservative assumptions for the life of replacement lamps, putting both at the

minimum that will be required by the proposed MEPS – 2,000 hours and 6,000 hours for

tungsten halogens and CFLs respectively.

Financial impacts

Table 4.3 reports the resulting estimates of financial impacts in the residential sector, for

various combinations of the initial lamp type, the replacement lamp type, lamp size and

duty hours. Each panel relates to the replacement of non-complying tungsten filament and

tungsten halogen lamps that produce the same amounts of light. Note that:

o The weighted averages across lamp types (final column) assume an initial

configuration that is 98% tungsten filament and 2% tungsten halogen, and that both

are replaced 50:50 by complying tungsten halogens and CFLs.

o We used conservative weightings for duty hours and wattages in the residential

sector, with more than 80% of the lamps assumed to have duty hours of less than 2

hours per day and 30% of the lamps assumed to have wattages of less than 60

watts. The weighted averages for residential duty hours and wattage are 1.5 hours

per day and 60 watts respectively for tungsten filaments, and 1.8 hours and 52 watts

for tungsten halogens.

o The commercial and industrial sectors use more powerful lamps, more intensively.

The 4-8 hour row in the 75 watt panel is indicative for the commercial and

industrial sectors25. While the lower electricity tariffs in the commercial and

industrial sectors reduce the value of savings 10-70%, we estimate that there are

cost reductions for all plausible combinations. It is only unlikely configurations of

low wattage lamps (40 watts or less) or low duty hours (<4 hours), or both, that

return cost increases. And it is only tungsten halogen replacements that return cost

increases, not CFLs.

Overall, we estimate that:

o There are cost reductions for virtually all residential combinations and the gains

vary positively with the duty hours and power of the lamp. The exceptions are low

wattage lamps on low duty hours that are replaced with complying tungsten

halogen lamps. See the top left-hand corner of the top panel in table 4.3.

o The reduction in operating costs is far greater for CFLs than for tungsten halogen.

o The average cost saving is sensitive to the mix of tungsten halogen and CFL lamps

that are used to re-lamp. The residential average approaches 70 cents/lamp if

tungsten halogens dominate, and $4/lamp if CFLs dominate.

o Assuming a 50:50 mix, the average annual savings are $2.38/lamp for residential

users, $9/lamp for commercial users and $6/lamp for industrial users.

25 The commercial and industrial sectors use larger lamps than the residential sector, and more intensively.

For example, a US study (Navigant 2002) puts the average wattage and duty hours at 83 watts and 9.4 hours

for the commercial sector, and 126 watts and 14.2 hours for the industrial sector, compared with 65 watts and

1.9 hours for the residential sector.

Consultation RIS: MEPS for certain lamps and low voltage converters

57

TABLE 4.3 CHANGE IN ANNUALISED LCC: MV NON-REFLECTOR LAMPS, RESIDENTIAL

($/LAMP)

Type of replacement lamp

Duty hours per day Tungsten

halogen CFL Tungsten

halogen CFL

Weighted

average

Lamp replaced: 25 watt tungsten filament 21 watt tungsten halogen

< 1 hour +$0.06 -$0.41 -$0.03 -$0.50 -$0.18

1-2 hours -$0.06 -$1.64 -$0.14 -$1.72 -$0.85

2-4 hours -$0.23 -$3.45 -$0.30 -$3.53 -$1.84

4-8 hours -$0.56 -$7.04 -$0.63 -$7.11 -$3.80

8-12 hours -$1.00 -$11.83 -$1.07 -$11.90 -$6.42

> 12 hours -$1.34 -$15.42 -$1.40 -$15.48 -$8.38

Residential average -$0.06 -$1.64 -$0.17 -$2.09 -$0.86

Lamp replaced: 40 watt tungsten filament 34 watt tungsten halogen

< 1 hour -$0.04 -$0.76 -$0.09 -$0.81 -$0.40

1-2 hours -$0.35 -$2.69 -$0.32 -$2.66 -$1.52

2-4 hours -$0.81 -$5.54 -$0.66 -$5.39 -$3.17

4-8 hours -$1.73 -$11.23 -$1.34 -$10.84 -$6.47

8-12 hours -$2.95 -$18.81 -$2.25 -$18.11 -$10.86

> 12 hours -$3.86 -$24.49 -$2.93 -$23.56 -$14.16

Residential average -$0.35 -$2.69 -$0.39 -$3.20 -$1.53

Lamp replaced: 60 watt tungsten filament 53 watt tungsten halogen

< 1 hour -$0.16 -$1.23 -$0.16 -$1.23 -$0.69

1-2 hours -$0.71 -$4.09 -$0.52 -$3.90 -$2.40

2-4 hours -$1.52 -$8.35 -$1.06 -$7.88 -$4.92

4-8 hours -$3.14 -$16.84 -$2.13 -$15.83 -$9.97

8-12 hours -$5.29 -$28.16 -$3.56 -$26.43 -$16.69

> 12 hours -$6.91 -$36.64 -$4.64 -$34.37 -$21.74

Residential average -$0.71 -$4.09 -$0.63 -$4.70 -$2.41

Lamp replaced: 75 watt tungsten filament 66 watt tungsten halogen

< 1 hour -$0.24 -$1.58 -$0.21 -$1.54 -$0.91

1-2 hours -$0.96 -$5.14 -$0.66 -$4.84 -$3.04

2-4 hours -$2.02 -$10.45 -$1.33 -$9.76 -$6.22

4-8 hours -$4.13 -$21.04 -$2.68 -$19.59 -$12.56

8-12 hours -$6.95 -$35.16 -$4.47 -$32.68 -$21.01

> 12 hours -$9.07 -$45.75 -$5.82 -$42.50 -$27.35

Residential average -$0.96 -$5.14 -$0.79 -$5.83 -$3.06

Lamp replaced 100 watt tungsten filament 89 watt tungsten halogen

< 1 hour -$0.38 -$2.16 -$0.28 -$2.06 -$1.27

1-2 hours -$1.35 -$6.89 -$0.87 -$6.41 -$4.11

2-4 hours -$2.81 -$13.94 -$1.76 -$12.89 -$8.36

4-8 hours -$5.72 -$28.03 -$3.53 -$25.85 -$16.83

8-12 hours -$9.59 -$46.81 -$5.90 -$43.12 -$28.13

> 12 hours -$12.50 -$60.89 -$7.68 -$56.07 -$36.61

Residential average -$1.35 -$6.89 -$1.05 -$7.71 -$4.13

Lamp replaced: all tungsten filament all tungsten halogen

< 1 hour -$0.15 -$1.20 -$0.15 -$1.20 -$0.67

1-2 hours -$0.69 -$4.08 -$0.51 -$3.89 -$2.38

2-4 hours -$1.55 -$8.58 -$1.07 -$8.10 -$5.06

4-8 hours -$3.18 -$17.21 -$2.14 -$16.17 -$10.17

8-12 hours -$5.55 -$29.57 -$3.68 -$27.70 -$17.52

> 12 hours -$5.40 -$31.16 -$3.75 -$29.51 -$18.25

Residential average -$0.69 -$4.06 -$0.62 -$4.67 -$2.38

Consultation RIS: MEPS for certain lamps and low voltage converters

58

Impact of dimming

Dimming reduces the efficacy of lamps and the energy savings from more efficient lamps.

We investigated this issue by assuming that, on average, these lamps are dimmed to 80%

of maximum light output and that this is associated with a 10% reduction in efficacy26. We

find that annualised LCC is still reduced in all plausible configurations. The average

residential saving is $2.07/lamp, compared with $2.38/lamp at full power, ignoring the fact

that dimmable lamps tend to be installed in high use areas such as living rooms.

4.4.4 Extra low voltage (ELV) non-reflector lamps

These are tungsten halogen products that use an ELVC to step the electrical voltage down

to 12 volts. Suppliers say that these products already comply with the proposed MEPS and

E3 has confirmed that with a number of product tests. We are confident that this submarket

will not be affected.

4.4.5 MV reflector lamps

There are non-complying products of both the tungsten filament and tungsten halogen type

in this category, contributing about 75:25 to the installed stock of non-complying lamps.

There is a 3 year exemption, to November 2012.

Calculation of energy savings

Given time, suppliers consider that tungsten halogen lamps can be improved to the point

where they comply with the proposed MEPS. E3 has tested a sample of six lamps and

found that they would need to improve by 2 to 5 lumens/watt. We have assumed that

tungsten halogen lamps will need to be improved by 3 lumens/watt, or 26% on average.

None of the tungsten filament lamps now on the market comply with the proposed MEPS.

Tests commissioned by E3 indicate that the deficiency is 5 lumens/watt and that complying

tungsten halogen lamps would be 54% more efficient on average. Suppliers say that this

technology cannot bridge the gap.

We assume that non-complying lamps will be replaced with a 80:20 mix of complying

tungsten halogen and CFL lamps. The CFL proportion has been set at only 20% because

CFLs are not ‘reflector friendly’ and there is relatively small range of reflector CFLs now

on the market. The problem is that the light emitting surface of a CFL is relatively large

and the light cannot be easily marshalled and pointed in the desired direction. Again, the

mix is a critical because CFLs are three times more efficient than tungsten halogens and

deliver much more abatement.

Otherwise, the general approach is the same as that for MV non-reflector lamps.

Incremental cost of more efficient lamps

MV reflector lamps sell for $3-5/lamp with the tungsten filament lamps at the lower end

and tungsten halogen at the upper end. We have assumed prices of $3.50 and $4.50 for

non-complying tungsten filament and tungsten halogen lamps respectively.

The products that will eventually replace these are not generally available now. We made

the following assumptions for the purposes of the RIS.

o For tungsten halogens, it is assumed that a 10% increase in efficacy is associated

with a 10% increase in the retail price, or 45 cents. This means that the complying

tungsten halogens will cost an extra $1.16 cents for the 26% increase in efficiency

(= 2.6 * 45 cents).

26 This relationship between dimming and efficacy is suggested by Page (2007: figure 3). It should be noted

that the relationship was derived for a more powerful type of tungsten halogen lamp (300 watt ‘torchieres’)

than is the subject of the proposed regulation.

Consultation RIS: MEPS for certain lamps and low voltage converters

59

o Complying reflector CFLs are assumed to sell for $6/lamp when the exemption is

terminated. They cannot be much more expensive than that and still take a

reasonable share of the market.

Again, we made conservative assumptions for life of the replacement lamps.

Financial impacts

Table 4.4 reports the resulting estimates of financial impacts in the residential sector. This

is the same format as that used for the non reflector type (table 4.3), except that the lamps

are somewhat more powerful. The weighted averages across lamp types (final column)

assume an initial configuration that is 75% tungsten filament and 25% tungsten halogen,

and that both are replaced 80:20 by complying tungsten halogens and CFLs.

The commercial and industrial sectors use more powerful lamps, more intensively. The 4-8

hour row in the 100 watt panel is indicative for the commercial and industrial sectors.

However, electricity tariffs are lower in the commercial and industrial sectors and,

allowing for that difference, the savings are reduced by 50-75%. We estimate that there are

cost reductions for all plausible combinations. It is only low wattage lamps (35 watts) on

industrial tariffs that return cost increases. And it is only tungsten halogen replacements

that have net costs, not CFLs.

These estimates indicate that:

o There are cost reductions for all combinations and the gains vary positively with

the duty hours and power of the lamp.

o The reduction in operating costs is far greater for CFLs than for tungsten halogen.

o The average cost saving is sensitive to the mix of tungsten halogen and CFL lamps

that are used to re-lamp. The residential average approaches $2/lamp if tungsten

halogens dominate, and $5/lamp if CFLs dominate.

o Assuming a 80:20 mix, the average annual savings are $2.57/lamp for residential

users, $9/lamp for commercial users and $7/lamp for industrial users.

Impact of dimming

Dimming also reduces the efficacy of MV reflector lamps. As for the MV non-reflector

lamps, however, we find that annualised LCC is still reduced in all plausible

configurations. The average residential saving is $2.21/lamp, compared with $2.57/lamp at

full power, ignoring the fact that dimmable lamps tend to be installed in high use areas

such as living rooms.

4.4.6 ELV reflector lamps

ELV reflector lamps are all of the tungsten halogen type and are generally referred to as

‘halogen downlights’. E3 tested a sample of 15 halogen downlights and found that:

o Of twelve 50 watt lamps in the sample, seven would not comply with the proposed

MEPS. Efficacy ranged from 11.4 to 17.4 lumens/watt, compared with proposed

MEPS of 14.4 lumens/watt. The average non-complying lamp is 1.5 lumens below

the MEPS.

o All three of the 35 watt lamps in the sample complied with the proposed MEPS.

Efficacy ranged from 14.1 to 17.2 lumens/watt, compared with proposed MEPS of

13.2 lumens/watt.

Suppliers say that 50 watt halogen downlights account for at least 90% of sales. We expect

that a more comprehensive testing program would show that a significant proportion of

other standard products – 20, 35, 72 and 100 watts – do not comply with the proposed

MEPS. This is based on a comparison of test results with other technical data provided by

suppliers, and extrapolation of the 50 watt comparison to the other standard wattages.

Consultation RIS: MEPS for certain lamps and low voltage converters

60

TABLE 4.4 CHANGE IN ANNUALISED LCC: MV REFLECTOR LAMPS, RESIDENTIAL

($/LAMP)

Type of replacement lamp

Duty hours per day Tungsten

halogen CFL Tungsten

halogen CFL

Weighted

average

Lamp replaced: 35 watt tungsten filament 26 watt tungsten halogen

< 1 hour -$0.29 -$1.02 -$0.01 -$0.74 -$0.37

1-2 hours -$1.10 -$3.39 -$0.16 -$2.46 -$1.34

2-4 hours -$2.30 -$6.90 -$0.39 -$4.99 -$2.77

4-8 hours -$4.69 -$13.90 -$0.84 -$10.05 -$5.63

8-12 hours -$7.88 -$23.23 -$1.45 -$16.79 -$9.43

> 12 hours -$10.27 -$30.22 -$1.90 -$21.85 -$12.29

Residential average -$0.93 -$2.89 -$0.17 -$2.53 -$1.16

Lamp replaced: 60 watt tungsten filament 50 watt tungsten halogen

< 1 hour -$0.57 -$1.60 -$0.19 -$1.23 -$0.69

1-2 hours -$1.90 -$5.13 -$0.68 -$3.91 -$2.26

2-4 hours -$3.88 -$10.37 -$1.42 -$7.91 -$4.60

4-8 hours -$7.85 -$20.85 -$2.88 -$15.88 -$9.28

8-12 hours -$13.14 -$34.81 -$4.83 -$26.51 -$15.52

> 12 hours -$17.10 -$45.28 -$6.29 -$34.47 -$20.19

Residential average -$1.62 -$4.38 -$0.71 -$4.03 -$1.98

Lamp replaced: 80 watt tungsten filament 65 watt tungsten halogen

< 1 hour -$0.76 -$2.07 -$0.31 -$1.61 -$0.92

1-2 hours -$2.47 -$6.53 -$1.02 -$5.07 -$2.94

2-4 hours -$5.02 -$13.17 -$2.08 -$10.23 -$5.96

4-8 hours -$10.13 -$26.44 -$4.20 -$20.52 -$12.00

8-12 hours -$16.93 -$44.14 -$7.03 -$34.24 -$20.04

> 12 hours -$22.03 -$57.40 -$9.15 -$44.53 -$26.07

Residential average -$2.11 -$5.58 -$1.05 -$5.23 -$2.59

Lamp replaced: 100 watt tungsten filament 85 watt tungsten halogen

< 1 hour -$0.95 -$2.53 -$0.41 -$2.00 -$1.14

1-2 hours -$3.01 -$7.92 -$1.33 -$6.23 -$3.60

2-4 hours -$6.10 -$15.96 -$2.69 -$12.55 -$7.27

4-8 hours -$12.28 -$32.02 -$5.42 -$25.16 -$14.62

8-12 hours -$20.52 -$53.43 -$9.06 -$41.97 -$24.41

> 12 hours -$26.70 -$69.48 -$11.79 -$54.57 -$31.75

Residential average -$2.57 -$6.77 -$1.37 -$6.42 -$3.17

Lamp replaced 120 watt tungsten filament 100 watt tungsten halogen

< 1 hour -$1.12 -$2.99 -$0.51 -$2.39 -$1.35

1-2 hours -$3.53 -$9.31 -$1.62 -$7.39 -$4.24

2-4 hours -$7.14 -$18.73 -$3.27 -$14.86 -$8.55

4-8 hours -$14.36 -$37.56 -$6.58 -$29.78 -$17.17

8-12 hours -$23.99 -$62.67 -$11.00 -$49.68 -$28.67

> 12 hours -$31.20 -$81.50 -$14.31 -$64.60 -$37.29

Residential average -$3.02 -$7.96 -$1.67 -$7.61 -$3.74

Lamp replaced: all tungsten filament all tungsten halogen

< 1 hour -$0.74 -$2.03 -$0.29 -$1.58 -$0.89

1-2 hours -$2.45 -$6.52 -$1.00 -$5.07 -$2.92

2-4 hours -$5.11 -$13.47 -$2.11 -$10.48 -$6.08

4-8 hours -$10.22 -$26.88 -$4.23 -$20.89 -$12.14

8-12 hours -$17.34 -$45.56 -$7.21 -$35.43 -$20.60

> 12 hours -$18.91 -$50.49 -$7.18 -$38.76 -$22.47

Residential average -$2.09 -$5.55 -$1.04 -$5.19 -$2.57

Consultation RIS: MEPS for certain lamps and low voltage converters

61

ELVCs and standard downlight wattages

The impact assessment for halogen downlights is complicated by the ELVCs that are used

to step the electrical supply down to 12 volts. The problem is that much of the installed

stock of ELVCs operates correctly only for specific standard loads – 20, 35, 50, 72 and 100

watts – and should be matched with lamps that provide that specific load27. This means

that, until older ELVCs are replaced with newer types that operate effectively on different

loads, a less efficient downlight must be replaced with a more efficient downlight that has

the same wattage and provides the increased efficacy in the form of more light. Potentially,

replacement lamps provide more light but use the same amount of electricity.

Given this constraint on lamp replacements, energy savings can only arise in specific ways.

With reference to the dominant lamp size, 50 watts, there are three options for lamps that

are not on dimmers.

1. The option of using a high efficacy 35 watt lamp is available28 if (a) the lamp is

connected to one of the newer types of ELVC that operate effectively with the

lower load, or (b) there is new construction and refurbishment that provides the

opportunity to install a ELVC for the 35 watt lamp. These users take advantage of

the increased efficacy in the usual way, as a direct reduction in wattage and

electricity consumption.

2. The option of using fewer but more efficient 50 watt lamps is also available to new

construction and refurbishments, and where the user is content to partially re-lamp,

leaving gaps in the existing lamp array. There are associated savings in the cost of

labour and associated materials (wiring, transformers and luminaires) for new

construction and refurbishments.

3. The remaining category is comprised of (a) those who cannot re-lamp at a lower

wattage because they have the older type of ELVC and, (b) those who have an

option of lower wattages or fewer lamps but, for reasons of ignorance or inertia,

choose not to make the required changes. These users continue to purchase and

install the same number of lamps of the same wattage and their new lamps simply

put out more light, possibly 20-30% more. Some may use supplementary lighting

that can be turned off instead.

The first two options are the same for lamps on dimmers as for lamps that are not on

dimmers – 35 watt lamps or fewer 50 watt lamps. But the third option is different. It is

reasonable to assume that users who cannot reduce wattage, or choose not to, would dim

the new lamps back to the preferred level. There are energy savings in this case because

efficacy declines as lamps are dimmed.

The limited information on the stock of halogen downlights does not allow us to

confidently quantify the various types of users. Based on discussions with suppliers,

however, we understand that (a) it is certain that relatively few users have the type of

ELVC that will accommodate different loads, and (b) most residential users have their

ELV reflector lamps on dimmers.

The constraint imposed by existing ELVCs means that it is therefore necessary to

distinguish between short and long term effects. In the short to medium term, we assume

that there will be:

o a relatively small number of users with the type of ELVC that allows them to relamp

at 35 watts;

27 A different lamp may still work but its life is shorter. Historically, the loads were standardised to facilitate

the matching of ELVCs and with lamps.

28 E3 testing indicates that 35 watt lamps of sufficiently high efficacy are now available. That is, they would

provide at least the same amount of light as some of the non-complying 50 watt lamps that are now on the

market.

Consultation RIS: MEPS for certain lamps and low voltage converters

62

o many residential users who must re-lamp at 50 watts but save energy by dimming

the lamp;

o a significant minority of users, particularly commercial users, who must re-lamp at

50 watts but do not have dimmers and can only save energy by reducing

supplementary lighting.

New construction and lighting refurbishments will relax the constraints over the longer

term, allowing preferred lighting levels to be provided at lower wattages or with fewer

lamps. This can happen reasonably quickly in some residential and commercial

applications with high rates of refurbishment. For taxation purposes, lighting systems are

generally assumed to have asset lives of 15-20 years. However, these prospects may be

overtaken by technological developments, in particular, LED or CFL downlights that

compete with halogen downlights on price but are much more efficient.

Calculation of energy savings

Given the uncertainties about the longer term, we focused on likely gains over the short to

medium term for the purposes of this RIS. We assumed that the energy savings can be

assessed as follows.

o The 50 watt lamp is representative of all halogen downlights and has average duty

hours of 2.25 hours.

o Non-complying lamps account for half of all lamp sales, which is the proportion

indicated by the test sample.

o Non-complying lamps are replaced with existing halogen downlights that comply

with the MEPS, not with CFLs. There are CFLs on the market that are designed for

the same range of applications, but they cannot deliver the dot shaped point of light

associated with halogen downlights, which can be easily focused and directed by a

small light capsule. Existing CFLs also have limited dimming capability and are

not always compatible with existing ELVCs and dimmers. On what we know now,

it seems unreasonable to expect the proposed measures to contribute significantly

to a shift from halogen downlights to CFL downlights.

o 90% of users without dimmers must re-lamp at 50 watts and can only save energy

by reducing supplementary lighting. We put these savings at zero. The remaining

10% re-lamp at 35 watts and none take the option of reducing the number of 50

watt lamps.

o 90% of users with dimmers must re-lamp at 50 watts and save energy by dimming

back to the preferred lighting level, which is assumed to be 80% of the light

provided by an average 50 watt lamp at full power. The replacement lamp is

dimmed further because it is more efficient and produced more light at full power.

The remaining 10% re-lamp at 35 watts and none take the option of reducing the

number of 50 watt lamps.

o We note the possibility that excess light from lamps that cannot be dimmed may

impose non-trivial costs on some users, for example, if they prematurely scrap their

existing lamp fittings or otherwise reconfigure their lights to restore the preferred

level of lighting. However we assume that the increased light is not noticed or

otherwise quite acceptable, since our eyes can adapt to a broad range of light

intensities29. We note that users can only learn by experience how much light a

particular 50 watt lamp will provide, since existing labels contain only wattage

information. This suggests that suppliers are unconcerned that 50 watt lamps

provide varying amounts of light, ranging from 550 lumens to 850 lumens in E3’s

sample of twelve lamps. Arguably, suppliers would only be unconcerned if users

are also unconcerned. For the purposes of this RIS, therefore, we assume that the

users pay the increased cost of more efficient lamps but are otherwise unaffected.

29 The eye functions over a vast range of light levels; once it has adapted to the prevailing conditions, visual

performance is relatively insensitive to the amount of light. (IEA 2006: page 69)

Consultation RIS: MEPS for certain lamps and low voltage converters

63

Incremental cost of more efficient lamps

The average retail price of the 50 watt lamps in the E3 sample was $4.60, but with

considerable variation and only weak evidence of a positive relationship with efficacy –

see figure 4.1. We have assumed that a 10% increase in efficacy is associated with a 10%

increase in the retail price, or 46 cents. (For what it’s worth, the weak relationship reported

in figure 4.1 indicates that a 10% increase in efficacy is associated with a 6.6 % increase in

the retail price.)

This means that the users who re-lamp with 35 watt downlights incur an incremental cost

of $1.98 to obtain a 43% increase in efficacy (= 4.3 * 46 cents). Users who re-lamp with

complying 50 watt downlights obtain a 15% increase in efficacy and are assumed to pay an

extra 70 cents (= 1.5 * 46 cents).

FIGURE 4.1 PRICE AND EFFICACY OF 50 WATT ELV TUNGSTEN HALOGEN LAMPS,

REFLECTOR TYPE (E3 TEST SAMPLE)

y = 0.7053x0.6599

R2 = 0.0196

$0

$1

$2

$3

$4

$5

$6

$7

$8

$9

$10

10 11 12 13 14 15 16 17 18

Efficacy (lumens/watt)

Retail price ($/unit)

Financial impacts

Table 4.5 reports the resulting estimates of financial impacts in the residential sector.

These indicate that:

o There are cost reductions for all users except for those who must take the increased

efficacy as more light rather than savings on electricity bills.

o The cost reductions are much greater where the user re-lamps at 35 watts and

otherwise modest. The cost savings are modest for what we understand to be the

dominant group, comprising users who save energy by dimming a more efficient 50

watt lamp back to the preferred level. The weighted average across replacement

types (last column) is close to the impact of this dominant group.

o Comparison of the savings from 35 watt replacements indicates that the savings on

dimmed lamps are not significantly less than the savings on undimmed lamps.

However, this outcome is sensitive to our assumption that, on average, these lamps

are dimmed to 80% of their output at full power.

o The average annual saving is 25 cents/lamp-year in the residential sector, assuming

that 90% of these lamps are on dimmers.

Consultation RIS: MEPS for certain lamps and low voltage converters

64

TABLE 4.5 CHANGE IN ANNUALISED LCC: ELV TUNGSTEN HALOGEN LAMPS,

REFLECTOR TYPE, RESIDENTIAL ($/LAMP)

Type of replacement for non-complying lamp

Duty hours per day Replaced with 35 watt

lamp

Replaced with 50 watt

lamp that is

borderline compliant

Weighted average

Lamps that cannot be dimmed

< 1 hour -$0.25 +$0.07 +$0.04

1-2 hours -$0.92 +$0.15 +$0.04

2-4 hours -$1.92 +$0.27 +$0.05

4-8 hours -$3.91 +$0.51 +$0.07

8-12 hours -$6.56 +$0.84 +$0.10

> 12 hours -$8.55 +$1.09 +$0.12

Residential average -$1.42 +$0.21 +$0.05

Lamps on dimmers

< 1 hour -$0.20 -$0.02 -$0.04

1-2 hours -$0.78 -$0.11 -$0.18

2-4 hours -$1.63 -$0.25 -$0.39

4-8 hours -$3.33 -$0.53 -$0.81

8-12 hours -$5.60 -$0.91 -$1.37

> 12 hours -$7.30 -$1.18 -$1.80

Residential average -$1.20 -$0.18 -$0.29

Weighted average of lamps with and without dimmers (90% with, 10% without)

< 1 hour -$0.21 -$0.01 -$0.03

1-2 hours -$0.79 -$0.09 -$0.16

2-4 hours -$1.66 -$0.20 -$0.35

4-8 hours -$3.39 -$0.43 -$0.72

8-12 hours -$5.69 -$0.73 -$1.23

> 12 hours -$7.42 -$0.96 -$1.60

Residential average -$1.22 -$0.14 -$0.25

We assessed the non-residential impacts on the assumption that there is no significant use

of halogen downlights in the industrial sector and that 90% of the halogen downlights in

the commercial sector are not on dimmers. The significant differences between the

commercial and residential sectors are therefore that the commercial sector (a) uses lamps

more intensively, 8 hours per day, (b) pays lower tariffs, and (c) is less able to obtain

savings by dimming and therefore more constrained to take increased efficacy as more

light. We estimate that:

o There are significant reductions in the annualised LCC where commercial users relamp

with 35 watt lamps, $3.52/lamp for lamps at full power and $2.93/lamp where

the lamp is dimmed to 80% of full power. The weighted average is close to the

former, at $3.47/lamp reflecting our assumption that only 90% of halogen

downlights in the commercial sector are not on dimmers.

o The annualised LCC increases by $0.70/lamp where commercial users re-lamp at

50 watt lamps and cannot dim, and declines by $0.38/lamp if the lamp is on a

dimmer. The former dominates and the weighted increase in annualised LCC is

$0.63 /lamp.

o Our further assumption that only 10% of commercial lamps are dimmable means

that there is a small increase in the annualised LCC of halogen downlights in the

commercial sector, which we estimate at +$0.25/lamp.

It is likely that these estimates will be revised with the benefit of comments on this

consultation RIS and further testing of halogen downlights. Several aspects need to be

Consultation RIS: MEPS for certain lamps and low voltage converters

65

better understood, including the incremental cost of more efficient lamps, the extent of

constraints on re-lamping with 35 watt lamps, the dimming behaviour of users, and the

efficiency characteristics of dimmed lamps.

E3 has specifically asked for comment on these issues.

4.4.7 Compact fluorescent lamps

Based on discussions with suppliers, the CFLs that are now supplied to the Australian

market substantially comply with the proposed MEPS and there will not be a noticeable

change in the energy efficiency, cost or performance of these products. But there is a risk

that inferior CFLs will be introduced in response to the significant increase in sales that is

expected when conventional tungsten filament lamps are no longer available.

Inexperienced users who purchase inferior CFLs can be extremely disappointed with their

performance, particularly in respect of the colour and other qualities of the light provided,

and operating life. The proposed measures are to ensure that (a) disappointments are kept

to a minimum, (b) there is minimal temptation to re-lamp with tungsten halogen lamps that

comply with the proposed MEPS but are much less efficient than CFLs, and (c) the

reputations of CFLs, and energy efficiency interventions more generally, are preserved.

Many countries regulate the lighting performance of CFLs, not just their energy efficiency,

aiming to protect inexperienced customers from inferior products that unfairly damage the

reputation of CFLs.

We have not attempted to quantitatively assess the effects of not implementing the

proposed measures or to otherwise assess the estimate the dollar value of the costs that

would be incurred if the proposed measures are not implemented. However, this issue is

included in E3’s specific requests for comment.

4.4.8 ELV converters

The proposed regulation would remove the least efficient magnetic ELVCs from the

market, requiring users to replace them with either the more efficient type of magnetic

converter or an electronic converter. The MEPS for ELVCs are scheduled for November

2010. That is a firm date, agreed with suppliers.

Calculation of energy savings

Catalogue data on the efficiency of ELVCs indicates that converters with more than 100

watts of output power will comply with the proposed MEPS – see figure 1.2. The

assessment is therefore confined to ELVCs with less than 100 watts of output power. We

assume that three levels of output power are representative – 35 watts, 50 watts and 80

watts. As indicated by figure 1.2, the non-complying ELVCs are all of the magnetic type.

Suppliers confidently expect most users to adopt the electronic technology in response to

the regulation.

The 50 watt ELVC now dominates the market. However, we assume that the associated

MEPS for ELV non-reflector lamps will strongly promote 35 watt lamps in new

construction and lighting refurbishments, which provide the main market for ELVCs.

Logically, the reduction in wattage from 50 watts to 35 watts should be attributed to the

associated lighting MEPS and the main contribution of the MEPS for ELVCs is to raise the

efficiency of 35 watt ELVCs. The relevant power savings are as follows:

o The regulation would reduce the input power of 35 watt and 50 watt ELVCs by 7.2

and 9.5 watts, respectively, if the replacement ELVC is of the electronic type.

o There are smaller reductions if the replacement ELVC is of the high efficiency

magnetic type, of 4.2 watts and 5.8 watts respectively.

o The savings are further reduced if the associated lamps are on dimmers. We do not

have good information about the effect of dimming on the efficiency of ELVCs and

Consultation RIS: MEPS for certain lamps and low voltage converters

66

have assumed that the dimming reduces ELVC efficiency by 5%. Building on

dimming assumptions for ELV lamps, the full set of assumptions is that:

􀂃 halogen downlights are dimmed by 20%, to 80% of light output at full power;

􀂃 this is associated with a 10% reduction in the efficacy of halogen downlights,

which means that dimming reduces lamp wattage by only 10%; and

􀂃 the 10% reduction is lamp wattage reduces ELVC efficiency by 5%.

The lesser market is for ELVCs with more than 50 watts of output power, and up to 100

watts. These are mainly used for ‘strings’ of 4 to 8 ELV lamps of the non-reflector type,

with individual wattages of, mostly, 10-20 watts. A single transformer of 80 watts can

provide power for, say, 4 X 20 watt lamps or 8 X 10 watt lamps. The relevant power

savings are as follows:

o The regulation would reduce the input power of an 80 watt ELVCs by 12.7 and 6.8

watts, respectively, for replacement ELVCs of the electronic and high efficiency

magnetic types.

o ELVC efficiency is reduced by 5% if the lamps are on dimmers, which is not

usually the case in these applications.

We further assume that only 5% of the conversions are to the more efficient type of

magnetic ELVC, which means that the remaining 95% deliver the larger gains associated

with electronic ELVCs. This is conservative: suppliers say that only 1% of their sales are

for more demanding installations for which electronic ELVCs are unsuitable.

The residential duty hours are set at 2.25 hours per day, consistent with the expectation that

the associated lamps are often installed in living areas.

Incremental cost of more efficient ELVCs

Figure 4.2 reports the price data that was collected for 50 watt ELVCs when E3 first

examined the potential for energy savings from ELVCs, in 2005. Conventional magnetic

converters sold for the same price as electronic converters whereas the more efficient

magnetic converters, with efficiencies of about 86%, sold at about double that price.

There were further discussions with a large Sydney wholesaler of electrical supplies in

May 2006, who reported the trade prices of conventional magnetic and electronic

converters at $12 and $7-11 respectively. We understand that, with recent rises in the price

of steel and copper, the difference in trade prices has continued to move in favour of

electronic converters. Suppliers consistently tell us that electronic converters are cheaper

than the less efficient magnetic converters. We have assumed that conventional magnetic

converters can be replaced with electronic converters at zero net cost for new installations,

and regard that as a conservative assumption.

The only contrary piece of evidence has been prices observed in a large electrical retailer

in Sydney, where most electronic models were priced around $28 (but down to $10) and

conventional magnetic converters were about $10 dollars cheaper, at $18. Whatever the

reason for the reverse relationship, we assume that electronic converters are generally

priced to reflect production costs.

In contrast, suppliers agree that a significant price premium will be paid where

conventional magnetic converters are replaced with the more efficient type of magnetic

converter.

Using the 2005 data that is reported in figure 4.2, we have assumed that:

o The less efficient type of magnetic ELVC can be replaced with an electronic ELVC

at no additional cost.

Consultation RIS: MEPS for certain lamps and low voltage converters

67

FIGURE 4.2 PRICE AND EFFICIENCY OF 50 WATT ELV CONVERTERS (E3 SAMPLE,2005)

Source: MEA 2005: page 18

o For users who are obliged to use a magnetic ELVC, less efficient type of magnetic

ELVC can be replaced with a high efficiency ELVC at the additional cost of $25.

E3 has specifically asked for comment on these cost assessments.

Financial impact

Table 4.6 reports the resulting estimates of financial impacts in the residential sector.

These indicate that:

o Annualised LCC declines for all users who replace with an electronic converter.

Average cost reductions are in the range $1.00-$1.50/converter

o Annualised LCC increases for those who are obliged to use the more efficient

magnetic converters, in the range $1.75-$2.00/converter.

o Electronic converters dominate and, on average, annualised LCC falls by

$0.87/converter.

We assessed the non-residential impacts on the assumption that there is no significant use

of halogen downlights in the industrial sector and that 90% of ELV lamps in the

commercial are not on dimmers. Allowing for longer duty hours but lower tariffs in the

commercial sector, there is a more modest increase in the annualised LCC for those

obliged to use high efficiency magnetic ELVCs ($1/converter) and larger reductions for

those who can use the electronic type ($3/converter). The weighted average reduction is

$2.89/converter.

Consultation RIS: MEPS for certain lamps and low voltage converters

68

TABLE 4.6 CHANGE IN ANNUALISED LCC: ELV CONVERTER, RESIDENTIAL

($/CONVERTER)

Lamps not on dimmers, with ELVC

replaced by …

Lamps on dimmers, with ELVC

replaced by …

Duty hours … high

efficiency

magnetic

…

electronic

Weighted

average

… high

efficiency

magnetic

…

electronic

Weighted

average

ELVC output = 35 watts

< 1 hour +$2.51 -$0.22 -$0.08 +$2.52 -$0.21 -$0.07

1-2 hours +$2.26 -$0.65 -$0.50 +$2.28 -$0.62 -$0.47

2-4 hours +$1.89 -$1.30 -$1.14 +$1.92 -$1.23 -$1.07

4-8 hours +$1.14 -$2.59 -$2.40 +$1.21 -$2.46 -$2.28

8-12 hours +$0.14 -$4.32 -$4.09 +$0.27 -$4.11 -$3.89

> 12 hours -$0.60 -$5.61 -$5.36 -$0.45 -$5.34 -$5.10

Residential average +$2.07 -$0.97 -$0.82 +$2.10 -$0.92 -$0.77

ELVC output = 50 watts

< 1 hour +$2.46 -$0.28 -$0.15 +$2.47 -$0.27 -$0.13

1-2 hours +$2.11 -$0.85 -$0.70 +$2.14 -$0.81 -$0.66

2-4 hours +$1.59 -$1.70 -$1.54 +$1.64 -$1.62 -$1.46

4-8 hours +$0.55 -$3.41 -$3.21 +$0.65 -$3.24 -$3.05

8-12 hours -$0.84 -$5.68 -$5.44 -$0.67 -$5.41 -$5.17

> 12 hours -$1.88 -$7.39 -$7.11 -$1.66 -$7.03 -$6.76

Residential average +$1.85 -$1.28 -$1.12 +$1.89 -$1.22 -$1.06

ELVC output = 80 watts

< 1 hour +$2.43 -$0.38 -$0.24 +$2.44 -$0.36 -$0.22

1-2 hours +$2.03 -$1.14 -$0.98 +$2.05 -$1.08 -$0.93

2-4 hours +$1.42 -$2.28 -$2.10 +$1.47 -$2.17 -$1.99

4-8 hours +$0.20 -$4.56 -$4.32 +$0.32 -$4.34 -$4.11

8-12 hours -$1.43 -$7.60 -$7.29 -$1.23 -$7.23 -$6.93

> 12 hours -$2.65 -$9.88 -$9.52 -$2.39 -$9.40 -$9.05

Residential average +$1.72 -$1.71 -$1.54 +$1.76 -$1.63 -$1.46

Weighted average across wattages & across lamps with and without dimmers

ELVC replaced by high

efficiency magnetic

ELVC replaced by

electronic Weighted average

< 1 hour +$2.50 -$0.23 -$0.09

1-2 hours +$2.24 -$0.68 -$0.54

2-4 hours +$1.85 -$1.37 -$1.21

4-8 hours +$1.06 -$2.74 -$2.55

8-12 hours +$0.02 -$4.56 -$4.33

> 12 hours -$0.77 -$5.93 -$5.67

Residential average +$2.05 -$1.03 -$0.87

4.4.9 Summary of financial impacts

Table 4.7 summarises the figuring reported in this section. Note that the findings are not

reported as averages per lamp, but as averages per dwelling or per million square metres of

commercial or industrial floorspace. Appendix D describes the model of lamp stocks that

has been used to aggregate savings on individual lamps to obtain the sectoral averages.

For lamps, the estimates indicate that there are net reductions in annualised LCC for all

sectors, and for most types of lighting task. The exceptions are ELV reflector lamps in the

commercial sector, for which the baseline assumption is that 90% of the lamps cannot be

either dimmed or re-lamped at a lower wattage. The averages also hide some minor cost

increases for unlikely configurations of small lamps that are replaced with tungsten

halogen lamps rather than CFLs and are on low duty and non-residential tariffs.

Consultation RIS: MEPS for certain lamps and low voltage converters

69

TABLE 4.7 CHANGE IN ANNUALISED LCC: SECTORAL AVERAGES*

Residential

(per dwelling)

Commercial

(per million sqm of

floorspace)

Industrial

(per million sqm of

floorspace)

Lamps

MV non-reflector -$25.86 -$250,986 -$14,407

MV reflector -$3.73 -$130,160 -$37,780

ELV reflector -$0.33 +$1,312 -

Total -$30 -$379,834 -$52,187

ELV converters

-$1.69 -$26,541 -

Note:

* Appendix D described the model of lamp stocks that has been used to aggregate the savings on

individual lamp types to the sectoral averages reported here.

There are also net savings for most plausible configurations of ELVCs, the exceptions

being a minority of users (less than 5% and probably about 1%) who are obliged to use the

more efficient type of magnetic converter.

Note that the timeframe for savings is quite different for lamps and ELVCs. Specifically,

the estimates for halogen down lights assume that, given the legacy of 50 watt ELVCs,

there will be relatively limited opportunities to re-lamp at 35 watts in the short to medium

term. The longer term opportunities are better, but ignored because the outlook is clouded

by the uncertain prospect of LED and CFL downlights that compete directly with halogen

downlights on price and quality. In contrast, more efficient ELVCs can only contribute

over the medium to longer term as they are applied to new construction and lighting

refurbishments. A significant contribution from ELVCs is conditional on halogen

downlights not being there substantially displaced by LED and CFL downlights.

It seems likely that these estimates will be revised somewhat with the benefit of

stakeholder comment on this consultation RIS. See the section immediately following the

Executive Summary for a consolidated list of the particular issues on which E3 requests

stakeholder comment.

4.5 Impacts on health, safety and the environment

E3 considers that there is no evidence of adverse health, safety or environmental effects

that would reverse its positive assessment of the proposed measures. This section explains

(a) the issues that have been raised in the media and otherwise put to E3, and (b) the

ongoing processes for dealing with these issues. They relate to the mercury content of

CFLs, the electrical safety of CFLs and tungsten halogen lamps, and emissions associated

with the production and distribution of CFLs. Depending on how these issues are

ultimately resolved, there may be some additional costs associated with regulatory or other

policy responses.

4.5.1 Mercury in CFLs

CFLs contain a small amount of mercury, which is a hazardous substance. People may be

exposed to mercury when fluorescent lamps are broken, usually accidentally. The mercury

in fluorescent lamps also poses a waste disposal issue.

The basic facts about mercury in CFLs are as follows:

o All fluorescent lamps contain a small amount of mercury, including the linear

fluorescent lamps that have been used for more than 50 years in commercial,

Consultation RIS: MEPS for certain lamps and low voltage converters

70

industrial and health buildings, and in ‘public assembly’ buildings like schools,

theatres and halls.

o Fluorescent lamps can be designed to operate effectively with varying amounts of

mercury, and international best practice is to limit the mercury content to the

minimum.

o The mercury content of fluorescent lamps is regulated and regulators typically

require ‘best practice’. The current Australian limit for the conventional linear

fluorescent lamp is 15 milligrams and the proposed measures would limit the

amount in CFLs to 5 milligrams. The latter is the same as in Europe. Given the

relatively small size of the Australian market, Australia does not have a realistic

option of imposing a lower maximum at the present time but this limit will be kept

under review and revised downwards when practicable.

Exposure to mercury from broken CFLs

As discussed in 3.1.4, E3 is preparing fact sheets on a number of health and environmental

issues. The fact sheets are being prepared in consultation with the Office of Health

Protection within the Australian Government Department of Health and Ageing, and are

reproduced in appendix A, in draft form. The fact sheet for mercury in CFLs explains how

users can minimise their exposure to mercury if a CFL breaks. This includes, for example,

ventilating the room, wearing rubber gloves to clean up and not using a vacuum cleaner,

because this can spread the contents of the lamp and contaminate the cleaner. Similar

guidelines are provided by industry bodies and other government agencies. These

guidelines for household clean-up are precautionary.

Some public concerns have arisen regarding the release of mercury from broken CFLs.

The concentration of mercury vapour released by a broken CFL, when measured directly

above the broken lamp, can transiently exceed international guidelines for chronic

exposures, either occupationally or in ambient (outdoor) air. The term ‘chronic’ implies

that the exposure is continuous over an extended period of years. It is not appropriate to

use chronic guideline values when assessing the possible risk from short term exposure.

The fact sheets provide summaries of the available scientific information. The fact sheet

dealing with lamp breakage concludes that the risk to human health from exposure to the

very small amounts of mercury released by CFL breakages is very low (Clear and Berman,

1993)30. Also, effective exposure to mercury as a result of being near a broken CFL or

cleaning one up is only a fraction of the exposure associated with the average daily dietary

intake of mercury as identified by the National Health and Medical Research Council

(NHMRC 1999)31.

E3 invites comment on these matters and will consider any comments in consultation with

the Office of Health Protection. Further development on this issue can be addressed

through the stakeholder information program if required.

Additional cost of cleaning up and disposing of broken lamps

People should exercise some care when cleaning up a broken CFL and this may involve

ventilating the room and wearing gloves. They should not use the vacuum cleaner because

this can spread the contents of the lamp and contaminate the cleaner. It seems impossible

to know whether this is more or less work than cleaning up after breaking a tungsten

filament lamp. There may be less work involved in cleaning up one tungsten filament but

many more breakages. This is because tungsten filament lamps are replaced at least six

times more frequently and have less value. People will probably take a bit more care in

handling a CFL.

30 Available at http://gaia.lbl.gov/btech/papers/33790.pdf

31 Available at http://www.nhmrc.gov.au/publications/synopses/d17syn.htm

Consultation RIS: MEPS for certain lamps and low voltage converters

71

Disposal of CFLs

The issues that arise in the disposal of CFLs are that:

o Waste collectors and processors are likely to be exposed to mercury as broken

CFLs enter the waste stream, and that this exposure is likely to increase as more

CFLs enter the waste stream.

o Mercury from lamps in landfills can be converted to methyl mercury. Methyl

mercury is more toxic than elemental mercury and, when emitted to air, may be a

risk to landfill workers.

o Mercury may also escape from landfills into the environment or into ground water

as leachate.

In June 2007 the Environment Protection and Heritage Council (EPHC) decided to

investigate issues associated with the disposal of CFLs. DEWHA is now working with the

Australian Council of Recyclers and other industry and government stakeholders,

gathering information on the nature and extent of problems associated with the disposal of

fluorescent lamps that contain mercury. EPHC has sought advice on whether waste CFLs

should be listed as a priority waste for national action, and expects to consider this advice

late in 2008. Depending on EPHC’s assessment of the need, some form of product

stewardship scheme may be implemented. Such a scheme would aim to safely recover

mercury from CFLs or otherwise dispose of CFLs more safely.

The present situation is that (a) E3 has no evidence that disposal issues will materially

affect its assessment of the proposed measures, and (b) it is not appropriate for E3 to

duplicate or otherwise anticipate the work of EPHC. E3 has therefore proceeded to the

consultation stage and specifically invites comment on that decision. Stakeholders may

favour delay but should take into account that:

o By the end of its life, up to 60% of the mercury in a waste CFL has been

chemically ‘locked up’ in other parts of the lamp such as the phosphor powder and

the glass.

o CFLs would contribute only an estimated 1-2% of total mercury that enters landfill.

o Health and environmental protection measures should be implemented in order of

cost effectiveness, which means that other protective measures may have a better

claim to additional resources than the management of waste CFLs.

o All types of lamps are responsible for the emission of mercury in the combustion of

fossil fuels. The contribution of a CFL to reduce emissions from that source is

actually greater than the amount of mercury in a CFL.

4.5.2 Electrical safety of halogen downlights, CFLs and dimmers

Users expect products to be designed, manufactured and installed in a manner that allows

them to be used safely. Concerns have been expressed that the proposed measures will

increase fire risks. In particular, E3 has been told that existing dimmers can be damaged

when the tungsten filament lamps are replaced either by CFLs or MV tungsten halogen

lamps, and that such damage can result in fire.

These are matters of electrical safety, relating to existing products, and the relevant

technical facts are as follows.

1. Operating temperatures of downlights: Some CFLs are not suitable for operation at

the temperatures that occur in enclosed MV downlights. However, the lamp just

has a shorter life. There is no fire hazard.

2. CFL temperatures in failure mode: Whereas a tungsten filament lamp simply stops

working when the filament finally burns out and breaks, a CFL goes through a

more complicated process at failure. The CFL may overheat in the process of trying

to re-start itself and continues to do that until failure of its electronic components.

Consultation RIS: MEPS for certain lamps and low voltage converters

72

However, the key parts of the lamp are enclosed in an insulated case and E3

understands that CFLs fail safely.

3. Damage to dimmers: Dimmers are rated for electrical loads up to their design

maximum, such as 450 watts. They become hot when overloaded and may be

damaged. This occurs when too many lamps are put on the dimmer circuit, or some

other appliance with an excessive load is connected to the circuit. Dimmers can

also be damaged in two other ways.

o The use of non-dimmable CFLs on dimmer circuits can damage the

dimmer. The user has necessarily ignored the instructions on the CFL

package, since non-dimmable CFLs are marked as such. Suppliers are

currently assessing whether it is feasible to design dimmable CFLs that

operate on most or all legacy dimmers. At this stage it is not possible to

assess the chance of success.

o E3 has been told that the use of MV tungsten halogen lamps can also

damage the dimmer, but only when the lamp fails. It is claimed that arcing

can occur under certain circumstances, causing the current to build to a

level, and last long enough, for the dimmer to be damaged.

4. Smarter lamps: The electronics in CFLs and MV tungsten halogen lamps can be

configured to further improve their safety. This would require an alteration to

standards and would increase the cost of lamps. CFLs can also be designed for long

life in recessed fittings, that is, at elevated temperatures.

The state and territory governments have primary responsibility for electrical safety but

coordinate their work through the Electric Regulatory Authority Council (ERAC). ERAC

is made up of representatives of the regulatory authorities of New Zealand and the

Australian states, territories and commonwealth, and is recognised in the electrical industry

as an authoritative voice for electrical regulators.

ERAC is aware of the proposal and E3 is now represented at meetings of the ERAC

working group on product safety. Stakeholder concerns regarding safety raised during the

public comment period on the technical discussion paper have been referred to ERAC for

consideration. E3 will continue to consult with ERAC and will take into account any

ERAC decisions regarding lighting safety as they relate to the phase-out of inefficient

lighting.

E3 welcomes members of the public to submit information relating to lighting safety and

in particular the use of CFLs and tungsten halogen lamps. This information will be

referred to ERAC for consideration.

4.5.3 Greenhouse emissions during lamp production and distribution

We have not assessed differences in the ‘embodied emissions’ of the various types of

lamps, for example, the possibility that emissions associated with the production and

distribution of CFLs exceeds the emissions associated with the production and distribution

of an equivalent number of tungsten filament lamps. Implicitly, it is assumed that the

energy consumed during use dominates the environmental impacts of lighting services. We

rely on a recent comparative study of the lifecycle environmental impacts of CFLs and

incandescent lamps under Australian conditions (Parsons 2006), based on a complete

inventory of the materials used in production. Parsons concluded that … the claimed

environment benefit of compact fluorescent lamps over incandescent lamps is largely true

and that it is true on almost any measure … (Parsons 2006: page 10). This includes a

finding that CFLs reduce the use of fossil fuels by a factor or 5 even after allowing for

energy used across the ‘cradle to grave’ lifecycle of these products.

E3 invites comment on whether further life cycle analysis of CFLs and incandescent lamps

would materially affect the assessment.)

Consultation RIS: MEPS for certain lamps and low voltage converters

73

4.6 Nationwide impacts

4.6.1 How nationwide impacts were calculated

We estimated the nationwide impacts as the difference between a ‘without specific

measures’ scenario and a ‘with specific measures’ scenario, referred to as the WoSM and

WSM scenarios hereafter. Common to both scenarios are the assumptions that:

o New households form according to ABS population projections and there is

commensurate growth of commercial and industrial floor-space. The increase from

2005 to 2020 is approximately 24%.

o There is no significant development of LED or other new technologies that would

significantly reduce the cost of more efficient lamps.

o We ignore the growth in per-capita lighting demand that would normally be

associated with increasing per-capita incomes. This is an uncertain effect and the

assumption reduces our estimate of abatement.

o We ignore the rebound effect, that is, the tendency for users to respond to

efficiency measures that reduce the cost of lighting services by consuming more

lighting services. This is also an uncertain effect but the assumption increases our

estimate of abatement.

o We ignore the apparent positive response to the announcement, on 20 February

2007, that incandescent lamps would be phased out. Import data indicate that, in

response to the announcement, CFL sales increased significantly and displaced

incandescent sales in the process. Plausibly, the announcement has given the

community the confidence and incentive to trial CFLs, and will have the practical

effect of accelerating the regulatory impact.

Baseline scenario

We developed the WoSM and WSM scenarios with reference to a baseline scenario – see

figure 4.3. The baseline scenario assumes that lamp densities and types are frozen at the

2005 levels, which means that energy consumption grows in proportion to population.

Appendix D describes the lamp stock model that we used to develop estimates of the lamp

stock for 200532.

With specific measures (WSM) scenario

We expect there to be large early responses to the proposed measures but that it will take

up to 10 years for the full impact to be realised. This is because the most intensively used

lamps will fail first and, when replaced, will make the largest contributions to total energy

savings33. But it will take several more years to replace lamps that are used less

intensively.

This accounts for the shape of the WSM scenario shown in figure 4.3, with a large

proportion of the gains achieved by 2015. Figure 4.4 provides some more detail about the

time profile of transition. There are large gains in the first two or three years after

implementation but a long tail before the process is substantially complete. The

32 The International Energy Agency has noted that the lack of comprehensive lighting end-use studies is a

severe constraint on policy analysis (IEA 2006: pages 168-172). Following IEA’s lead, we took a US model

of the lighting task (Navigant 2002) and adjusted it in a manner calculated to make that model consistent

with (a) the available Australian estimates of lighting energy consumption in both the residential and nonresidential

sectors, (b) ABS survey estimates of relating to the use of fluorescent lamps, and (c) lamp import

data.

33 Consider that the replacement of tungsten filament lamps will contribute most of the of the energy savings

and, even with low duty hours of only one hour per day, would be replaced within 3 years. The available data

indicates that 75% of the residential lighting task (lamp hours) is from lamps that operate for at least one hour

per day. Almost all commercial and industrial lighting tasks are also in this category.

Consultation RIS: MEPS for certain lamps and low voltage converters

74

FIGURE 4.3 PROJECTED ENERGY CONSUMPTION FOR LIGHTING, WITH AND WITHOUT

SPECIFIC MEASURES: AUSTRALIA

Electricity consumption (GWh)

0

5,000

10,000

15,000

20,000

25,000

30,000

35,000

40,000

2000 2002 2004 2006 2008 2010 2012 2014 2016 2018 2020

Baseline (frozen at 2005)

Without specific measures

With speciifc measures (labelling and standards)

FIGURE 4.4 REPLACEMENT OF NON-COMPLYING LAMPS AND ELVCS: % OF NONCOMPLYING

STOCK, BY YEAR

0%

5%

10%

15%

20%

25%

30%

35%

40%

2000 2002 2004 2006 2008 2010 2012 2014 2016 2018 2020

MV non-reflector - implemented 2009/2010 MV reflector - implemented 2012

ELV reflector - implemented 2010 ELVC - implemented 2010

distribution is such that half of the gains from MV lamps, both reflectors and nonreflectors,

are achieved within 18 months of implementation, and within 30 months for

ELV reflector lamps.

The phasing out of non-complying ELVCs is a slower process. The distribution is such that

it takes 10 years to achieve half of the gains and only 62% of the transition is complete by

the end of 2020. Technological developments may have made this technology redundant

by that time.

Without specific measures (WoSM) scenario

The WoSM scenario is concerned with what would happen in the absence of the specific

measures, but with carbon pricing and other non-specific measures in place. This is

uncertain, not least because the non-specific measures that will apply over the period to

2020 are uncertain. We make an arbitrary assumption that non-specific measures will

deliver 25% of the abatement projected for 2020. Energy savings accumulate linearly to

Consultation RIS: MEPS for certain lamps and low voltage converters

75

that point. This expresses the view that is put in section 1.5, which is that non-specific

measures cannot address the sectoral problems that specific measures are designed to

address.

4.6.2 Greenhouse abatement

The WoSM estimate for lighting greenhouse emissions is 29.7 Mt CO2-e/year in the first

commitment period of the Kyoto Protocol (2008-12). This is 4.9% of Australia’s total

emissions, which are projected to reach 603 Mt CO2-e/year in 2010. Note that the estimate

is for all stationary lighting tasks, not just those performed by incandescent lamps.

Figure 4.5 presents our estimates of the impact of the measures, that is, the difference

between the WoSM and WSM scenarios. The proposed measures reduce lighting

greenhouse emissions by 7.3% over the period 2009 to 2020, contributing 28.5 Mt CO2-e

to greenhouse abatement. This is a fraction of the total abatement that is planned for the

period to 2020. In 2006, for example, AGO estimated that abatement measures will deliver

about 1,330 Mt CO2-e of abatement in the period 2008 to 2020 (AGO 2006). The proposed

lighting measures would contribute about 2.1% of that total.

FIGURE 4.5 PROJECTED GREENHOUSE EMISSIONS FOR LIGHTING, WITH AND WITHOUT

SPECIFIC MEASURES: AUSTRALIA

Greenhouse emissions (Mt CO2-e)

0.0

5.0

10.0

15.0

20.0

25.0

30.0

2000 2002 2004 2006 2008 2010 2012 2014 2016 2018 2020

Baseline (frozen at 2005)

Without specific measures

With speciifc measures (labelling and standards)

4.6.3 Cost-effectiveness of abatement

Table 4.8 reports our estimates of the nationwide impacts for the period to 2020. Note that:

o The estimate of greenhouse abatement is that reported in section 4.6.2.

o The taxpayer costs and business compliance costs are as reported in sections 4.1

and 4.2.

o The change in aggregate lamp operating costs is obtained by applying the average

sectoral estimates reported in table 4.7 to estimates of the total number of

residential dwellings and the floorspace of commercial and industrial buildings.

On this figuring, the proposed MEPS satisfy the ‘no regrets’ criterion, that is, delivering

abatement at no financial cost to users. The proposals would deliver abatement of 28.5 Mt

CO2-e and simultaneously provide savings of $2,166 million. The cost of abatement is

negative, -$135/tonne CO2-e34.

34 This is the ratio of the net costs to abatement, but with the abatement also discounted to the present.

Consultation RIS: MEPS for certain lamps and low voltage converters

76

TABLE 4.8 SUMMARY STATEMENT OF NATIONWIDE IMPACTS: AUSTRALIA, 2008 TO

2020

Electricity consumption(GWh) -30,305

Greenhouse emissions (Mt CO2-e) -28.5

Financial impacts - undiscounted dollar amounts ($M)

cost to the taxpayer +7.70

business compliance costs +4.44

lamp operating costs (lamps & energy) -3,883

Financial impacts - present values ($M), discount rate = 7.5%

cost to the taxpayer +6.52

business compliance costs +2.87

lamp operating costs (lamps & energy) -2,177

Investment analysis ($M)

total costs no capital costs*

total benefits +2,167

net present value +2,167

Note

* Both lamps and energy are treated as operating costs of lighting services, which is consistent

with normal practice in facilities management. It is analytically cumbersome to treat lamps as

capital items, given their low unit cost and their relatively short and variable lives. Hence, we have

not calculated a benefit cost ratio.

4.7 Sensitivity and distributional analysis

4.7.1 Sensitivity analysis of financial impacts on users

The analysis of financial impacts (section 4.4) indicates that there are net financial benefits

for almost all plausible combinations of lamp type, lamp size and duty hours, and for most

combinations of ELVC and duty hours. The exceptions are (a) halogen downlights that

cannot be dimmed or re-lamped at a lower wattage, (b) unlikely combinations of small

lamps on low duty and non-residential tariffs, and (c) situations where conventional

magnetic converters cannot be replaced with electronic converters. However, the losses are

small relative to the gains on other lamps and ELVCs.

Inter-jurisdictional variation in the price of electricity is a further significant variable. The

estimates reported in table 4.9 indicate that, while this causes significant interjurisdictional

variation the average sectoral outcomes, there is always a significant net

reduction in annualised LCC. For example, the change in annualised LCC in the residential

sector varies from -$22/dwelling in Tasmania to -$38/dwelling in South Australia.

4.7.2 Distributional analysis

We have examined a wide range of plausible combinations of lamp type, lamp size, duty

hours of the lamp, and type of electricity tariff (residential, commercial and industrial) and

consider that there are no circumstances giving rise to adverse distributional effects. Low

income households are unlikely to have the unusual configuration of lamps that is required

to generate significant net costs, that is, many undimmable halogen downlights and no

offsetting savings from the replacement of tungsten filament lamps.

Consultation RIS: MEPS for certain lamps and low voltage converters

77

TABLE 4.9 CHANGE IN ANNUALISED LCC: SECTORAL AVERAGES, BY JURISDICTION

Residential

(per dwelling)

Commercial (per million

sqm of floorspace)

Industrial (per million sqm

of floorspace)

NSW

MV non-reflector -$28.90 -$269,836 -$14,407

MV reflector -$4.13 -$138,431 -$37,780

ELV reflector -$0.39 +$1,002 -

Total -$33 -$407,265 -$52,187

Victoria

MV non-reflector -$25.23 -$247,093 -$14,407

MV reflector -$3.64 -$128,452 -$37,780

ELV reflector -$0.32 +$1,376 -

Total -$29 -$374,168 -$52,187

Queensland

MV non-reflector -$21.56 -$224,350 -$14,407

MV reflector -$3.16 -$118,473 -$37,780

ELV reflector -$0.24 +$1,751 -

Total -$25 -$341,071 -$52,187

South Australia

MV non-reflector -$32.57 -$292,579 -$14,407

MV reflector -$4.61 -$148,410 -$37,780

ELV reflector -$0.47 +$627 -

Total -$38 -$440,362 -$52,187

Western Australia

MV non-reflector -$22.85 -$232,310 -$14,407

MV reflector -$3.33 -$121,965 -$37,780

ELV reflector -$0.26 +$1,620 -

Total -$26 -$352,655 -$52,187

Tasmania

MV non-reflector -$18.81 -$207,292 -$14,407

MV reflector -$2.80 -$110,988 -$37,780

ELV reflector -$0.18 +$2,032 -

Total -$22 -$316,249 -$52,187

Northern Territory

MV non-reflector -$24.13 -$240,270 -$14,407

MV reflector -$3.50 -$125,458 -$37,780

ELV reflector -$0.29 +$1,489 -

Total -$28 -$364,239 -$52,187

Australian Capital Territory

MV non-reflector -$20.28 -$216,390 -$14,407

MV reflector -$2.99 -$114,980 -

ELV reflector -$0.21 +$1,882 -$52,187

Total -$23 -$329,488 -$14,407

ELV converters

New South Wales -$1.89 -$28,435 -

Victoria -$1.65 -$26,149 -

Queensland -$1.41 -$23,864 -

South Australia -$2.12 -$30,720 -

Western Australia -$1.49 -$24,664 -

Tasmania -$1.23 -$22,150 -

Northern Territory -$1.58 -$25,464 -

ACT -$1.33 -$23,064 -

Consultation RIS: MEPS for certain lamps and low voltage converters

78

4.7.3 Sensitivity analysis of nationwide impacts

Table 4.10 presents a sensitivity analysis for the nationwide impacts, and represents our

subjective sense of the uncertainties. The positive assessment is not altered by any

plausible changes in underlying parameters.

The analysis indicates that the contribution to abatement is sensitive to the proportion of

CFLs that are used to replace non-complying lamps, and also to the timing of

implementation. The former may respond to policy interventions, particularly information

and labelling measures, but the latter is determined by the size distribution of duty hours

across the lighting stock. The latter indicates the possible significance of an

‘announcement effect’, that is, the effect of announcing the measures on individual

incentives and confidence to start using CFLs.

The analysis is not sensitive to plausible variations in the incremental cost of more

efficient lamps – see the final panel. This is because (a) the value of the energy used by

lamps is large relative to the cost of lamps, and (b) more efficient lamps have longer lives

than less efficient lamps, to the point where there is often little difference between the

annualised cost of more and less efficient lamps, and more efficient lamps are sometimes

cheaper on that basis.

TABLE 4.10 SENSITIVITY ANALYSIS OF NATIONWIDE IMPACTS: AUSTRALIA, 2008 TO

2020

Electricity

consumption

(GWh)

Greenhouse

emissions

(Mt CO2-e)

Operating cost

of lamps ($M)

Net present

value ($M)

Baseline

Baseline -30,305 -28.5 -2,177 2,167

Rate of adjustment

Faster adjustment – 50%

phase-out achieved in 25%

less time

-30,777 -28.9 -2,217 2,206

Slower adjustment – 50%

phase-out achieved in 25%

more time

-28,569 -26.8 -2,027 2,016

Timing of implementation

Brought forward by 1 year -33,660 -31.8 -2,516 2,505

Delayed by 1 year -27,003 -25.2 -1,865 1,854

Proportion of CFLs used to re-lamp

Reduced by half (to 25%

and 10% for MV nonreflectors

and MV reflectors

respectively)

-23,201 -21.8 -1,497 1,486

Increased by half (to 75%

and 30% for MV nonreflectors

and MV reflectors

respectively)

-37,409 -35.1 -2,856 2,845

Discount rate

10% -30,305 -28.5 -1,811 1,801

5% -30,305 -28.5 -2,640 2,628

0% -30,305 -28.5 -4,000 3,986

Incremental cost of more efficient lamps

Doubled -30,305 -28.5 -2,109 2,098

Reduced by half -30,305 -28.5 -2,211 2,201

Consultation RIS: MEPS for certain lamps and low voltage converters

79

5 Statement of compliance with national

competition policy

The National Competition Policy Agreements set out specific requirements for all new

legislation adopted by jurisdictions that are party to the agreements. Clause 5(1) of the

Competition Principles Agreement sets out the basic principle that must be applied to both

existing legislation, under the legislative review process, and to proposed legislation:

The guiding principle is that legislation (including Acts, enactments, Ordinances or

Regulations) should not restrict competition unless it can be demonstrated that:

(a) The benefits of the restriction to the community as a whole outweigh the

costs; and

(b) The objectives of the regulation can only be achieved by restricting

competition.

Clause 5(5) provides a specific obligation on parties to the agreement with regard to newly

proposed legislation:

Each party will require proposals for new legislation that restricts competition to

be accompanied by evidence that the restriction is consistent with the principle set

out in sub-clause (1).35

Therefore, all RIS must include a part providing evidence that the proposed regulatory

instrument is consistent with these National Competition Policy obligations.

No reduction in competition

We are confident that the proposed measures will not restrict competition. We understand

that there is a competitive supply of complying products from overseas factories,

particularly China. Australian suppliers can contract freely with manufactures to supply the

Australian market. No party has suggested to E3 that an existing supplier will withdraw

from the market in response to the proposed measures.

Therefore, the proposed measures are considered to be fully compliant with the National

Competition Policy.

Public benefit test satisfied

The public benefit test would be satisfied if there were a reduction in competition.

(a) Our estimates of reductions in the lifetime cost of lighting, as reported in

chapter 4, show that the benefits of such a restriction would outweigh the

costs.

(b) Our analysis of options, as reported in chapter 3, shows that there is no other

feasible means of achieving the objectives.

35 Competition Principles Agreement, Clause 5. 1995. See: www.ncc.gov.au

Consultation RIS: MEPS for certain lamps and low voltage converters

80

6 Consultation

At this stage, E3 has consulted only with lamp suppliers and retailers and with industry and

professional associations. E3 will extend the consultation process to the rest of the

community when the consultation RIS is published.

AGO’s technical consultant, Steve Beletich, has undertaken most of the consultative work.

His schedule included about 20 face-to-face meetings throughout 2007 and many more

informal contacts. The work has focused on the scope, timing and level of the MEPS, the

implementation schedule, and the methods for determining lamp performance.

The following organisations and groups have been involved:

o Lighting Council Australia

o Illuminating Engineers Society

o Standards Australia

o Lighting controls working group, Lighting Council Australia

o Lighting standards working group, Standards Australia

This work culminated in the public release for stakeholder consultation, in December

2007, of a technical report that sets out the proposal in detail (Beletich Associates 2007), as

well as the recent publication of Australian lamp and ELVC standards. Submissions to the

technical report were received from 25 organisations and individuals. Table 6.1

summarises both the issues that were raised and E3’s responses, in no particular order.

In 2008, DEWHA commenced consultations with major retailers and retailer associations

and is currently developing a communications strategy.

This consultation RIS will provide a further opportunity for stakeholders to provide

feedback.

Consultation RIS: MEPS for certain lamps and low voltage converters

81

TABLE 6.1 E3 RESPONSES TO COMMENTS ON THE DRAFT TECHNICAL REPORT

Issue Raised

Details of Submission

Response to Issue

CFLs to be

mandatory

CFLs will be made mandatory. Many submissions were based on the

perception that CFLs will be made mandatory.

As discussed in the technical report and this

RIS (section 3.1.2, page 25), efficient mains

voltage halogen lamps will continue to be

available. Such lamps are important for

situations where incompatible dimmers or

controllers are installed.

Safety issues CFLs and mains voltage halogen

lamps are subject to several

safety risks.

CFLs and mains voltage halogen lamps have

been widely available for many years, and are

subject to mandatory and industry safety

requirements. MEPS will not introduce or

mandate the use of any new lamp technology,

although it is expected to cause an increase

in the market penetration of these lamps.

E3 has referred this issue to the Electrical

Regulatory Authorities Council (ERAC) for

consideration and advice.

Education A comprehensive education

campaign is required to support

MEPS.

E3 is currently scoping an education

campaign.

MEPS level MEPS level for incandescent

lamps has been set too low.

It is difficult to set a higher MEPS level, as

currently the only dimmable lamps are

incandescent. The best available mains

voltage incandescent lamps are around 15

lm/w, which has been set as the MEPS level.

MEPS level MEPS level should be set higher

in order to encourage efficient

product development.

Australia represents around 1% of the global

lamp market, thus it is difficult for Australia to

influence global lamp development. Using

MEPS as a tool to achieve this could result in

the situation where no lamps become

available to meet MEPS.

MEPS level The market will deliver change

faster than MEPS.

If this occurs, E3 can move to increase the

MEPS level.

Marking Mark lamps (or packaging) to

better indicate efficiency

This has been flagged for further

development and is currently being discussed

with Lighting Council Australia and the

relevant standards committee.

Embedded

energy

CFLs embody more incremental

energy than they save.

There are several studies which indicate that,

in operation, CFLs save several thousand

times more energy than their incremental

embodied energy (i.e. when compared to

incandescent).

CFL suitability CFLs are unsuitable for some

applications

For such applications, mains voltage halogen

lamps will be available.

Holistic

approach

Need to take a holistic approach

and examine other measures

such as financial incentives.

E3’s objective has typically been to implement

mandatory MEPS and labelling programs for

appliances, where warranted. Financial

incentives have traditionally been designed

and implemented by individual states and

territories. We will review the impacts of the

state-based programs to see if there would be

benefits from national consistency.

Consultation RIS: MEPS for certain lamps and low voltage converters

82

Issue Raised

Details of Submission

Response to Issue

Low voltage

down lights

MEPS will increase the uptake of

low voltage down lights.

There is a slight risk that this may occur. E3

will monitor the lamp market and react if any

perverse outcomes are detected.

Low voltage

down lights

Low voltage down lights should

be targeted.

These lamps will be subject to MEPS, in order

to eliminate the least efficient models. The

large number of existing installations makes it

difficult to eliminate this lamp type entirely.

Tri-phosphor

CFL coatings

All CFLs should be tri-phosphor

coated.

MEPS for CFLs will ensure that CFL efficacy

and colour rendering attributes are adequate,

which effectively means that all CFLs will be

tri-phosphor coated or better.

CFL lifecycle

cost

CFL are expensive and not cost

effective. CFLs should be

subsidised.

CFLs are very cost effective, without

subsidies. CFL economics are fully evaluated

in this RIS.

CFL disposal CFLs contain mercury. The Department of the Environment, Water,

Heritage and the Arts is currently examining

this issue in further detail.

MEPS not

effective

MEPS is not the best way to

remove barriers to uptake of

inefficient lighting.

The relative cost effectiveness of MEPS for

lamps is assessed in this RIS. E3 believes

that MEPS is the single most cost effective

tool to increase appliance efficiency.

Converters for

low voltage

lighting

Converter losses should be

taken into account.

MEPS for these converters are outlined in this

RIS (page 27) and a technical report dated

April 2005.

Lamp wattage Lamp wattage should be capped

in order to guarantee energy

savings.

Limiting lamp wattage is prescriptive, and E3

expects that lower wattage lamps will appear

in the market (as is already occurring). If this

does not occur then E3 can consider a lamp

wattage cap.

Efficacy Efficacy (lumens per watt) is an

unsound criteria for MEPS.

Efficacy is the most accurate measure of

lamp efficiency and is used globally for MEPS

programs.

CFLs The quality of CFLs is not being

addressed.

CFLs will be subject to mandatory MEPS

which will set limits for quality attributes, as

discussed in the technical report and this RIS

(page 25).

Energy

savings

Energy savings are much

smaller than contended. Cost

savings to users are negligible.

The cost savings to individual households are

small. Collectively, however, efficient lighting

makes a significant and highly cost-effective

contribution to greenhouse gas abatement.

Dimmable

CFLs

Dimmable CFLs are available. Whilst this policy has been in its design phase

dimmable CFLs have become more widely

available but they are 3 to 4 times more

expensive than a non-dimmable product.

Decorative

lamps

There is currently no CFL

replacement for decorative

lamps.

For decorative lamps, a number of CFL and

MEPS-compliant mains voltage halogen

versions of these lamps have appeared in the

Australian marketplace. The staged

introduction of the MEPS will be reviewed

annually. Exempt lamp types will only be

included a viable, efficient alternatives

become available

CFL power

factor and

harmonics

CFL suffer from power factor and

harmonics problems.

CFL MEPS includes mandatory power factor

and harmonics compliance. The relative

stringency of these requirements is currently

being discussed by the relevant standards

committee.

Consultation RIS: MEPS for certain lamps and low voltage converters

83

Issue Raised

Details of Submission

Response to Issue

Availability of

MEPScompliant

lamps

The actual availability of MEPScompliant

lamps has not been

assessed.

Lamp suppliers (via Lighting Council

Australia) have indicated that compliant lamps

are or will be available to meet MEPS. If this

does not remain the case in future, the

proposed MEPS program allows the flexibility

to adjust MEPS levels and their timing.

Reliance on

speculative

future lamp

technologies

MEPS relies on the emergence

of technologies such as LED.

MEPS currently relies on existing (or very

near term) incandescent lamp and CFL

technologies. In future, if lamp technologies

emerge (or do not emerge), MEPS can be

adjusted accordingly. Developments in LED

and lamp technology are discussed in the

technical report for context only.

Mains voltage

halogen lamps

There is a reliance on MV

halogen lamps as a replacement

for GLS, however MV halogen

lamps will then be phased out.

MV halogen lamps will not be phased out.

Those that meet MEPS (such as have

recently been introduced to the Australian

marketplace) will continue to be available.

Dimming There is no analysis of the

impact for users who choose to

replace incandescent lamps with

(non-dimmable) CFLs on

dimmed circuits.

This would be a voluntary choice by users

and will not be mandatory. Dimmable mains

voltage halogen lamps will be available for

these situations.

Dimmers and

controllers

reduce energy

consumption

Such control equipment can

reduce energy consumption.

The objective of MEPS is to increase the

penetration of efficient lamps, not to decrease

the penetration of dimmers or controllers.

Test

methodologies

Efficacy data for low voltage

reflector lamps is highly variable.

A suitable test method for

reflector lamps is not available.

MEPS for reflector lamps was delayed in

order to allow for a test method to be

developed. An interim Australian Standard

test method has now been published and is

being trialled by test laboratories.

Light fittings Removal and replacement of

light fittings would be required.

MEPS applies only to lamps, and care has

been taken to ensure lamp compatibility with

typical existing fittings.

CFLs CFLs should not be the preferred

lamp choice.

It is the goal of MEPS to promote efficient

lamps. At this time, CFLs are the most

efficient lamps available for general lighting

purposes (undimmed).

GLS lamp

sales

Incandescent lamp sales have

more than tripled in the past

decade.

This conclusion does not take into account

the closure of ELMA lamp manufacturing

plant in 2002, which is discussed in the

technical report.

MEPS curve The source of the equation for

the MEPS efficacy curve has not

been given.

The MEPS curve is based on a best fit of the

efficacy of efficient lamps. It has been

analysed and agreed by the manufacturers of

lamps (Lighting Council Australia).

Decorative

lamps

Efficacy data for decorative

lamps has been omitted.

These lamps typically have the same efficacy

as GLS lamps.

Mains voltage

halogen lamps

MV halogen is not a suitable

replacement for GLS as it is a

directional light source.

Non-reflector MV halogen lamps are available

that meet the MEPS requirement.

Mains voltage

halogen lamps

These lamps are subject to

additional surface temperature in

common light fittings.

This does not appear to be the case for nonreflector

lamps but will be investigated further.

Consultation RIS: MEPS for certain lamps and low voltage converters

84

Issue Raised

Details of Submission

Response to Issue

Efficacy of

reflector lamps

Reflector lamps are less efficient

than non-reflector lamps and this

should be compensated for in

MEPS.

No compensation has been allowed for in

MEPS at this stage. Raw ‘downward’ efficacy

is the best true measure of efficiency for

reflector lamps.

Consultation RIS: MEPS for certain lamps and low voltage converters

85

7 Conclusion and recommended option

7.1 Assessment

The primary assessment criteria are that the measures contribute to cost-effective

greenhouse abatement. Table 7.1 reports our assessment against these criteria and various

secondary criteria.

TABLE 7.1 ASSESSMENT SUMMARY

Objective Assessment

Do the measures reduce

greenhouse emissions?

Over the period to 2020, the proposed measures would contribute 28.5Mt

CO2-e to abatement.

Do the measures reduce

the lifecycle cost of

appliances?

Over the period to 2020, the proposed measures would reduce the cost

of lighting services by $2.2 billion.

Do the measures address

market and regulatory

failures?

The measures address information failures and inertia in the market for

lamps and ELVCs, associated with lack of user understanding of lighting

as an energy cost, uncertainty about the performance of energy saving

lamps, past disappointments with the performance of energy saving

lamps, and weak incentives for builders and landlords to make lighting

decisions in the best interests of end-users.

Does the option minimise

negative impacts on

product quality and

function?

The proposal has been modified to negate a number of negative impacts

on product quality and function. Some issues need to be investigated

further, particularly the issue of adverse impacts of CFLs on the ability of

electricity network operators to remotely control street lights and off-peak

hot water systems.

Do the measures

minimise adverse effects

on suppliers?

The measures are been developed in close consultation with suppliers

and, at this stage, E3 is not aware of any issues.

7.2 Conclusions

We conclude that the proposed measures will meet the assessment criteria and that the E3

Program can proceed to finalise the measures with a high degree of confidence that the

objectives will be achieved.

7.3 Recommendations

It is recommended that the proposed measures be finalised, aiming for implementation in

November 2009.

Consultation RIS: MEPS for certain lamps and low voltage converters

86

8 Implementation and review

General administrative arrangements

The standards and labelling measures designed by E3 rely, for legal effect, on legislation in

each of the Australian states and territories. The jurisdictions have also agreed to a set of

administrative guidelines. While not legally binding, they aim to promote a uniform

approach, consistent outcomes and to minimise compliance costs. The E3 Program

released the latest guidelines in May 2005 (NAEEEC 2005). The key administrative

arrangements are:

1. The technical details of MEPS are contained in Australian/New Zealand Standards that

are incorporated by reference into the legislation of the various jurisdictions. Standards

are the same for all jurisdictions. The format and content of Standards are also familiar

to industry, as are the operations of Standards Australia and Standards New Zealand.

2. Changes to the technical detail in Standards are subject to transition periods that are

negotiated between industry and government.

3. To minimise trade barriers, E3 has a policy of adopting international standards

wherever appropriate.

4. Grandfathering arrangements are adopted, allowing reasonable time for phasing out

non-complying stock and changing labels.

5. All jurisdictions accept the registration of an appliance in another jurisdiction.

6. The regulatory agencies in each jurisdiction have targets for the timely processing of

applications.

7. Proposed changes in administrative and operating practice are subject to consultation

between the jurisdictions.

Product-specific compliance and enforcement activities

The E3 Program organises its compliance and enforcement activities as follows:

1. Compliance monitoring takes the form of a program of check testing by accredited

laboratories.

2. Equipment is selected for check testing on the basis of risk factors rather than

randomly. The risk factors are as follows:

o history of success and failure in check tests;

o age of models, with newer models given greater attention, reflecting the

prospect of longer life in the market;

o high volume sales;

o claims of high efficiency;

o complaints.

3. There are several sanctions. There is a ‘shaming’ option involving publication of failed

brands or models in the AGO annual report. The second option is deregistration by the

state authorities, subject to show cause procedures. Subsequent sale of deregistered

appliances would be a criminal offence. Re-registration of models that are subject to

MEPS is subject to new registration tests. The third option involves legal action.

4. Standard statistical criteria are applied to deal with normal variation in the performance

of equipment selected for check testing.

5. Laboratories that produce misleading tests results may also be denied further

registration business.

Consultation RIS: MEPS for certain lamps and low voltage converters

87

General monitoring and benchmarking of impacts and effectiveness

In the past the E3 Program has periodically commissioned an omnibus evaluation of

overall effectiveness. The last of these was published in June 2003 (NAEEEC 2003), titled

When you can measure it, you know something about it: Projected impacts 2000-2020.

The general aims of such an exercise are to document expected impacts, estimate costs and

benefits, and compare outcomes with earlier projections. It commits the E3 Program to

examination of the appliance register and store survey data, and comparative review of

trends in appliance efficiency.

The program has since advised industry that the 2003 exercise was the last of the omnibus

reviews and will be replaced by piecemeal reviews. The first of these will address airconditioners

and fridges. A review of arrangements for HWS has yet to be scheduled.

Annually, the E3 Program holds a consultation forum and invites stakeholders to raise

concerns about its operation and impacts.

Less frequently, the E3 Program reviews program fundamentals. The most recent exercise

of this kind was a major research-based review and scoping of future directions for a wide

range of appliance efficiency labels.

The program also takes occasional opportunities to benchmark its activities with programs

in other countries.

Regulatory review

Each Australian State and Territory has its own arrangements for review. The ‘subordinate

legislation’ acts in several states provide for the automatic revoking of regulations after 10

years. These states are Victoria, SA, Queensland and Tasmania. NSW requires that all

regulations contain sunset clauses. The remaining jurisdictions have no general

requirement but may include sunset clauses on a case-by-case basis.

All jurisdictions have some Parliamentary machinery for the systematic review of

regulations, such as a ‘Legislation Review Committee’. Arrangements for agency or interagency

review are more variable. Only Victoria has a specific body charged with

regulatory oversight, which is the Victorian Competition and Efficiency Commission. This

work is undertaken by an inter-departmental committee in NT. Otherwise, however, the

review process uses a parliamentary secretariat to raise issues and solicit public comment.

Consultation RIS: MEPS for certain lamps and low voltage converters

88

References

ABCB (2005) Proposal to Amend the Building Code of Australia to include Energy

Efficiency Requirements for Class 5 to 9 Buildings

AGO (2006) Tracking to the Kyoto Target: Australia’s Greenhouse Emissions Trends,

1990 to 2008–2012 and 2020

Allen Consulting Group (2006) The Economic Impacts of a National Emissions Trading

Scheme

Artcraft (2003) A major research-based review and scoping of future directions for

appliance efficiency labels in Australia and NZ

Artcraft (2005) Final report on a consumer research study about compact fluorescent

lamps, Report to the Australian Greenhouse Office

Artcraft (2006) Appliance performance labelling in Australia and New Zealand: final

report on a major quantitative study among consumers and retailers on the

labelling of household appliances, Report to the Australian Greenhouse Office,

August

Banerjee A & BD Solomon (2003) ‘Eco-labelling for energy efficiency and sustainability:

a meta-evaluation of US programs’, Energy Policy, V 31,109-123

Beletich and Associates (2007), Phase-out of inefficient incandescent lamps, Draft

Technical Report to the AGO, December

Bertoldi P & B Atanasiu (2006) Residential Lighting Consumption and Saving Potential in

the Enlarged EU

CaSServ (2007) Review of the electrical equipment safety system in Australia, December

Clear R and S Berman (1993) Environmental and health aspects of lighting: mercury,

presented to the IESNA 1993 Annual Conference, Houston, Texas, August 7-12

COAG (2007) Principles and Guidelines for National Standard Setting and Regulatory

Action by Ministerial Councils and Standard-Setting Bodies

DITR (2005), Costing Model: Cost Category Guide

DPMC (2004) Securing Australia’s Energy Future

DPMC (2007) Report of the Task Group in Emissions Trading

du Pont P (1998) Energy policy and consumer reality: the role of energy in the purchase of

household appliances in the US and Thailand

EES (1999) Australian residential building sector greenhouse emissions: 1999-2010,

Report to the Australian Greenhouse Office

Egan C & P Waide (2005) ‘A multi-country comparative evaluation of labelling research’,

ECEEE 2005 Summer study – what works & who delivers?

Europe Economics, Fraunhofer-ISI, BSR Sustainability & FfE (2007) Impact assessment

study on a possible extension, tightening or simplification of the framework

directive 92/75 EEC on energy labelling of household appliances

Consultation RIS: MEPS for certain lamps and low voltage converters

89

Gillingham K, R Newell & K Palmer (2006) ‘Energy efficiency policies: a retrospective

examination’, Annual Review of Environment and Resources

GWA (1991) Review of residential appliance energy labelling, Report to the State

Electricity Commission of Victoria

IEA (2003) Cool Appliances: Policy Strategies for Energy Efficient Homes

IEA (2006) Light’s labour’s lost: policies for energy-efficient lighting, OECD/IEA Energy

Efficient Policy Profiles

Jeffcott S, S Holt, M Ellis, P DuPont & K Lane (2006) Bringing order to a global

commodity - the International CFL Harmonisation Initiative: first year progress

and lessons learned

Lefevre N, P de T’Serclaes & P Waide (2006) Barriers to technology diffusion: the case of

compact fluorescent lamps, OECD/IEA

LRC (2003) Increasing market acceptance of compact fluorescent lamps, Report to the US

Environment Protection Agency, September

MEA and Beletich Associates (2005) Analysis of the Potential for Minimum Energy

Performance Standards for Power Supply Units for Extra Low Voltage Tungsten

Halogen Lighting, Report to AGO, April.

NAEEEC (1999) Future Directions for Australia’s Appliance and Equipment Energy

Efficiency Program, A discussion paper prepared by the National Appliance and

Equipment Energy Efficiency Committee, February

NAEEEC (2003) When you can measure it, you know something about it: Projected

impacts 2000-2020, June

NAEEEC (2004a) Greenlight Australia: discussion paper for improving the efficiency of

lighting in Australia, September

NAEEEC (2004b) Greenlight Australia: a strategy for improving the efficiency of lighting

in Australia, NAEEEC Report 2004/18

NAEEEC (2005) Administrative guidelines for the National Appliance and Equipment

Energy Efficiency Program of mandatory labelling and minimum energy

performance standards, May

Navigant (2002) U.S. Lighting Market Characterization, Volume I: National Lighting

Inventory and Energy Consumption Estimate, Report to the US Department of

Energy, September

NETT (2006) Possible Design for a National Greenhouse Gas Emissions Trading Scheme

NHMRC (1999) Dental amalgam and mercury in dentistry, Report of an NHMRC

Working Party

NIEIR (2002) The price elasticity of demand for electricity in NEM regions, prepared for

National Electricity Market Management Company

NSW Fire Brigade (1999) Annual Statistical report

NSW Fire Brigade (2002) Annual Statistical report

OBPR (2006), Business Cost Calculator

Consultation RIS: MEPS for certain lamps and low voltage converters

90

Opinion Dynamics (2000) Appliance sales tracking: 1999 residential survey, Report 195-

1, Energy Centre of Wisconsin (quoted by Banerjee et al 2003: page 115)

Oxera (2006) Policies for energy efficiency in the UK household sector, Report to the

Department of Environment and Rural Affairs, January

Page E & M Siminovich (1997) Photometric Assessment of Energy Efficient Torchieres,

Right Light 4, Vol 1, Lighting Systems Research Group, Lawrence Berkeley

National Laboratory Berkeley

Parson D (2006) TheEnvironmental Impact of Compact Flourescent Lamps and

Incandescent Lamps for Australian Conditions, The Environmental Engineer:

Journal of the Society for Sustainabilityand Environmental Engineering,

Institution of Engineers Australia, (Winter 2006, pg 8-14)

PC (2005) The private cost-effectiveness of improving energy efficiency.

PNNL (2006) Compact fluorescent lighting in America: lessons learned on the way to

market.

Prindle W, A Shipley & R Elliott (2006) Energy Efficiency’s Role in a Carbon Cap-and-

Trade System: Modelling the Results from the Regional Greenhouse Gas

Initiative, American Council for an Energy Efficient Economy, Report Number

E064

Wilkenfeld GL (1997) Evaluation of the Australian Appliance Energy Efficiency Program,

paper to the First International Conference on Energy Efficiency in Household

Appliances, Florence, November (quoted by du Pont 1998)

Consultation RIS: MEPS for certain lamps and low voltage converters

91

APPENDIX A: SUPPLEMENTARY INFORMATION ON THE PROPOSED REGULATION

Table A1 Types of lamp commonly used in residential applications

Table A.2 Proposed CFL performance requirements, including acceptable overseas

certification schemes

Fact sheet Photosensitive Epilepsy and Compact Fluorescent Lamps

Fact sheet Systemic Lupus Erythematosus and Compact Fluorescent Lamps

Fact sheet Ménière’s disease and Compact Fluorescent Lamps

Fact sheet Mercury in Compact Fluorescent Lamps

Fact sheet Migraines and Compact Fluorescent Lamps

Consultation RIS: MEPS for certain lamps and low voltage converters

92

Table A1 Types of lamp commonly used in residential applications, including some that are not in the scope of the regulation*

Lamp type Example Cap types Typical

wattage

Approximate

price ($A)

GLS conventional, including frosted,

clear and long-life

B22, E27 25 -100w $0.50-$1.00

GLS coloured (NOT IN SCOPE)

B22, E27 25w n. a.

GLS high wattage (NOT IN SCOPE)

B22, E27,

E40 (500w+) 150 - 1000w n. a.

Candle

B15, B22, E14,

E27 25 - 60w $1.00-$2.00

Fancy round

B15, B22, E14,

E27 25 - 60w $1.00-$2.00

Globe shaped

B22, E27 60 - 100w $1.00-$2.00

Mains voltage halogen non-reflector

lamps

E27 100 – 250w $3.00

Mains voltage halogen non-reflector

lamps, double-ended (NOT IN

SCOPE)

R7s, Fa4 60 – 1500w n. a.

Extra low voltage halogen capsule

lamps

G4, GY6,

GY6.35 5 - 100w $4.00-$10.00

Consultation RIS: MEPS for certain lamps and low voltage converters

93

Lamp type Example Cap types Typical

wattage

Approximate

price ($A)

Extra low voltage halogen reflector

lamps

GZ/GU4,

GX/GU5.3,

G53,

GZ/GU10,

BA15D/19,

B15D/24X17

15 - 100w $4.00-$5.00

R & ER

B22, E14, E27 25 - 150w $3.00-$4.00

PAR

E27 60 - 150w $5.00-$9.00

Crown silvered

E14, E27 40 - 100w $2.00-$3.00

Mains voltage halogen reflector lamps

E14, E26, E27,

GU10, GZ10,

35 - 100w $4.00-$7.00

PAR 38 coloured (NOT IN SCOPE)

E27 80w n. a.

Infra-red heat lamps (NOT IN

SCOPE)

B22, E27 250 - 375w n. a.

Pilot lamp

B15, B22, E14,

E27 15 – 40w $4.00-$5.00

Consultation RIS: MEPS for certain lamps and low voltage converters

94

Lamp type Example Cap types Typical

wattage

Approximate

price ($A)

Oven lamp, temperature resistant

E14, E27 15 – 40w $4.00-$5.00

Refrigerator lamp

E14 15w $4.00-$5.00

Heavy duty and surge resistant

$5.00-$10.00

Anti-insect lamp (NOT IN SCOPE)

B22, E27 60-100w n. a.

Double-ended tubular (NOT IN

SCOPE) S15s 30 - 60w n. a.

Note

* Suppliers should refer to the relevant standards for the exact technical specifications of the lamps that are subject to the proposed regulations. The above list

may exclude some types of incandescent lamps that are subject to the regulation.

Consultation RIS: MEPS for certain lamps and low voltage converters

95

Table A.2 Proposed CFL performance requirements, including acceptable overseas certification schemes

OR

UK Energy Saving Trust Attribute Local t (EST)

OR

Efficient Lighting Initiative (ELI)

Version 5 Version 6

Efficiency requirements

≥5 to <9 W 50

≥9 to <15 W 55

≥15 to <25 W 60

<4500 K

≥25 to < 60 W 65

≥5 to <9 W 46

≥9 to <15 W 52

≥15 to <25 W 57

Minimum efficacy in

lm/w - bare lamps

1

0.24 0.0103

F

+

Where F = initial luminous

flux in lumens

≥4500 K

≥25 to < 60 W 62

1

0.24 0.0103

F

+

Where F = initial luminous flux in lumens

≥5 to <9 W 43

≥9 to <15 W 47

≥15 to <25 W 51

<4500 K

≥25 to < 60 W 55

≥5 to <9 W 39

≥9 to <15 W 44

≥15 to <25 W 48

Minimum efficacy in

lm/w -covered lamps

0.85

0.24 0.0103

F

+

Where F = initial luminous

flux in lumens

≥4500 K

≥25 to < 60 W 53

0.85

0.24 0.0103

F

+

Where F = initial luminous flux in lumens

Minimum efficacy in

lm/w - reflector

lamps***

0.6

0.24 0.0103

F

+

Where F = initial luminous

flux in lumens

Based on minimum ‘centre beam candela efficacy’

Consultation RIS: MEPS for certain lamps and low voltage converters

96

OR

UK Energy Saving Trust Attribute Local t (EST)

OR

Efficient Lighting Initiative (ELI)

Version 5 Version 6

Light quality requirements

Colour appearance

IEC 60081 Graph D-16 for

CCT 2700. Other temps

to be approved but

following same diagram

5 CCT 2650-2800 K

IEC 60081Graph D-16 for CCT 2700.

Other temps to be approved but

following same diagram

Minimum CRI 80 80 80 80

Maximum starting time

(seconds) 2.0 1.5 * 2.0

Maximum run-up time

(min) 1.0 * * 1.0

Durability requirements

Minimum lumen

maintenance

2000 hrs = 0.88

5000 hrs = 0.80

10000 hrs = 0.75

0.8

2000 hrs = 0.88

5000 hrs = 0.80

10000 hrs = 0.75

Maximum premature

lamp failure rate 10% at 30% of rated life 10% at 30% of rated life

Minimum switching

withstand 1000 Cycles

Minimum lifetime

(hours) 6000 6000 6000 Not less than 10,000 hrs (not more

than 15,000 hrs)

Requirements relating to external impacts

Minimum power factor 0.55 (0.9 for lamps

claiming high PF) 0.5 0.55 (0.9 for lamps claiming high PF)

Consultation RIS: MEPS for certain lamps and low voltage converters

97

OR

UK Energy Saving Trust Attribute Local t (EST)

OR

Efficient Lighting Initiative (ELI)

Version 5 Version 6

Maximum mercury

content (mg) 5** * * 5

Harmonics AS/NZS 61000.3.2 AS/NZS 61000.3.2 IEC 61000.3.2

* If the lamp manufacturer chooses to adhere to ELI or EST version 5, for which starting time, run-up time and mercury content may not be specified, then the

lamp model shall comply with or exceed the local criteria for these three attributes (2.0 s, 1.0 min and 5 mg respectively).

** To be measured in accordance with AS/NZS 4782.3

*** Effective enforcement in 2010 for import and 2011 for retail.

Consultation RIS: MEPS for certain lamps and low voltage converters

98

Fact Sheet: Photosensitive Epilepsy and Compact Fluorescent Lamps

Concerns have been raised that Compact Fluorescent Lamps (CFLs) may have adverse

impacts on the health of some users. One such concern is the effects of CFL ‘flicker’ on

photosensitive epileptics.

What is photosensitive epilepsy?

Photosensitive epilepsy is the name given to epilepsy in which all, or almost all, seizures

are provoked by flashing or flickering light, or some shapes or patterns. Both natural and

artificial light may trigger seizures. Various types of seizure may be triggered by

flickering light. Photosensitive epilepsy is rare and only 5% of epileptics are diagnosed

with this form of epilepsy.

Some known triggers for people with photosensitive epilepsy are:

• Watching television or playing video games

• Having a faulty light or television that flickers

• Strobe lights

• Driving at dawn or dusk with sun shining through a line of trees

• Sun flickering on water

• Looking out of the window from a fast moving vehicle

• Geometric patterns.

The frequency of flashing light most likely to trigger seizures varies from person to person.

Generally it is between 8-30Hz or flashes per second. CFLs ‘flicker’ at a rate well above

this sensitive range (see text below) and do not pose a hazard to sufferers of photosensitive

epilepsy.

Researchers have concluded that CFLs are no more likely to be a greater risk to people

with photosensitive epilepsy than other light bulbs. For more information about

photosensitive epilepsy see www.epilepsy.org.au/photosensitivity.asp).

CFL ‘flicker’

As part of their normal operation fluorescent lamps flash on and off very rapidly - CFLs

‘flicker’ at a rate of more than 20,000 times per second, modern linear fluorescent tubes at

more than 5,000 times per second, and older style linear fluorescents at 100 times per

second. These rates of flickering are well above the level detectable by the human brain.

Occasionally, fluorescent lamps develop a fault which causes them to have may have a

noticeable flicker; these lamps should be replaced.

As the phase-out plan for the inefficient incandescent lamp is developed, the Government

will continue to consider health issues and examine options to address any significant

issues. This may include providing information about possible impacts and available

alternatives (halogen lights and filters), or specific provisions such as granting import

licences to representative groups for people with conditions associated with available

lighting products.

Consultation RIS: MEPS for certain lamps and low voltage converters

99

Fact sheet: Systemic Lupus Erythematosus and Compact Fluorescent

Lamps

Concerns have been raised that Compact Fluorescent Lamps (CFLs) can have adverse

impacts on the health of some users. One such concern is the effects of ultra-violet light

(UV) on sufferers of Systemic Lupus Erythematosus (SLE) or Lupus.

What is Systemic Lupus Erythematosus?

Lupus, in its many forms, is an auto-immune disorder characterised by chronic

inflammation of body tissues. Patients with Lupus produce antibodies that target their own

healthy tissues and organs. The causes of Lupus are not clear but, genetics, viruses,

ultraviolet light, and drugs all may play some role. Lupus is up to eight times more

common in women than men. Exacerbations or flare ups of Lupus can be induced by

exposure to sunlight.

CFLs emit very low levels of ultra-violet light and are unlikely to pose a problem for

sufferers of Lupus. All general use lamp types including the traditional incandescent bulb

emit low levels of UV light. CFLs may emit slightly higher UV levels than incandescent

globes of a similar level of (visible) light output but, UV output is still very low and is well

below international health standard guidelines. If general lighting has not previously

exacerbated the condition in an individual with Lupus it is very unlikely that CFLs would

do so.

There are rare instances recorded of prolonged exposure to bare linear (tubular)

fluorescent lights provoking Lupus in hypersensitive individuals. The use of standard

acrylic light covers or diffusers effectively eliminates any risk. Commonly used for

aesthetics and to reduce glare, light covers have been shown to reduce UV light output by

about 94 %. A recent study found that UV exposure from sitting under typical office

fluorescent lights for eight continuous hours is equivalent to just over one minute of sun

exposure (Lytle et al 1993).

As the phase-out plan for inefficient incandescent lamps is developed, the Government will

continue to consider health issues and examine options to address any significant issues.

This may include providing information about possible impacts and available alternatives

(halogen lights and filters), or specific provisions such as granting import licences to

representative groups for people with conditions associated with available lighting

products.

Consultation RIS: MEPS for certain lamps and low voltage converters

100

Fact sheet: Ménière’s disease and Compact Fluorescent Lamps

Concerns have been raised that Compact Fluorescent Lamps (CFLs) may have adverse

impacts on the health of some users. One such concern is the effects of CFL ‘flicker’ on

Ménière’s disease sufferers.

What is Ménière’s disease?

Ménière’s disease afflicts about 0.2 % of the population. It is a condition where excess

fluid in the inner ear upsets the ear’s balance and hearing mechanisms. This produces

symptoms such as vertigo (dizziness), tinnitus (ringing in the ears) and hearing loss. The

disorder usually affects only one ear and is a common cause of hearing loss.

There is no scientific evidence to suggest CFLs (or any fluorescent lights) can exacerbate

or initiate symptoms of Ménière’s disease. There are however, anecdotal reports that

sufferers of Ménière’s disease are more sensitive to flashing lights than others (because of

their impaired balance systems), and so may be more susceptible to a phenomenon known

as flicker vertigo.

Flicker vertigo

Flicker vertigo may arise from flicker rates in the range of 4-30Hz or 4 to 30 times per

second. Symptoms range from vague and non-specific feelings of unease through to

nausea, dizziness, migraines, unconsciousness, and even photosensitive epileptic seizures.

Flicker vertigo can reportedly affect anyone, but some individuals may be more susceptible

than others. Triggering events can be as simple as moving objects (such as helicopter

blades or a tree line from a moving car) intermittently obscuring the sun, creating a

flickering effect.

CFL ‘flicker’

CFLs ‘flicker’ at a rate well above that detectable by the human brain and so should not

affect Meniere’s sufferers. As part of their normal operation fluorescent lamps flash on

and off very rapidly - CFLs ‘flicker’ at a rate of more than 20,000 times per second,

modern linear fluorescent tubes at more than 5,000 times per second, and older style linear

fluorescents at 100 times per second. These rates of flickering are well above the

‘sensitive range’ for Flicker vertigo. Occasionally, fluorescent lamps develop a fault

which causes them to have may have a noticeable flicker; these lamps should be replaced.

As the phase out plan for inefficient incandescent lamps is developed, the Government will

continue to consider health issues and examine options to address any significant issues.

This may include providing information about possible impacts and available alternatives

(halogen lights and filters), or specific provisions such as granting import licences to

representative groups for people with conditions associated with available lighting

products.

Consultation RIS: MEPS for certain lamps and low voltage converters

101

Fact Sheet: Mercury in Compact Fluorescent Lamps and other mercury

bearing lamps

Do CFLs contain mercury?

All fluorescent lamps including CFLs contain very small amounts of elemental mercury.

Government and industry continue to work together to minimise the mercury content. A

new standard will be introduced for CFLs that includes a maximum mercury content

aligned with the European Commission standard at five milligrams (one two-hundredth of

a gram) per bulb. The ordinary fluorescent tubes in current use contain approximately 15

mg per tube of mercury, consistent with the Australian Standard; these have been used

safely in most commercial and public buildings in Australia and around the world for over

40 years.

To put the amount of mercury contained in CFLs in context, five milligrams g would fit on

the tip of a ball point pen. The old mercury thermometers contain approximately 500 mg

of mercury. With appropriate precautions regarding disposal in place, elemental mercury

continues to be used safely in a variety of products including lamps, watch batteries,

various medical instruments, and dental fillings.

Safe clean up and disposal guidelines

Some members of the public have expressed concerns about the release of mercury from

broken CFLs. The concentration of mercury vapour released by a broken CFL, when

measured directly above the broken lamp, can transiently exceed international guidelines

for chronic exposure in ambient (outdoor) air. The term ‘chronic’ implies that the exposure

is continuous over an extended period of years. It is not appropriate to use these chronic

guideline values when assessing possible risk from short term exposure.

The risk to human health from exposure to the very small amounts of mercury released by

CFL breakages is very low (Clear and Berman 1993, available at

http://gaia.lbl.gov/btech/papers/33790.pdf ). Also, effective exposure to mercury as a

result of being near a broken CFL or cleaning one up is only a fraction of the exposure

associated with the average daily dietary intake of mercury as identified by the National

Health and Medical Research Council (NHMRC 1999, available at

http://www.nhmrc.gov.au/publications/synopses/d17syn.htm).

However, following these simple and straightforward clean up and disposal instructions

will further minimize risk:

• Open nearby windows and doors to allow the room to ventilate for 15 minutes before

cleaning up the broken lamp

• Do not use a vacuum cleaner because this can spread the contents of the lamp and

contaminate the cleaner

• Use disposable rubber gloves rather than bare hands

• Use a disposable brush to carefully sweep up the pieces

• Use a paper towel, preferably moist, to wipe up any remaining glass fragments and

phosphor powder

Consultation RIS: MEPS for certain lamps and low voltage converters

102

• Wrap lamp remains in newspaper to provide protection from the broken glass and then

place the parcel in a bag or sealable container along with the cleaning equipment used

(i.e. gloves, brush, damp paper)

• Place in your outside rubbish bin – never in your recycling bin.

Disposal of CFLs at the end of their working life

At present, CFLs can generally be disposed of in regular garbage bins - where the garbage

goes to landfill. You should check with your local authority responsible for garbage

collection, as to their advice on disposal of CFLs as different local authorities may have

different arrangements. For example, some garbage is sent to waste processors and this

may change the arrangements for disposal. Should you choose to dispose of your CFLs

this way then it’s best to wrap them in newspaper to prevent them from breaking.

You should not place CFLs in your kerbside recycling bins because they can break during

transport and contaminate recyclable items. Several states have household chemical

collection programs or drop off points that accept CFLs for recycling. Other states are

considering introducing similar schemes.

Detailed information about disposal and recycling, developed with the assistance of the

states and territories is available at

www.environment.gov.au/settlements/waste/lamp-mercury.html.

What the government is doing about CFL disposal

The Environment Protection Heritage Council (EPHC) - which is made up of state,

territory, and Commonwealth environment ministers - is currently investigating the issues

associated with the end-of-life management (disposal methods) of CFLs.

The EPHC has consulted with industry stakeholders, including the Australian Council of

Recyclers, to gather information and to identify the nature and extent of any problems

likely to be posed by landfill disposal of CFLs. This work is ongoing, and any

recommendations resulting from this investigation will be taken into account in the

formulation of a national approach on this issue.

Less Mercury is released to the Environment through the use of CFLs

Less mercury is released into the environment from the use of CFLs than incandescent

lamps even though CFLs contain mercury. This is because burning coal to produce

electricity releases mercury from the power station. Because CFLs use only about 20% of

the electricity which incandescent bulbs use to produce the same amount of light, only

about 20% of the coal needs to be burnt and so only about 20% of the amount of mercury

is released.

Lamp Comparison

A 20 watt (W) CFL typically lasts for about 8000 hours (hrs) and uses 160 kilowatt hours

(kWh) of electricity during its use. The equivalent 100W incandescent lamp lasts typically

only 2000hrs and so four lamps are required to do the same job as the CFL. The

incandescent lamps use 800kWh of electricity. So 640kWh of electricity is avoided by

Consultation RIS: MEPS for certain lamps and low voltage converters

103

using a CFL. A CFL would be responsible for releasing about 2.7mg of mercury into the

atmosphere, whereas the equivalent incandescent would be responsible for releasing about

13.4mg of mercury.

Total amount of mercury emitted during the life of

a CFL compared to an incandescent lamp

0

2

4

6

8

10

12

14

16

100W Incandescent

lamp

20W CFL

Mercury (mg)

Mercury content in CFL

Mercury emitted from

coal power station

Figure 1: The above provides a comparison of the amount of mercury emitted into the

environment from the production and use of a CFL compared to that of an

incandescent lamp.

Consultation RIS: MEPS for certain lamps and low voltage converters

104

Fact Sheet: Migraines and Compact Fluorescent Lamps

Concerns have been raised that Compact Fluorescent Lamps (CFLs) may have adverse

impacts on the health of some users. One such concern is the effects of CFL ‘flicker’ on

migraine sufferers.

Migraine is one of the most common diseases of the nervous system. In developed

countries migraine affects about 10-15% of people. Migraines can be triggered by many

different things, including stress, exercise, certain foods, bright lights, flickering lights,

loud noises, strong smells, lack of sleep or too much sleep. In women, attacks may be

triggered by hormonal changes, for example during menstruation.

If light is suspected as the triggering event for migraines, ordinary head aches, and even

eyestrain, the primary cause is likely to be glare, highly contrasting, or inappropriate light

levels. These problems are a result of poor lighting design rather than a feature of

fluorescent lights and can occur with any lighting technology if used inappropriately.

Light fittings that enclose bulbs and distribute light evenly without compromising light

output and efficiency can help avoid these problems.

The UK migraine action association (http://www.migraine.org.uk) recommends:

• Ensuring that lighting is adequate and well positioned

• Fluorescent lighting should be properly maintained to minimize flicker

• Fluorescent lights should be fitted with the correct type of diffuser to imitate

natural daylight as much as possible

• Avoid reflected glare from shiny/polished surfaces, plain white walls etc, opt for

matt finishes and break up surfaces with pictures, posters or plants

• Fit adjustable blinds to windows.

CFL ‘flicker’

While light sources with a detectable flicker can trigger migraines in susceptible

individuals, CFLs ‘flicker’ at a rate well above that detectable by the human brain and so

should not affect migraine sufferers. As part of their normal operation fluorescent lamps

flash on and off very rapidly - CFLs ‘flicker’ at a rate of more than 20,000 times per

second, modern linear fluorescent tubes at more than 5,000 times per second, and older

style linear fluorescents at 100 times per second. Occasionally, fluorescent lamps develop

a fault which causes them to have may have a noticeable flicker; these lamps should be

replaced.

As the phase-out plan for the inefficient incandescent lamp is developed, the Government

will continue to consider health issues and examine options to address any significant

issues. This may include providing information about possible impacts and available

alternatives (halogen lights and filters), or specific provisions such as granting import

licences to representative groups for people with conditions associated with available

lighting products.

Consultation RIS: MEPS for certain lamps and low voltage converters

105

APPENDIX B: DEVELOPMENT OF AUSTRALIAN ENERGY EFFICIENCY POLICY

The Australian Government’s initial response to concerns about the environmental,

economic and social impacts of global warming was set out in the Prime Minister’s

statement of 20 November 1997, Safeguarding the Future: Australia’s Response to

Climate Change. The Prime Minister noted that the Government was seeking “…realistic,

cost-effective reductions in key sectors where emissions are high or growing strongly,

while also fairly spreading the burden of action across the economy.” He also stated that

the Government is “…prepared to ask industry to do more than they would otherwise be

prepared to do, that is, go beyond a ‘no regrets’36, minimum cost approach where this is

sensible in order to achieve effective and meaningful outcomes.” This “no regrets” test was

a key part of the guidelines adopted by the Council of Australian Governments (COAG) in

1997 that any initiative proposed by the MCE, including standards and labelling measures

under the Equipment Energy Efficiency Program, must meet.

In 1998 the Australian Government released The National Greenhouse Strategy (NGS) that

was endorsed by the Australian Government and state and territory governments and

committed them to an effective national greenhouse response. Progress under the NGS was

reported to the Council of Australian Governments (CoAG). Many key elements of the

NGS were implemented successfully, but, over time, the Australian Government identified

a range of emerging climate change priorities that required attention at the federal

government level. Similarly, there was acknowledgment that state and territory

jurisdictional boundaries necessitated state/territory level climate change action plans and

these were developed.

In 2004, the Australian Government released a new climate change strategy as articulated

through its Energy White Paper, Securing Australia’s Future, and the 2004-05

Environment Portfolio Budget. Some elements of the earlier NGS were included in the

new strategy. As a critical element of the Australian Government’s climate change

strategy, the new energy policy represented the refinement of strategic themes pursued in

relation to energy under the NGS, including energy market reform, the development of

low-emissions and renewable technologies, and improvements to end-use energy

efficiency.

Since that time, CoAG has remained the primary forum for progressing Australian, state

and territory government collaboration on climate change issues requiring interjurisdictional

attention. Significant progress has been made under the CoAG climate

change agenda since CoAG’s agreement in June 2005 to establish a new Senior Officials

Group to consider ways to further improve investment certainty for business, encourage

renewable energy and enhance cooperation in areas such as technology development,

energy efficiency and adaptation. This work culminated in the January 2006 CoAG climate

change action plan. In addition, climate change issues requiring national coordination have

been managed through a number of inter-governmental ministerial councils including the

Ministerial Council on Energy.

The Australian Government’s climate change strategy is the mechanism through which

Australia will meet its international commitments as a party to the United Nations

Framework Convention on Climate Change (UNFCCC). The Government has an overall

target of limiting Australia’s emissions in 2008-2012 to 108% of its 1990 emissions. This

is a 30% reduction on the projected “business as usual” (BAU) outcomes in the absence of

interventions.

36 The Productivity Commission has defined “No regrets” policy options as measures that … have net

benefits (or at least no net cost) in addition to addressing the enhanced greenhouse effect. A more intuitive

interpretation of ‘no regrets’ measures could be that they are actions which would still be considered

worthwhile even in the absence of concerns about the potential adverse impact of global warming. (PC 1997:

page vii). This may involve imposing additional business costs on suppliers if the resulting more efficient

products deliver a net benefit to the wider community.

Consultation RIS: MEPS for certain lamps and low voltage converters

106

Over 2006, the national policy debate over introducing a carbon price in Australia

continued with the state and territory governments proposing an emission trading scheme,

and the Australian Government holding a nuclear energy enquiry and announcing its own

emissions trading inquiry by the Task Group on Emissions Trading.

In 2007, emissions trading became a major new plank in the Australian Government’s

response to climate change. The then Government announced in that Australia will

introduce a world-class domestic emissions trading system by 2012. The new

Government, elected in December, has brought the implementation date forward to 2010.

Emissions trading will be the primary mechanism for achieving the long term emissions

reduction goal.

Emissions trading will complement existing Government actions to reduce greenhouse

gases. These include:

o improving end-use energy efficiency;

o investing in the new low emissions technologies Australia and the world will need

in the future, including renewable energy technologies and clean coal;

o supporting world-class scientific research to continue to build our understanding of

climate change and its potential impacts, particularly on our region; and

o assisting regions and industries to adapt to the impacts of climate change.

An emissions trading scheme will build on the success of past and ongoing measures.

These measures include the 2004 Energy White Paper, 2004-05 Climate Change Strategy,

earlier measures such as Measures for a Better Environment and Safeguarding the Future,

as well as new programs announced in 2006-07.

Consultation RIS: MEPS for certain lamps and low voltage converters

107

APPENDIX C: IEA REVIEW OF POLICIES FOR ENERGY EFFICIENT LIGHTING

This appendix draws on the recent IEA report that we referenced in chapter 1 (IEA 2006:

chapter 5). It provides a review of lighting policies in OECD countries and in selected non-

OECD countries.

C.1 POLICIES TO IMPROVE LIGHTING COMPONENT EFFICIENCY

Governments have applied MEPS and labelling requirements to a wide range of lighting

components since the 1970s and especially since the mid-1990s. The components include

not only lamps but also ballasts, ELVCs, luminaires37, and specific applications like street

lights and exit signs. IEA finds that there are still many gaps in the labelling and standards

program and that more work is required to provide reasonable coverage.

Australia recently introduced MEPS for ballasts and linear fluorescent lamps and, in

addition to the measures addressed in this RIS, there are plans to apply MEPS to lighting

technologies that are used for industrial and outdoor applications. Legislative impediments

to European MEPS are currently being addressed, paving the way for a more aggressive

program of MEPS.

IEA says that the main problem with MEPS, as they have been used to date, is that they

promote efficiency within product categories but do little to accelerate the phasing out of

incandescent lamps, which promises the largest gains. IEA makes particular reference to

the aggressive use of MEPS for individual products in Canada and the US, but where

overall efficacy is still held back by extensive use of incandescent lamps (IEA 2006: page

334).

IEA says labelling programs are best regarded as complementing MEPS and other

programs. There has been mandatory labelling of lamps in Europe since 1998 and it may

be responsible for the higher penetration of CFLs there, but that is not clear. Both

mandatory and voluntary labelling schemes have been used in the US since the early

1990s, with positive but not dramatic results.

It is interesting that fluorescent lamps have actually attracted more regulatory attention –

both MEPS and labelling - than the much less efficient incandescent lamps. This is partly

due to their importance in commercial settings and partly to preserve the quality of CFLs

as viable replacements for incandescent lamps. The danger is that poorly-informed users

cannot distinguish between good and bad CFLs and that an accumulation of bad

experiences with poor products will destroy the reputation of CFLs generally. Economists

refer to this as the ‘lemons’ problem. The regulation of CFLs is currently the focus of the

International CFL Harmonisation Initiative, focusing on international harmonisation of

CFL test and performance standards and aiming to reduce compliance and manufacturing

costs and ultimately reducing the price of high quality CFLs.

C.2 BUILDING CODES AND BUILDING ENERGY PERFORMANCE

CERTIFICATION

Building codes can regulate the maximum power of lighting systems that are installed in

new and refurbished buildings, with the maximum defined as watts per square metre of

floor space or watts per lumen (inverse of efficacy). Some codes require daylight and

lighting controls such as dimmers, occupancy and motion sensors. Many US jurisdictions

have adopted the lighting provisions of building codes over the last 20 years. Australia

introduced building code measures for commercial buildings in 2006 and they are about to

rationalised and more widely adopted in Europe. Queensland recently introduced a

requirement that 40% of the lamps in new houses are CFLs.

This form of regulation generally has the desirable property of setting a performance target

and allowing suppliers to determine how best to meet that target, although the prescriptive

37 A luminaire is the lamp housing that reflects and directs the light.

Consultation RIS: MEPS for certain lamps and low voltage converters

108

nature of the Queensland regulation is an exception. But its effectiveness is constrained by

(a) the relatively slow turnover of the building stock, which can take decades, (b) reversion

to inefficient products when lamps are replaced, and (c) the need for effective enforcement.

Whereas enforcement of MEPS requires the monitoring of relatively few suppliers,

enforcement of building codes requires the monitoring of many thousands of builders and

building sites.

Many countries, particularly in Europe, are mandating the use of building energy

certification (rating) schemes that are designed to provide building users (both new and

existing buildings) with information about their energy efficiency. Lighting is one of the

energy services included in such whole-of-building ratings and often one of the easiest to

upgrade when owners seek a higher rating. Similar measures are under consideration in

Australia.

C.3 MARKET TRANSFORMATION PROGRAMS

Market transformation programs usually comprise a mix of information and awareness

activities, financial incentives and procurement initiatives, aiming to simultaneously

‘create demand’ and ‘build capacity’ for higher efficiency. Program organisers typically

seek the cooperation of agents with significant ‘clout’, such as housing authorities and

other property managers in the public sector, energy utilities and large commercial and

industrial property interests. The incentive to participate is sharpest where there are there is

an associated benefit in the management of loads on congested electricity networks. In

residential applications there is more reliance on financial incentives, often outright gifts of

CFLs. The aim is to familiarise households with good quality CFLs and increase

acceptance.

IEA says that there is increasing use of financial incentive programs by the regulators of

energy markets as they seek a better balance of demand reduction and supply augmentation

responses to growing energy demands. The NSW Greenhouse Gas Reduction Scheme

(GGAS) is an example, providing a financial incentive for electricity retailers to meet their

emissions targets by installing CFLs in homes.

The problem with market transformation programs is to ensure that users do not revert to

the older technologies as soon as the program is relaxed or the particular energy

emergency passes.

C.4 IEA’S KEY FINDING - CURRENT POLICIES ARE INADEQUATE

IEA concludes that existing policy efforts … fall far short of delivering the majority of

cost-effective saving potentials available through current technology and that a great deal

more needs to be done (IEA 2006: page 480). This is a major global issue: lighting

accounts for 19% of electricity use and there is potential to reduce that by 40%. There is a

need to define clear policy objectives. IEA identifies the phasing out of inefficient

incandescent lamps as one such objective, amongst a raft of objectives covering procedures

for determining lighting requirements, awareness of end-users and capacity of suppliers,

upgrading of lighting technology, and objectives for emerging economies.

Regarding the replacement of incandescent lamps with CFLs, IEA considers that key

factors are to reduce the price differential and preserve the quality of CFLs by eliminating

inferior products. IEA noted that the time is approaching for MEPS that effectively ban

tungsten filament lamps, given reductions in price, improvements in light quality, and

much improved compatibility between CFLs and existing fixtures.

IEA (2006: pages 517-520) recommends adoption of mandatory energy performance

requirements for lighting systems in all lighting end-uses38. Performance-based regulation

means that components that do the same job are subject to the same requirements.

38 This is the first of 10 recommendations. The other nine relate to the importance of building codes and their

enforcement, building energy performance certification, comprehensive labelling and information activities,

Consultation RIS: MEPS for certain lamps and low voltage converters

109

APPENDIX D: MODELLING OF LAMP STOCKS, ENERGY USE AND GREENHOUSE EMISSIONS

This account of the modelling approach is organised under is organised under 3 headings:

o Statement of the accounting framework

o Explanation of the baseline estimates, describing the state of play in 2005

o Explanation of the WPM estimates, as if imposed on the 2005 lighting task

The discussion is mainly in terms of the energy used for lighting. Greenhouse emissions

are calculated by applying standard measures of greenhouse intensity to the estimates of

energy use.

D.1 ACCOUNTING FRAMEWORK

The production of light is measured in lumens, which is a measure of the amount of

visually useful radiation that is emitted by the lamp. The common 60 watt globe emits

about 750 lumens, and a 500 watt ‘torchiere39’ lamp emits about 9,500 lumens.

The amount of light that a lamp emits over a period of time is measured in lumen-hours.

For example, a 60 watt globe that operates for 100 hours per year is said to provide 75,000

lumen-hours/year (= 750 * 100).

Given the amount of light produced, the amount of energy used by the lamp is determined

by the energy efficiency of the lamp. This called the ‘efficacy’ of the lamp and is measured

as the ratio of the lamp’s light output (lumens) to the lamp’s rate of energy input (wattage).

For example, a 60 watt globe has an efficacy 12.5 lumens/watt (= 750/60) and will use 6

kWh of electricity over a year [= 75,000/(12.5 *1,000)].

These relationships can be expressed as follows.

( )

( )

( :103 )

E annual energy used by lamp i kWh

e efficacy of lamp i lumens per watt

G annual light provided by lamp i kLh lumen hours

i denotes lamp i

where

e

G

E

i

i

i

i

i

i

=

=

= −

=

With the exception of lamps on dimmable circuits, lamps emit light at a fixed rate and use

energy at a fixed rate. Given the lighting installation for a particular space, the amount of

light provided to a particular space can then be governed by switching some or all of the

lights off.

The following terminology is used for the total amount of light emitted by all lights.

selective market-transformation initiatives, removal of barriers to the efficient operation of energy service

providers, R&D support and work with developing countries.

39 The torchiere lamp is a standing lamp that shines powerful light up onto the ceiling and lights the space

with the reflected glow.

Consultation RIS: MEPS for certain lamps and low voltage converters

110

( )

( , 10 )

1,000,000,000

9

1

1

E aggregate annual energy used by all lamps GWh

G aggregate annual light provided by all lamps GLh lumen hours

N total number of lamps

where

e

E G

G

G

N

i i

i

N

i

i

=

= −

=

=

=

Σ

Σ

=

=

D.2 BASELINE ESTIMATES, 2005

The baseline estimate is that, in 2005, Australians consumed 1,366,182 GLh of light for

stationary purposes, that is, excluding vehicle lights. There are four broad categories of

stationary lighting task – residential, commercial, industrial and outdoor. The outdoor

lighting task includes traffic lights, street lighting and other forms of public lighting,

airfield lighting, billboards and parking lots).

Table D.1 shows the corresponding estimates of energy use and greenhouse emissions, and

the per-capital equivalents.

These estimates have been obtained by adapting a US model of the lighting task and

lighting energy use40. This was a 4-stage process.

Table D.1 Baseline estimates of lighting output and electricity use, 2005

Aggregate Per capita

Production of light GLh MLh

Residential 90,142 4.5

Commercial 744,632 37.2

Industrial 297,698 14.9

Outdoor 233,710 11.7

Total 1,366,182 68.3

Lighting electricity use GWh kWh

Residential 5,146 257

Commercial 15,715 786

Industrial 4,636 232

Outdoor 2,736 137

Total 28,233 1,412

Greenhouse emissions Mt kg

Residential 4.70 235

Commercial 14.35 718

Industrial 4.23 212

Outdoor 2.50 125

Total 25.78 1,289

40 This was the approach adopted by the International Energy Agency (IEA) for its recent report on the global

lighting task and policies for energy efficient lighting (IEA 2006).

Consultation RIS: MEPS for certain lamps and low voltage converters

111

Stage 1 - model Australian lighting task on an ‘equivalent US’ basis

We first calculated the Australian lighting task on an ‘equivalent US’ basis, as follows:

1. We obtained the US ‘sectoral matrices’ for each of the 4 sectors – residential,

commercial, industrial and outdoor. These matrices are estimates of per-building

averages of the number of lamps, average daily operating hours, average wattage

and average lamp efficacy, but broken down by lamp type. There are 35 lamp

types, 7 incandescent, 16 fluorescent, 6 high intensity discharge types and 2 solid

state types. (There are no outdoor buildings of course and the outdoor matrix

contains the total for outdoor lamps.)

2. We obtained the US estimates of total buildings in each sector - 107 million

residential, 4.7 million commercial, 0.23 million industrial and 1 outdoor

‘building’.

3. Total US light production and lighting energy use can be calculated from items 1

and 2. These aggregates are 38,445,000 GLh/year of light and 765,000 GWh/year

of electricity. The per-capita equivalents are 1,200 MLh/year and 2,400 kWh/year.

4. We reduced the 35 lamp categories to 11 categories, largely by combining the

linear fluorescent categories onto one, and recalculated the sectoral matrices to

ensure the new values for average hours, wattage and efficacy were appropriately

weighted. We cross-checked by reproducing the US aggregates. The resulting

categories are as follows:

INCANDESCENT

Tungsten filament - non-reflector

Tungsten filament - reflector

MV tungsten halogen - non-reflector

MV tungsten halogen - reflector

ELV tungsten halogen - non-reflector

ELV tungsten halogen - reflector

FLUORESCENT

Linear

CFL - non-reflector

CFL - reflector

OTHER

HID

SSL

5. AGO’s technical advisor, Steve Beletich, advised on appropriate adjustments the

US estimates of lamp efficacy, allowing for the fact that residential voltage is lower

in the US (120 V compared with 240 V in Australia) and some lamps are more

efficient at lower voltages. His advice was informed by a review of lamp efficacies

for a sample of lamps on the Australian market, using both catalogue sources and

the results of an on-going testing program commissioned by the AGO. This work is

reported in a technical report to the AGO (Beletich and Associates, 2007).

6. It is then a relatively simple matter to calculate the Australian lighting task on an

‘equivalent US’ basis.

o The average US residential lighting task was married with ABS projection

for the number of Australian households, but adjusted to take account of

minor differences between the household and dwelling counts41.

o The sectoral matrices for the commercial and industrial sectors were recalibrated

to be expressed as amounts per million square meters of floorspace,

rather than ‘per building’ as in the US model. This is because we

have projections for Australia’s stock of commercial and industrial floorspace,

documented in a RIS published by the Australian Buildings Code

41 There are somewhat more dwellings than households. Each census records about 10% more dwellings

(unoccupied) than households.

Consultation RIS: MEPS for certain lamps and low voltage converters

112

Board (ABCB 2005). The average US commercial and industrial lighting

tasks were then married with these projections.

o The Australian outdoor lighting task was set at one fifteenth of the

corresponding US task, which is roughly in proportion to population.

However, it is apparent that the ‘equivalent US’ estimate is too high. Consider that:

o A series of energy end-use studies in the late 1980s and early 1990s estimated

Australian residential lighting energy at 500-600 kWh/year42. The corresponding

US figure is 1,946 kWh and, even allowing for considerable growth since the enduse

studies were conducted, seems too high.

o The US study estimates that there are 43 lamps in the average US dwelling,

including 34 of the tungsten filament type. Intuitively, those figures are too high for

the average Australian home of 3 or 4 bedrooms. There is supporting data. On

average, CFL replacement programs are finding about 20 tungsten filament lamps

in the average Australian home43 and that is likely to be an overestimate because

participation in such programs is more attractive to households with large lighting

tasks and because it more difficult for operators to gain access to the smaller

dwellings in apartment buildings. Also, most estimates for the more developed non-

US economies are in the range 15-30 lamps per dwelling and average about 24

lamps per dwelling44.

o A 1999 study commissioned by the AGO (EMET 1999) provides estimates of the

lighting energy used in the commercial building sector, with projections to 2010.

Interpolation suggests a figure of about 640 kWh per capita in 2007, compared with

a US figure of 1,230 kWh per capita.

o There may similar differences for the industrial and outdoor sectors. These are of

less significance in the present context, since they account for small proportion of

the lamps under consideration, for example, about 3% of the lamp-hours for lamps

of the tungsten filament type.

While we know that that the ‘equivalent US’ estimate is too high, there is currently no

objective data on which to base an Australian estimate. It is necessary to rely on a

combination of expert judgment and scraps of evidence that can be gleaned from lamp

suppliers and installers, and then to reconcile the tally across all sectors with the import

data and with data from comparable countries.

Stage 2 – develop Australian 2005 residential model

Table D.2 presents the sectoral matrix for the Australian residential sector. For the average

dwelling it gives an account of the number of the average number of lamps, hours of

operation, efficacy and wattage. Light output and energy input are derived from these

variables and are reported in the last two columns. The key matters of judgment were

determined in stages, as follows:

1. It is assumed that there were 20 lamps in the average household. Of these, the

average dwelling had 2.6 lamps on dimmer circuits and 17.4 lamps on switch

circuits.

2. Of the 2.6 lamps on dimmer circuits, it is assumed that 94% were ELV halogen,

4% were tungsten filament and 2% were MV tungsten halogen.

3. Of the 17.4 lamps on switch circuits it is assumed that

o 2.4 were linear fluorescent and one is a CFL. These settings are suggested

by ABS estimates (Cat 4602.0) of the average number of rooms that had

42 This data is reviewed in appendix G of the AGO commissioned baseline study of residential energy use

(EES 1999).

43 This estimate is based on informal advice from staff of the NSW Greenhouse Gas Reduction Scheme.

44 This observation is based on a review of the data in Bertoldi et al 2006.

Consultation RIS: MEPS for certain lamps and low voltage converters

113

fluorescent and energy saving lights, but with the further assumption that

there were two such lamps per room.

o There were 1.75 tungsten halogen lamps, .5 on mains voltage and 1.25 on

low voltage.

o The remaining lamps (12.25 per dwelling) are tungsten filament.

4. The proportion of reflector lamps was determined as follows: tungsten filament –

9%; MV tungsten halogen – 60; ELV tungsten halogen – 70%; CFL 5%.

5. The average residential duty hours is 1.9 hours per day, with tungsten filament

lamps on 1.5 hours and CFLs assumed to be on relatively high duty of 2.75

hours/day. Tungsten halogen lamps were put at intermediate duty, 1.85 hours/day

for mains voltage lamps and 2.25 hours for ELV lamps.

It is assumed that the average household had 3 lamps that are out of scope, 2.4 linear

fluorescent lamps and 0.6 tungsten filament lamps with 150 or more watts.

The key points of difference between the US and Australian models are the number of

lamps and the average hours of operation. There are 53% fewer lamps in the Australian

household – 20 in Australia compared with 43 in the US. The average hours of operation

are 5% lower, at 1.9 hours per day in Australia compared with 2.0 hours per day in the US.

Lighting energy consumption is estimated at 684 kWh for the average Australian dwelling

in 2005. This is somewhat higher than the estimates from the 15 years ago, which were in

the region of 500-600 kWh per year.

Consultation RIS: MEPS for certain lamps and low voltage converters

114

Table D.2 Residential lighting matrix: average Australian dwelling, 2005

Number of

lamps/ELVCs

Average lamp

hours

Efficiency

(lamps, lumens/w)

(ELVCs, %)

Average

wattage

Average light

(kLh)

Average energy

(kWh)

SWITCH CIRCUITS (per dwelling)

Tungsten filament ‐ non‐reflector 11.17 1.50 10.7 62.8 4,118.5 383.9

Tungsten filament ‐ reflector 1.06 1.50 9.7 79.5 449.4 46.2

MV tungsten halogen ‐ non‐reflector 0.20 1.80 12.3 69.5 112.5 9.2

MV tungsten halogen ‐ reflector 0.30 1.80 11.7 65.8 153.2 13.0

LV tungsten halogen ‐ non‐reflector 0.99 2.25 13.7 20.0 223.1 16.3

LV tungsten halogen ‐ reflector 0.26 2.25 14.1 50.0 150.6 10.7

Linear 2.40 2.75 70.0 30.0 5,058.9 72.3

CFL ‐ non‐reflector 0.95 2.75 51.2 12.5 608.7 11.9

CFL ‐ reflector 0.05 2.75 32.0 24.1 38.8 1.2

HID ‐ ‐ ‐

SSL ‐ ‐ ‐

ELVCs for reflector lamps 0.25 2.25 84.3% 93.7 ‐ 3.0

ELVCs for non‐reflector lamps 0.25 2.25 83.3% 62.5 ‐ 2.1

All lamps 17.38 1.81 19.2 49.7 10,914 570

DIMMER CIRCUITS (per dwelling)

Tungsten filament ‐ non‐reflector 0.06 2.25 9.4 56.7 24.7 2.6

Tungsten filament ‐ reflector 0.06 2.25 8.7 70.6 28.2 3.2

MV tungsten halogen ‐ non‐reflector 0.02 2.25 10.5 58.8 11.3 1.1

MV tungsten halogen ‐ reflector 0.03 2.25 10.5 58.7 17.0 1.6

LV tungsten halogen ‐ non‐reflector 0.11 2.25 12.3 17.8 19.8 1.6

LV tungsten halogen ‐ reflector 2.34 2.25 11.8 42.4 963.9 81.4

Linear ‐ ‐ ‐

CFL ‐ non‐reflector ‐ ‐ ‐

CFL ‐ reflector ‐ ‐ ‐

HID ‐ ‐ ‐

SSL ‐ ‐ ‐

ELVCs for reflector lamps 0.03 2.25 79.8% 88.3 ‐ 0.4

ELVCs for non‐reflector lamps 2.25 2.25 78.7% 55.9 ‐ 22.0

All lamps 2.62 2.25 9.3 53.0 1,065 114

Consultation RIS: MEPS for certain lamps and low voltage converters

115

Number of

lamps/ELVCs

Average lamp

hours

Efficiency

(lamps, lumens/w)

(ELVCs, %)

Average

wattage

Average light

(kLh)

Average energy

(kWh)

ALL CIRCUITS (per dwelling)

Tungsten filament ‐ non‐reflector 11.22 1.5 10.7 62.8 4,143.2 386.5

Tungsten filament ‐ reflector 1.12 1.54 9.7 78.9 477.5 49.5

MV tungsten halogen ‐ non‐reflector 0.22 1.85 12.1 68.2 123.8 10.3

MV tungsten halogen ‐ reflector 0.34 1.85 11.6 64.9 170.2 14.7

LV tungsten halogen ‐ non‐reflector 1.10 2.25 13.6 19.8 242.9 17.9

LV tungsten halogen ‐ reflector 2.60 2.25 12.1 43.1 1,114.5 92.1

Linear 2.40 2.75 70.0 30.0 5,058.9 72.3

CFL ‐ non‐reflector 0.95 2.75 51.2 12.5 608.7 11.9

CFL ‐ reflector 0.05 2.75 32.0 24.1 38.8 1.2

HID ‐ ‐

SSL ‐ ‐

ELVCs for reflector lamps 0.28 2.25 83.9% 93.2 ‐ 3.4

ELVCs for non‐reflector lamps 2.50 2.25 79.2% 56.6 ‐ 24.1

All lamps 20.0 1.9 17.5 50.2 11,978 684

Consultation RIS: MEPS for certain lamps and low voltage converters

116

Stage 3 – develop Australian non-residential models

Table D.3 presents the sectoral matrices for the three non-residential sectors – commercial,

industrial and outdoor.

These settings have been obtained by applying adjustment factors to the US model,

designed to reduce the sectoral estimates of lighting energy to plausible levels, particularly

for the commercial sector. Most of the adjustment was achieved by reducing the average

number of lamps per square meter of floor-space and the average hours of operation – to

80% of their US levels. These adjustments are arbitrary but we note that Australia is one of

several countries with industry standards that recommend relatively low illuminance levels

(IEA 2006: page 85). Recommended illuminance levels in the US tend to be ‘middle of the

range’ compared with other countries.

We reduced the hours for tungsten filament lamps to 64% of the US level. One implausible

feature of the US model is that the tungsten filament lamps have duty hours that are very

similar to other types of lamps. Intuitively, it seems reasonable to expect that the relatively

inefficient types of lamp (like tungsten filament) will tend to be restricted to tasks with

lower duty hours.

We also adjusted the floor-space estimate and the average lamp wattages, reducing both to

90% of the US level.

The effect of these adjustments is to preserve the mix of non-residential lighting that has

been estimated for the US but to restrict overall numbers and usage to more plausible

levels. The Australian figure for the commercial sector is about 797 kWh per capita, which

is comparable with the estimate of 640 kWh implied by the EMET study of 1999.

Consultation RIS: MEPS for certain lamps and low voltage converters

117

Table D.3 Non-residential lighting matrices: 2005

Number of

lamps/ELVCs

Average lamp

hours

Efficiency

(lamps, lumens/w)

(ELVCs, %)

Average

wattage

Average light

(kLh)

Average energy (kWh)

COMMERCIAL (per million square meters of floor‐space)

Tungsten filament ‐ non‐reflector 32,882 6.7 10.9 77.7 67,913,201 6,221,545

Tungsten filament ‐ reflector 11,705 6.2 10.2 93.6 25,362,560 2,482,511

MV tungsten halogen ‐ non‐reflector 1,414 7.6 12.4 91.3 4,437,868 357,914

MV tungsten halogen ‐ reflector 1,696 6.2 11.8 70.0 3,176,980 269,042

LV tungsten halogen ‐ non‐reflector 3,128 8.2 13.7 20.0 2,581,590 188,148

LV tungsten halogen ‐ reflector 14,259 8.2 14.1 50.0 30,223,073 2,144,303

Linear 154,809 7.7 70.0 40.2 1,220,396,565 17,434,237

CFL ‐ non‐reflector 16,934 6.8 53.2 15.0 33,705,025 633,395

CFL ‐ reflector 546 6.6 26.6 14.4 503,247 18,926

HID 3,824 8.1 58.2 363.6 238,708,088 4,100,361

SSL 219 18.4 18.9 4.5 125,066 6,604

ELVCs for reflector lamps 792 8.2 83.9% 94.2 ‐ 36,201

ELVCs for non‐reflector lamps 13,711 8.2 82.8% 62.8 ‐ 445,367

All lamps 241,415 7.5 47.4 52.3 1,627,133,264 34,338,553

INDUSTRIAL (per million square meters of floor‐space)

Tungsten filament ‐ non‐reflector 885 11.2 9.2 83.5 2,767,073 301,538

Tungsten filament ‐ reflector 792 8.6 10.1 91.8 2,307,369 227,518

MV tungsten halogen ‐ non‐reflector 1,242 11.2 12.4 57.6 3,616,761 291,693

MV tungsten halogen ‐ reflector 3,725 8.6 11.8 70.0 9,638,193 816,210

LV tungsten halogen ‐ non‐reflector ‐ ‐ ‐

LV tungsten halogen ‐ reflector ‐ ‐ ‐

Linear 171,813 10.8 70.0 43.3 2,043,187,562 29,188,394

CFL ‐ non‐reflector 1,564 9.4 57.8 20.3 6,262,496 108,390

CFL ‐ reflector 130 6.1 25.3 12.6 93,031 3,683

HID 8,733 11.1 58.2 382.5 789,264,704 13,557,437

SSL 39 18.7 18.9 4.5 22,770 1,202

ELVCs for reflector lamps ‐ ‐

ELVCs for non‐reflector lamps ‐ ‐

All lamps 188,922 10.7 64.2 60.2 2,857,159,958 44,496,065

Consultation RIS: MEPS for certain lamps and low voltage converters

118

Number of

lamps/ELVCs

Average lamp

hours

Efficiency

(lamps, lumens/w)

(ELVCs, %)

Average

wattage

Average light

(kLh)

Average energy (kWh)

OUTDOOR (all of Australia)

Tungsten filament ‐ non‐reflector 758,341 5.1 11.6 102.5 1,691,254,160 145,261,791

Tungsten filament ‐ reflector 98,917 4.6 10.5 100.0 174,196,578 16,637,002

MV tungsten halogen ‐ non‐reflector 129,374 5.1 13.6 80.0 262,510,361 19,341,876

MV tungsten halogen ‐ reflector 194,060 4.6 13.1 100.0 427,485,198 32,639,416

LV tungsten halogen ‐ non‐reflector ‐ ‐ ‐

LV tungsten halogen ‐ reflector ‐ ‐ ‐

Linear 126,267 8.6 60.8 134.9 3,265,798,036 53,732,068

CFL ‐ non‐reflector 6,313 8.6 57.8 20.3 23,304,198 403,345

CFL ‐ reflector ‐ ‐ ‐

HID 3,661,000 9.0 92.3 204.3 227,861,545,657 2,467,910,413

SSL 6,400 5.6 20.0 13.5 3,532,032 176,602

ELVCs for reflector lamps ‐ ‐

ELVCs for non‐reflector lamps ‐ ‐

All lamps 4,980,672 8.07 85.4 186.6 233,709,626,220 2,736,105,512

Consultation RIS: MEPS for certain lamps and low voltage converters

119

Stage 4 – check for consistency with import and sales data

Given an account of the lamp stock, it is possible to estimate the annual re-lamping task

and compare that with ABS estimates of annual lamp imports. The only additional data

required are estimates of average lamp life. This exercise is reported in table D.4.

Inspect table D.4 to see that we have extracted estimates of total lamp hours from the stock

model and, by dividing by typical lamp lives, have obtained estimates of the annual relamping

task. These calculations suggests that there would need to be annual lamp imports

of 138.9 million to maintain the estimated stock of incandescent and fluorescent lamps,

including 93.5 million lamps of the tungsten filament type.

Lamp imports have averaged 135.5 million/year over the last several years, close to the relamping

requirement of the stock model. The mix of lamps is also about right, except that

there is noticeable deficit for tungsten-filament lamps of the non-reflector type, and an offsetting

surplus in the imports of CFLs. This is because the mix of lamps is changing.

Specifically, tungsten filament lamps are not being replaced at the rate that is needed to

maintain their share of the lamp stock, and CFLs are being installed at a rate that will

increase their share of the lamp stock.

Figure D.1 shows trends in lamp imports over the last decade. (Note that the series for

tungsten filament and linear fluorescent lamps is for the period 2003 to 2006. There was

significant domestic production of these lamps prior to 2003 which means that the earlier

import data is misleading.) There has been strong growth of the three minor technologies

over this period, with average annual growth of 7.4% for both MV and ELV tungsten

halogen lamps and 19.4% for CFLs. This suggests that there should be surplus imports for

the tungsten halogens as well. However, close examination of chart D.1 shows tungsten

halogen imports have flattened over recent years and that CFL imports have accelerated at

the same time.

On this basis, we consider that our lighting stock model is consistent with the import data.

It should be noted that we kept an eye on this reconciliation task and have modified the

stock parameters in a manner calculated to eliminate obvious inconsistencies.

Table D.4 Comparison of re-lamping task with imports

Number of lamps (millions)

Annual

lamp hours

(millions)

Average

lamp life

(hrs)

Annual relamping

task

Annual lamp

imports (Av.

2004 to 06)

Annual

import

deficit

Tungsten filament ‐ non‐reflector 84,810 1,000 84.81 74.14 ‐10.7

Tungsten filament ‐ reflector 17,284 2,000 8.64 7.64 ‐1.0

MV tungsten halogen ‐ non‐reflector 3,478 2,000 1.74 1.89 0.1

MV tungsten halogen ‐ reflector 5,217 2,000 2.61 2.84 0.2

ELV tungsten halogen ‐ non‐reflector 11,103 3,000 3.70 3.80 0.1

ELV tungsten halogen ‐ reflector 35,703 3,000 11.90 12.10 0.2

Linear fluorescent 287,337 15,000 19.16 19.66 0.5

CFL 28,075 6,000 4.68 13.44 8.8

Total 473,008 137.24 135.51 ‐1.7

Source: AGO lamp stock model for re-lamping task. Import data from ABS

Consultation RIS: MEPS for certain lamps and low voltage converters

120

Figure D.1 Australian lamp imports (millions/year)

0.0

10.0

20.0

30.0

40.0

50.0

60.0

70.0

80.0

90.0

100.0

1996 1997 1998 1999 2000 2001 2002 2003 2004 2005 2006 2007

Tungsten filament

MV tungsten halogen

LV tungsten halogen

Linear fluorescent

CFL

Source: ABS data consultancy, but with partial data for 2007 (to October 2007) converted to an

annual figure on a pro rata basis.

D.3 ‘WITH SPECIFIC MEASURES’ (WSM) ESTIMATES, 2005

Table D.4 reports estimates of how the 2005 lighting task would have been carried out if

users had been required to comply with the proposed MEPS in 2005. The efficacy and relamping

assumptions are those described in the sections of the RIS dealing with user

impacts – see section 4.4. The figuring is hypothetical, since it ignores the fact that the

implementation of MEPS will take time, but it provides a snapshot of the major impacts.

Table D.4 WSM estimates of lighting output and energy use, 2005

Change relative to baseline

Aggregate Per capita

Aggregate %

Lighting energy use GWh kWh GWh

Residential 3,472 174 -1,674 -32.5%

Commercial 14,051 703 -1,663 -10.6%

Industrial 4,585 229 -52 -1.1%

Outdoor 2,692 135 -44 -1.6%

Total 24,800 1,240 -3,433 -12.2%

Greenhouse emissions Mt kg

Residential 3.17 159 -1.53 -32.5%

Commercial 12.83 642 -1.52 -10.6%

Industrial 4.19 209 -0.05 -1.1%

Outdoor 2.46 123 -0.04 -1.6%

Total 22.65 1,132 -3.14 -12.2%

Consultation RIS: MEPS for certain lamps and low voltage converters

121

APPENDIX E: TRIAL STATEMENT OF ABATEMENT VALUATIONS THAT WILL BE INCLUDED IN

FUTURE IMPACT ASSESSMENTS

The potential impact of an Australian emissions trading scheme (ETS) on the benefit-cost

ratio is assessed in this appendix. Hence the RIS should take into account the increased

benefits due to the avoided cost of carbon permits for electricity generators, which will

result from the proposed MEPS reducing the consumption and generation of electricity at

the margin. These valuations were trialled in an earlier RIS (EnergyConsult 2007) dealing

with proposed MEPS for chillers. The same methodology is applied here, with the results

reported in table E.1.

Table E.1 Abatement valuations for Australia

Discount rate 0% 5% 7.5% 10%

Carbon permit price = $0/t CO2-e

Total Costs ($M) No capital costs

Total Benefits ($M) 3,988 2,630 2,167 1,802

Net Benefits ($M) 3,988 2,630 2,167 1,802

Cumulative Mt CO2-e

Abatement (2008 -2020) 28.5

Carbon permit price = $10/t CO2-e

Value of greenhouse

abatement ($M) 284.6 187.8 154.9 128.8

Net Benefits ($M) with

greenhouse abatement

included

4,272.1 2,817.5 2,322.1 1,931.1

Carbon permit price = $20/t CO2-e

Value of greenhouse

abatement ($M) 569.1 375.6 309.7 257.7

Net Benefits ($M) with

greenhouse abatement

included

4,556.7 3,005.4 2,476.9 2,060.0

Consultation RIS: MEPS for certain lamps and low voltage converters

122

APPENDIX F: BREAKDOWN OF IMPACTS BY JURISDICTION

Impacts have been allocated to jurisdictions in proportion to their population, but using

each jurisdictions electricity tariffs to value the energy savings.

NSW VIC QLD SA WA TAS NT ACT

WoSM energy use (GWh)

2000 8,559 6,393 5,073 2,110 2,593 659.2 216.9 421.6

2001 8,700 6,499 5,156 2,144 2,636 670.0 220.5 428.5

2002 8,845 6,607 5,242 2,180 2,680 681.2 224.1 435.7

2003 8,991 6,717 5,329 2,216 2,724 692.5 227.8 442.9

2004 9,138 6,827 5,416 2,252 2,769 703.8 231.6 450.1

2005 9,285 6,936 5,503 2,289 2,813 715.1 235.3 457.4

2006 9,382 7,013 5,624 2,303 2,864 719.7 238.6 462.6

2007 9,475 7,087 5,743 2,317 2,913 723.7 241.8 467.6

2008 9,570 7,163 5,865 2,330 2,963 727.8 245.5 472.7

2009 9,665 7,238 5,988 2,344 3,014 732.2 248.7 477.3

2010 9,758 7,314 6,112 2,357 3,064 736.2 251.9 482.3

2011 9,852 7,389 6,238 2,370 3,115 740.0 255.4 486.8

2012 9,944 7,463 6,365 2,382 3,166 743.5 258.5 491.3

2013 10,036 7,537 6,492 2,395 3,216 746.6 261.7 495.8

2014 10,127 7,611 6,620 2,406 3,267 749.7 264.8 500.3

2015 10,218 7,685 6,749 2,418 3,317 752.8 268.3 504.7

2016 10,309 7,758 6,880 2,429 3,368 755.6 271.4 509.2

2017 10,398 7,831 7,010 2,440 3,419 758.0 274.5 513.3

2018 10,487 7,904 7,141 2,450 3,469 759.8 277.7 517.5

2019 10,576 7,976 7,272 2,461 3,520 761.9 280.8 521.7

2020 10,664 8,048 7,403 2,471 3,570 763.8 283.9 525.8

WSM energy use (GWh)

2000 8,559 6,393 5,073 2,110 2,593 659.2 216.9 421.6

2001 8,700 6,499 5,156 2,144 2,636 670.0 220.5 428.5

2002 8,845 6,607 5,242 2,180 2,680 681.2 224.1 435.7

2003 8,991 6,717 5,329 2,216 2,724 692.5 227.8 442.9

2004 9,138 6,827 5,416 2,252 2,769 703.8 231.6 450.1

2005 9,285 6,936 5,503 2,289 2,813 715.1 235.3 457.4

2006 9,382 7,013 5,624 2,303 2,864 719.7 238.6 462.6

2007 9,475 7,087 5,743 2,317 2,913 723.7 241.8 467.6

2008 9,570 7,163 5,865 2,330 2,963 727.8 245.5 472.7

2009 9,463 7,088 5,867 2,294 2,952 716.7 243.5 467.3

2010 9,275 6,952 5,816 2,240 2,915 699.4 239.5 458.4

2011 9,199 6,899 5,832 2,212 2,911 690.6 238.6 454.5

2012 9,168 6,880 5,877 2,195 2,921 684.9 238.5 452.9

2013 9,149 6,872 5,929 2,182 2,935 680.1 238.7 452.0

2014 9,185 6,904 6,015 2,181 2,966 679.5 240.3 453.8

2015 9,257 6,963 6,126 2,189 3,009 681.4 243.2 457.3

2016 9,346 7,034 6,248 2,201 3,057 684.4 246.2 461.6

2017 9,433 7,105 6,370 2,212 3,105 687.1 249.2 465.7

2018 9,521 7,176 6,493 2,223 3,152 689.2 252.2 469.8

2019 9,607 7,246 6,615 2,234 3,200 691.7 255.2 473.9

2020 9,693 7,316 6,738 2,245 3,247 693.9 258.2 478.0

Energy savings (GWh)

2000-

07 0 0 0 0 0 0 0 0

2008 0 0 0 0 0 0.0 0.0 0.0

2009 202 151 121 50 62 15.6 5.1 10.0

2010 483 361 296 117 150 36.7 12.4 23.9

2011 653 489 407 158 204 49.4 16.8 32.3

2012 777 582 488 187 244 58.6 20.1 38.4

2013 886 665 563 213 281 66.5 23.0 43.8

2014 941 707 604 225 300 70.3 24.5 46.5

2015 961 722 624 229 309 71.4 25.1 47.5

Consultation RIS: MEPS for certain lamps and low voltage converters

123

2016 963 724 632 229 311 71.2 25.2 47.6

2017 965 726 640 228 314 70.9 25.3 47.6

2018 967 728 648 227 317 70.6 25.5 47.7

2019 969 730 656 227 320 70.3 25.6 47.8

2020 971 732 665 226 322 69.9 25.7 47.9

Emissions abatement (kt CO2-e)

2000-

07 0 0 0 0 0 0 0 0

2008 0 0 0 0 0 0.0 0.0 0.0

2009 199 165 113 55 55 12.0 5.3 9.8

2010 471 389 277 128 134 28.5 12.4 23.3

2011 629 531 378 174 170 38.5 16.7 31.1

2012 750 643 454 210 202 42.6 20.1 37.0

2013 838 721 507 230 231 48.7 23.4 41.4

2014 905 786 561 246 252 51.6 24.6 44.7

2015 883 757 569 232 261 52.8 26.1 43.6

2016 877 741 569 227 266 52.9 24.8 43.3

2017 852 720 572 225 256 53.0 24.5 42.1

2018 858 724 566 223 255 52.9 24.3 42.4

2019 853 704 567 227 258 52.8 24.7 42.1

2020 841 685 578 216 261 52.7 25.1 41.5

Change in annualised LCC ($M)

2000-

07 0 0 0 0 0 0 0 0

2008 0 0 0 0 0 0.0 0.0 0.0

2009 -29 -19 -13 -8 -7 -1.5 -0.6 -1.0

2010 -68 -45 -33 -18 -17 -3.6 -1.5 -2.5

2011 -92 -61 -45 -25 -24 -4.8 -2.0 -3.4

2012 -109 -73 -54 -29 -28 -5.8 -2.4 -4.0

2013 -125 -84 -62 -33 -33 -6.6 -2.8 -4.6

2014 -133 -89 -67 -35 -35 -7.0 -3.0 -4.9

2015 -135 -91 -69 -36 -36 -7.1 -3.0 -5.0

2016 -136 -91 -70 -36 -36 -7.1 -3.1 -5.0

2017 -136 -91 -71 -35 -36 -7.1 -3.1 -5.0

2018 -136 -91 -72 -35 -37 -7.0 -3.1 -5.0

2019 -136 -91 -73 -35 -37 -7.0 -3.1 -5.0

2020 -135 -91 -73 -35 -37 -6.9 -3.1 -5.0